## Sheet1
| TOP/CSC year | GFA (m²) | AC Area Percentage (%) | Age of Chiller (year) | Occupancy Rate (%) | LED Percentage Usage (%) | 2015 EUI (kWh/m².yr) | 2016 EUI (kWh/m².yr) | 2017 EUI (kWh/m².yr) | 2018 EUI (kWh/m².yr) | 2019 EUI (kWh/m².yr) | 2020 EUI (kWh/m².yr) | 2021 EUI (kWh/m².yr) | Green Labeling | Size Encoded | PV Encoded | Type_Commercial Building | Type_Educational Institution | Type_Healthcare Facility | Type of ACS_District Cooling Plant | Type of ACS_Others | Type of ACS_Water Cooled Chilled Water Plant | propensity_score | neighbor_indices_1 | neighbor_indices_2 | neighbor_indices_3
0 | -2.3934 | -0.23231 | -1.2084 | -0.65823 | 0.77418 | -0.89621 | 148 | 160 | 156 | 148 | 150 | 138 | 142 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.45381 | 48 | 718 | 261
2 | -0.23624 | -0.51539 | 1.0576 | 2.1522 | 0.48409 | -1.0844 | 251 | 256 | 253 | 255 | 231 | 192 | 178 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.10973 | 76 | 149 | 585
4 | 0.62661 | -0.42606 | 0.41021 | 0.27859 | 0.19399 | 1.3355 | 265 | 266 | 261 | 259 | 263 | 230 | 237 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.73434 | 107 | 434 | 227
5 | 0.56498 | -0.51249 | -0.11582 | 0.43473 | 0.54211 | -1.0844 | 222 | 223 | 249 | 245 | 264 | 228 | 211 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.1401 | 105 | 429 | 585
7 | -5.4134 | -0.55662 | -1.4511 | -1.1266 | -3.8674 | 1.6044 |  | 295 | 293 | 284 | 279 | 243 | 247 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.055868 | 562 | 565 | 504
8 | 0.010286 | -0.31621 | 0.77439 | 1.5277 | -0.096107 | -1.0844 |  | 493 | 451 | 449 | 413 | 571 | 422 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.29627 | 115 | 394 | 258
9 | 0.93477 | -0.53987 | -2.4628 | -0.50209 | 0.77418 | 1.6044 |  | 99 | 96 | 97 | 100 | 94 | 81 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.41329 | 316 | 406 | 343
10 | 0.25682 | 0.25056 | -0.56093 | 1.2154 | 0.19399 | -1.0844 | 168 | 171 | 187 | 171 | 169 | 151 | 135 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.43717 | 34 | 576 | 242
11 | 0.44171 | -0.018891 | -1.5321 | 0.747 | 0.77418 | -1.0844 |  | 91 | 87 | 88 | 91 | 87 | 83 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.2527 | 251 | 134 | 270
15 | -0.11298 | -0.25723 | 1.0576 | -0.34595 | 0.77418 | -0.43911 |  |  | 593 | 583 | 585 | 542 | 568 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.69985 | 465 | 605 | 137
16 | 0.74988 | -0.35731 | -2.2604 | -0.18982 | 0.77418 | -1.0844 | 114 | 112 | 119 | 117 | 110 | 78 | 93 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.32066 | 706 | 37 | 454
17 | -4.1807 | -0.4901 | -1.1679 | -0.81436 | -2.1268 | -0.81554 |  | 13 | 30 | 76 | 103 | 75 | 86 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.042253 | 565 | 562 | 504
18 | 0.25682 | -0.54639 | -2.5032 | -0.9705 | -0.9664 | -1.0844 | 0 | 39 | 57 | 51 | 53 | 42 | 68 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.15753 | 429 | 105 | 508
21 | -0.051346 | -0.45287 | 0.046036 | -0.9705 | -0.3862 | -0.97687 | 309 | 347 | 427 | 398 | 372 | 313 | 324 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.20011 | 543 | 182 | 263
24 | -0.11298 | -0.51794 | -0.96557 | -0.50209 | 0.77418 | 0.79774 | 137 | 133 | 114 | 105 | 111 | 106 | 113 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.31669 | 706 | 37 | 454
27 | 1.1197 | -0.55187 | -0.80371 | -0.81436 | -0.9664 | -1.0844 |  | 14 | 87 | 179 | 418 | 420 | 476 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.22245 | 612 | 117 | 666
30 | 0.19518 | -0.49146 | -2.3818 | -0.81436 | 0.19399 | 1.3893 |  | 82 | 75 | 89 | 84 | 80 | 83 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.36882 | 112 | 393 | 390
35 | 1.058 | -0.5194 | -2.6246 | -0.81436 | 0.77418 | -0.89621 |  | 104 | 97 | 106 | 104 | 105 | 107 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.25253 | 251 | 134 | 270
38 | 0.56498 | 0.29787 | 1.0576 | 0.27859 | -2.1268 | -1.0844 |  | 35 | 35 | 40 | 20 | 31 | 7 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0.612 | 661 | 328 | 209
39 | 0.87314 | -0.48334 | -0.96557 | -0.9705 | 0.77418 | -1.0844 |  | 92 | 77 | 79 | 79 | 52 | 50 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0.30102 | 394 | 115 | 258
40 | -0.60604 | -0.22269 | 0.653 | 3.5574 | -0.79234 | -0.062677 | 174 | 202 | 202 | 178 | 170 | 192 | 208 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.11021 | 76 | 149 | 585
42 | -0.42114 | -0.55139 | -2.9888 | 0.12245 | 0.77418 | -1.0844 |  | 174 | 170 | 176 | 179 | 177 | 181 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.087939 | 504 | 76 | 149
44 | -1.5305 | -0.23046 | 0.73393 | -1.1266 | 0.71617 | -1.0844 | 354 | 357 | 236 | 250 | 243 | 184 | 192 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.64744 | 235 | 608 | 418
46 | -0.23624 | -0.49278 | -0.80371 | -1.1266 | -0.038088 | -1.0844 | 880 | 926 | 885 | 870 | 562 | 430 | 278 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.22234 | 612 | 117 | 666
47 | -0.9142 | -0.30806 | -1.2893 | 1.2154 | 0.48409 | -0.41222 | 263 | 250 | 234 | 222 | 216 | 145 | 168 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.29333 | 258 | 539 | 115
49 | -0.23624 | -0.51007 | -0.52046 | -1.1266 | -1.0824 | -1.0844 | 257 | 195 | 168 | 195 | 198 | 165 | 163 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.19196 | 162 | 144 | 543
51 | -0.17461 | -0.088759 | 0.85532 | -1.1266 | 0.19399 | -1.0844 | 508 | 522 | 495 | 478 | 514 | 452 | 423 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.53086 | 234 | 629 | 407
53 | -1.0375 | -0.034283 | -0.11582 | 0.27859 | 0.36805 | 1.5237 | 186 | 175 | 178 | 170 | 163 | 142 | 153 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0.89897 | 695 | 491 | 667
54 | -0.23624 | -0.51007 | -0.52046 | -1.1266 | 0.019932 | 1.4699 | 313 | 317 | 304 | 204 | 125 | 92 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.44567 | 576 | 242 | 261
55 | 0.071919 | -0.45063 | 0.49114 | -0.65823 | -0.61828 | -1.0844 | 149 | 155 | 152 | 150 | 149 | 117 | 119 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.20542 | 263 | 139 | 182
58 | -0.051346 | -0.084691 | 0.36975 | 1.9961 | -0.3862 | -1.0844 | 227 | 201 | 170 | 154 | 185 | 171 | 181 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.24546 | 114 | 134 | 420
61 | 1.058 | -0.54566 | -1.613 | -0.50209 | -3.8674 | -1.0844 | 56 | 127 | 146 | 142 | 155 | 133 | 154 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0.30567 | 394 | 115 | 37
62 | 0.44171 | -0.39566 | -0.76325 | 0.747 | 0.77418 | -1.0844 |  | 170 | 170 | 173 | 179 | 161 | 155 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.09685 | 76 | 504 | 149
65 | 0.93477 | -0.61076 | 1.0576 | -0.18982 | -0.9664 | 1.6044 |  | 197 | 198 | 198 | 217 | 203 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.38927 | 500 | 353 | 211
67 | 0.81151 | -0.23615 | 0.45068 | -0.34595 | -0.096107 | 1.0666 | 375 | 380 | 376 | 357 | 348 | 313 | 313 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.81547 | 422 | 247 | 339
68 | 0.50335 | -0.39453 | -0.60139 | -0.50209 | 0.19399 | 0.25998 |  | 189 | 181 | 180 | 191 | 193 | 190 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0.27684 | 153 | 244 | 445
72 | -2.9481 | -0.64864 | 0.24836 | 1.2154 | -3.8674 | -1.0844 |  | 97 | 11 | 7 |  |  |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0.011723 | 565 | 562 | 504
75 | 0.31845 | -0.47909 | 0.41021 | 0.43473 | -1.8367 | -1.0844 | 328 | 441 | 597 | 862 | 871 |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.093207 | 504 | 76 | 149
78 | -0.17461 | -0.50143 | -0.075357 | -0.50209 | 0.77418 | 0.25998 | 903 | 1006 | 1008 | 1056 | 1069 | 1057 | 1052 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.25467 | 251 | 270 | 134
79 | -0.051346 | -0.20169 | 0.12696 | -0.81436 | 0.077951 | 0.93218 | 471 | 422 | 422 | 411 | 389 | 257 | 282 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.81391 | 422 | 339 | 64
85 | -1.4073 | -0.4624 | 1.0576 | 4.8065 | 0.19399 | 1.3355 | 153 | 148 | 158 | 141 | 149 | 130 | 135 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.035647 | 565 | 562 | 504
86 | -0.66767 | 0.43383 | 0.93625 | 1.2154 | 0.19399 | 1.2011 | 312 | 312 | 295 | 277 | 261 | 213 | 209 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.66929 | 297 | 479 | 260
91 | -0.85257 | -0.43432 | 0.046036 | 4.4943 | 0.19399 | -1.0844 | 137 | 144 | 131 | 130 | 134 | 117 | 105 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.018364 | 565 | 562 | 504
94 | -0.9142 | -0.43093 | -0.075357 | 1.5277 | 0.77418 | -1.0844 | 1218 | 1084 | 1015 | 1027 | 942 | 800 | 186 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0.35872 | 390 | 112 | 148
96 | 0.62661 | -0.27769 | -1.3702 | 0.59086 | 0.65815 | 0.25998 |  | 177 | 171 | 171 | 191 | 176 | 178 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0.30387 | 394 | 115 | 37
98 | 1.1813 | -0.1248 | -2.6246 | -0.9705 | 0.19399 | 1.0666 |  | 83 | 34 | 72 | 95 | 92 | 91 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 0.89304 | 331 | 432 | 123
100 | 0.74988 | 0.5148 | 0.85532 | -1.1266 | 0.77418 | -0.27778 | 520 | 525 | 500 | 494 | 501 | 522 | 380 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.79449 | 371 | 645 | 84
103 | -0.051346 | -0.49754 | 0.32929 | -0.81436 | -1.8947 | -0.54666 | 167 | 163 | 137 | 127 | 129 | 99 | 30 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.16478 | 508 | 570 | 429
106 | -0.11298 | -0.61115 | 0.12696 | -0.65823 | -2.2428 | -1.0844 | 202 | 199 | 161 | 166 | 162 | 103 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.12684 | 585 | 149 | 105
108 | -0.42114 | -0.44708 | 1.0576 | -0.34595 | 0.077951 | 1.6044 | 324 | 366 | 417 | 406 | 386 | 69 | 105 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.39063 | 500 | 353 | 211
111 | -0.85257 | -0.55964 | -1.3298 | 3.5574 | 0.77418 | -1.0844 | 256 | 259 | 256 | 248 | 245 | 242 | 238 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.027952 | 565 | 562 | 504
116 | 0.25682 | -0.093597 | 0.046036 | -0.34595 | -0.3862 | -1.0844 | 307 | 243 | 209 | 188 | 199 | 216 | 284 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.61416 | 661 | 328 | 347
118 | 0.81151 | -0.55991 | 0.97672 | -0.18982 | 0.77418 | 1.6044 | 406 | 413 | 436 | 433 | 413 | 366 | 363 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.41915 | 316 | 549 | 406
120 | 0.25682 | 0.06406 | 0.653 | 1.3715 | 0.19399 | 0.2062 | 230 | 209 | 229 | 237 | 235 | 203 | 200 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.54319 | 41 | 396 | 423
121 | -1.0991 | -0.50284 | 0.85532 | -0.50209 | -0.038088 | 1.4431 |  |  | 148 | 164 | 161 | 141 | 136 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.55719 | 610 | 205 | 436
122 | 0.68824 | -0.51073 | 0.046036 | 0.27859 | 0.77418 | -0.38533 | 322 | 322 | 305 | 292 | 274 | 263 | 250 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.1756 | 570 | 508 | 594
126 | -1.1607 | -0.60484 | 1.0576 | -0.50209 | 0.77418 | -0.94998 | 295 | 297 | 278 | 312 | 298 | 233 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.17284 | 508 | 570 | 594
129 | 0.81151 | -0.43046 | 0.73393 | -0.18982 | 0.48409 | -0.54666 | 451 | 468 | 471 | 476 | 468 | 430 | 433 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.50562 | 593 | 309 | 63
130 | -0.35951 | -0.35819 | 1.0576 | 0.27859 | 0.19399 | -0.27778 | 269 | 260 | 268 | 256 | 249 | 210 | 196 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.32331 | 454 | 481 | 706
133 | -0.23624 | -0.36502 | 0.97672 | -0.9705 | 0.71617 | -0.57355 |  | 232 | 225 | 220 | 214 | 211 | 202 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0.46952 | 252 | 455 | 718
136 | 0.68824 | 0.56475 | 0.73393 | -0.033681 | 0.19399 | -1.0844 | 356 | 354 | 346 | 327 | 325 | 283 | 270 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.76106 | 568 | 214 | 682
138 | 0.68824 | -0.53602 | 1.0172 | 0.59086 | -0.3862 | -0.38533 |  |  | 467 | 435 | 527 | 523 | 576 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.1616 | 429 | 508 | 570
141 | -0.79094 | -0.20182 | 0.81486 | 0.43473 | -0.096107 | 0.25998 | 396 | 409 | 394 | 381 | 383 | 345 | 352 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.55359 | 610 | 563 | 205
142 | -1.7771 | 0.061073 | 0.16743 | -0.34595 | 0.25201 | 0.93218 | 321 | 312 | 292 | 286 | 286 | 249 | 252 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.70242 | 206 | 470 | 286
143 | 0.50335 | -0.51077 | 1.0576 | 0.43473 | 0.77418 | -1.0844 |  | 83 | 75 | 80 | 83 | 66 | 60 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0.16614 | 508 | 570 | 429
145 | 1.3662 | -0.64748 | 0.16743 | -0.34595 | 0.77418 | -1.0844 | [5 empty] | 125 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.25736 | 270 | 300 | 251
146 | 0.99641 | -0.52948 | -2.746 | -0.81436 | 0.77418 | 1.6044 |  | 62 | 67 | 77 | 77 | 75 | 70 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.46063 | 718 | 48 | 261
152 | 0.50335 | -0.39059 | -0.39907 | 0.747 | 0.77418 | -1.0844 |  | 190 | 193 | 198 | 188 | 196 | 186 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.10388 | 76 | 149 | 585
155 | -0.79094 | -0.5515 | -0.64186 | -0.9705 | 0.77418 | 1.6044 | 82 | 82 | 82 | 86 | 83 | 79 | 78 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.36167 | 112 | 390 | 148
156 | -1.8387 | -0.53404 | 0.653 | -0.50209 | -0.50224 | -0.41222 | 219 | 222 | 206 | 216 | 227 | 192 | 194 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.13707 | 105 | 429 | 585
157 | -0.48277 | -0.56001 | -2.746 | -0.34595 | -0.096107 | 0.93218 | 137 | 127 | 129 | 58 | 76 | 73 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0.19556 | 543 | 162 | 144
158 | -0.7293 | -0.61881 | 1.0576 | 0.43473 | 0.77418 | 1.3355 | 1867 | 1786 | 1668 |  |  |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.44832 | 242 | 576 | 261
159 | -0.7293 | -0.61881 | 1.0576 | 0.43473 | 0.77418 | -1.0844 | 58 | 40 | 35 |  |  |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.10861 | 76 | 149 | 585
160 | -0.7293 | -0.2912 | -0.76325 | 0.43473 | 0.77418 | 1.3355 | 188 | 187 | 146 | 147 |  |  |  | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.62856 | 463 | 619 | 43
161 | 0.13355 | -0.46804 | -0.23721 | 1.2154 | -0.9664 | -0.27778 | 429 | 418 | 375 | 327 | 376 | 338 | 345 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.079846 | 504 | 562 | 76
163 | -0.11298 | -0.46086 | 1.0576 | 2.1522 | 0.77418 | 0.25998 |  | 342 | 339 | 325 | 325 | 162 | 219 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.069059 | 562 | 504 | 565
164 | -0.7293 | 0.16422 | -0.11582 | 0.43473 | 0.19399 | 1.0666 | 167 | 235 | 207 | 191 | 197 | 194 | 163 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.68373 | 125 | 151 | 219
166 | -0.35951 | -0.55116 | 0.653 | 1.9961 | 0.77418 | 1.6044 | 580 | 567 | 538 | 404 | 513 | 434 | 533 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.12247 | 585 | 149 | 76
167 | 0.62661 | -0.36662 | 0.61254 | 0.43473 | 0.13597 | -0.27778 |  | 225 | 218 | 206 | 200 | 136 | 141 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.35368 | 148 | 57 | 304
169 | 1.1197 | -0.61575 | 0.85532 | -0.65823 | -0.79234 | 0.79774 |  | 197 | 303 | 302 | 317 |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.40276 | 343 | 443 | 464
170 | 0.50335 | -0.49477 | 0.16743 | -0.18982 | -1.0824 | -0.54666 | 252 | 261 | 262 | 261 | 260 | 217 | 204 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.54982 | 563 | 267 | 423
174 | 0.38008 | -0.48222 | -2.0581 | 0.747 | -0.9664 | -0.27778 | 202 | 206 | 207 | 214 | 187 | 120 | 130 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.16777 | 508 | 570 | 429
175 | -1.4689 | -0.49433 | 0.24836 | 1.9961 | -1.2565 | -1.0844 | 181 | 170 | 161 | 153 | 147 | 120 | 119 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.054645 | 562 | 565 | 504
178 | -1.5305 | 0.56484 | -1.1679 | 1.3715 | -0.9664 | -1.0844 | 160 | 166 | 163 | 166 | 165 | 146 | 146 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.26716 | 303 | 293 | 185
181 | 1.1197 | -0.4665 | 1.0576 | 0.43473 | -0.9664 | 1.6044 | 219 | 266 | 246 | 222 | 248 | 215 | 203 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.51261 | 253 | 399 | 63
187 | -1.0991 | -0.51821 | 0.93625 | -0.50209 | 0.19399 | -1.0038 | 330 | 312 | 278 | 269 | 265 | 216 | 212 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.16361 | 508 | 429 | 570
189 | 0.87314 | -0.55742 | -2.9079 | 0.43473 | -0.3862 | 1.6044 |  | 197 | 190 | 193 | 207 | 192 | 170 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0.4138 | 316 | 406 | 549
190 | -0.42114 | -0.53655 | -2.6246 | 0.12245 | 0.77418 | -1.0844 |  | 134 | 128 | 123 | 118 | 130 | 142 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.093358 | 504 | 76 | 149
191 | 0.19518 | -0.51451 | -1.5725 | 1.3715 | 0.77418 | -1.0844 |  | 55 | 54 | 54 | 53 | 53 | 47 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.061742 | 562 | 504 | 565
192 | -0.11298 | -0.47189 | -0.23721 | -0.9705 | 0.48409 | -1.0844 | 143 | 144 | 136 | 129 | 373 | 512 | 663 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.2483 | 114 | 134 | 251
193 | -0.11298 | 0.124 | -0.88464 | -0.50209 | -2.1268 | -0.62733 |  | 585 | 564 | 573 | 575 | 622 | 593 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.57712 | 599 | 416 | 550
194 | 0.071919 | -0.46241 | 0.28882 | -0.9705 | 0.77418 | -1.0844 | 287 | 284 | 259 | 193 | 208 | 190 | 196 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.51311 | 253 | 399 | 63
196 | 0.68824 | -0.18344 | -0.11582 | 0.12245 | 0.48409 | -0.54666 | 452 | 449 | 459 | 422 | 412 | 359 | 355 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.64269 | 240 | 291 | 352
197 | -0.7293 | -0.54232 | -1.9367 | 0.90313 | 0.19399 | -1.0844 |  | 123 | 114 | 111 | 113 | 106 | 100 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.051671 | 562 | 565 | 504
198 | 0.19518 | -0.45454 | -1.7749 | -0.34595 | -0.15413 | -0.9231 |  | 302 | 293 | 295 | 304 | 226 | 159 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0.12817 | 585 | 149 | 105
199 | -0.9142 | -0.3863 | -0.76325 | 0.43473 | 0.19399 | -1.0844 | 305 | 302 | 308 | 321 | 302 | 229 | 213 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.19683 | 543 | 182 | 162
200 | -0.17461 | -0.51709 | -0.39907 | -0.9705 | 0.77418 | 1.3355 | 138 | 139 | 131 | 110 | 114 | 112 | 117 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.4533 | 48 | 261 | 718
204 | 0.010286 | -0.60977 | -2.3009 | -0.033681 | -0.3862 | -1.0844 | 582 | 540 | 552 | 530 | 587 | 25 | 30 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.092961 | 504 | 76 | 149
208 | 0.071919 | -0.61124 | 0.28882 | -0.033681 | 0.77418 | -1.0844 | 323 | 318 | 314 | 310 | 279 | 220 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.16228 | 429 | 508 | 570
210 | -0.85257 | -0.53991 | 0.16743 | -0.65823 | 0.19399 | 1.6044 | 225 | 268 | 292 | 336 | 310 | 249 | 247 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.36272 | 112 | 390 | 148
212 | -1.3456 | -0.019679 | -0.15629 | -1.1266 | 0.65815 | -1.0844 |  | 380 | 371 | 358 | 367 | 364 | 250 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0.43599 | 34 | 549 | 576
215 | 0.071919 | -0.51795 | 0.81486 | -0.65823 | 0.77418 | -1.0844 | 78 | 82 | 76 | 77 | 67 | 58 | 87 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.21478 | 139 | 263 | 612
216 | -0.9142 | -0.1384 | -0.19675 | 3.4013 | -1.9527 | -0.54666 |  | 75 | 104 | 126 | 145 | 134 | 143 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.071251 | 504 | 562 | 76
217 | -1.3456 | -0.38786 | 0.046036 | 1.6838 | -0.9664 | -1.0844 | 1689 |  | 157 | 4 | 3 | 10 | 9 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.076679 | 504 | 562 | 76
222 | -0.7293 | 0.080826 | 0.85532 | 1.2154 | 0.71617 | 1.3355 | 341 | 355 | 378 | 401 | 373 | 301 | 312 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.63247 | 43 | 619 | 669
223 | -1.4689 | -0.43561 | -0.39907 | -0.18982 | 0.77418 | -1.0844 | 71 | 72 | 70 | 63 | 62 | 57 | 64 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.11916 | 585 | 149 | 76
224 | -4.797 | -0.64675 | -0.84418 | -0.9705 | -0.9664 | 1.4699 |  | 193 | 192 | 212 | 190 | 160 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.10211 | 76 | 149 | 585
226 | -0.60604 | -0.4689 | -2.3818 | 3.5574 | 0.77418 | -0.466 |  | 118 | 122 | 141 | 132 | 107 | 125 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.01117 | 565 | 562 | 504
228 | 0.071919 | -0.48838 | 0.69346 | 0.43473 | 0.77418 | 0.25998 | 290 | 296 | 208 | 188 | 196 | 133 | 96 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.2199 | 612 | 117 | 666
231 | -0.85257 | -0.44059 | 1.0576 | 1.0593 | -0.096107 | 1.3355 | 177 | 175 | 167 | 161 | 161 | 152 | 152 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.33392 | 277 | 481 | 454
232 | -2.3317 | -0.54115 | -1.9772 | -0.81436 | 0.77418 | -1.0844 | 41 | 47 | 46 | 44 | 46 | 17 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.10063 | 76 | 149 | 504
236 | 1.1813 | -0.55079 | 1.0576 | -0.9705 | -0.3862 | 0.25998 |  |  | 48 | 61 | 78 | 65 | 68 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.67774 | 110 | 219 | 125
237 | -0.85257 | -0.50306 | -1.3702 | -0.9705 | 0.77418 | -1.0844 |  | 271 | 247 | 218 | 238 | 220 | 215 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.1541 | 429 | 105 | 508
241 | -2.7632 | -0.36964 | 1.0576 | 1.5277 | 0.48409 | -0.81554 | 383 | 373 | 367 | 373 | 354 | 302 | 296 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.075352 | 504 | 562 | 76
245 | -0.051346 | -0.57672 | -2.1795 | -0.18982 | -0.9664 | 0.79774 |  | 67 | 56 | 55 | 56 | 39 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.17714 | 570 | 508 | 594
254 | 0.071919 | -0.61729 | 1.0576 | -0.65823 | 0.77418 | -0.89621 | 194 | 210 | 192 | 185 | 159 |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.25948 | 300 | 270 | 251
255 | 1.2429 | -0.43967 | 1.0576 | -0.9705 | 0.77418 | 1.6044 |  |  |  | 74 | 157 | 142 | 224 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.83402 | 632 | 495 | 31
257 | 0.38008 | -0.56294 | -0.80371 | 1.2154 | 0.77418 | 0.50197 |  | 129 | 120 | 142 | 116 |  |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0.13394 | 105 | 585 | 429
259 | -0.051346 | -0.47841 | 0.81486 | 0.43473 | 0.54211 | 1.0666 | 652 | 643 | 623 | 616 | 567 | 489 | 492 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.48539 | 654 | 455 | 476
262 | -1.7154 | -0.22269 | -1.7344 | 2.1522 | 0.019932 | 0.85152 | 230 | 219 | 221 | 226 | 231 | 221 | 210 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.20482 | 263 | 139 | 182
264 | 0.87314 | 0.17127 | -2.7055 | 0.27859 | -2.9971 | 0.79774 |  | 56 | 53 | 44 | 42 | 36 | 35 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.33459 | 323 | 277 | 481
265 | -0.051346 | -0.55372 | -1.3702 | -0.9705 | 0.77418 | -0.41222 |  | 152 | 156 | 174 | 164 | 152 | 151 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.26886 | 293 | 303 | 185
266 | 1.058 | -0.56162 | 0.89579 | 5.1188 | -0.3862 | -0.81554 | 188 | 216 | 202 |  | 210 | 165 | 178 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.0071566 | 565 | 562 | 504
268 | -1.0375 | 0.032745 | -1.3702 | 0.43473 | 0.77418 | -1.0844 |  | 161 | 164 | 167 | 159 | 116 | 98 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.41548 | 316 | 406 | 549
272 | 0.93477 | -0.44103 | 0.57207 | -0.34595 | -0.3862 | 1.3893 | 264 | 270 | 268 | 268 | 269 | 231 | 234 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.80893 | 278 | 221 | 83
273 | -0.35951 | -0.22752 | 0.20789 | 0.59086 | 0.77418 | -1.0844 | 284 | 271 | 251 | 256 | 227 | 200 | 199 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.44945 | 242 | 576 | 261
275 | 0.99641 | -0.4046 | 0.57207 | -0.50209 | 0.65815 | 1.3355 |  | 106 | 110 | 109 | 111 | 100 | 87 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.85665 | 438 | 60 | 374
276 | -1.3456 | -0.54439 | 0.61254 | 1.2154 | -0.3862 | -1.0844 | 361 | 360 | 344 | 288 | 308 | 224 | 269 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.10847 | 76 | 149 | 585
279 | 0.68824 | -0.52537 | 0.89579 | 0.43473 | -0.6763 | 0.31376 | 203 | 236 | 248 | 274 | 230 | 181 | 190 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.20757 | 139 | 263 | 182
284 | -0.051346 | -0.4464 | 0.81486 | -0.9705 | -4.6216 | -0.27778 | 451 | 388 | 316 | 285 | 281 | 257 | 257 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.33566 | 323 | 277 | 662
287 | -0.051346 | 0.47764 | 0.89579 | 1.84 | -0.3862 | -1.0844 | 261 | 179 | 143 | 118 | 112 | 100 | 95 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.38161 | 211 | 393 | 500
288 | 0.25682 | -0.62047 | -0.56093 | 1.2154 | 0.77418 | -0.94998 |  | 112 | 108 | 112 | 109 | 74 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.077022 | 504 | 562 | 76
289 | -1.0375 | 1.27 | 0.20789 | 1.0593 | 0.77418 | 0.25998 | 374 | 376 | 395 | 365 | 359 | 329 | 316 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.73407 | 107 | 434 | 26
290 | 0.19518 | -0.45146 | -0.11582 | 1.3715 | 0.77418 | 0.25998 | 220 | 209 | 182 | 176 | 174 | 197 | 199 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.12658 | 585 | 149 | 105
295 | -0.97583 | -0.37563 | 0.32929 | 1.2154 | -0.9664 | -1.0844 | 185 | 187 | 174 | 151 | 156 | 142 | 150 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.21862 | 612 | 117 | 666
296 | -1.0375 | -0.11434 | 1.0576 | -0.50209 | 0.65815 | -0.27778 | 463 | 464 | 460 | 469 | 408 | 442 | 506 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.69059 | 647 | 28 | 127
299 | 0.13355 | -0.47006 | -0.56093 | -0.18982 | 0.19399 | -1.0844 | 306 | 300 | 270 | 233 | 353 | 347 | 350 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.16162 | 429 | 508 | 570
301 | 0.010286 | -0.25651 | 0.36975 | -0.65823 | -1.0824 | -0.81554 | 447 | 573 | 583 | 595 | 720 | 643 | 651 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.61466 | 328 | 661 | 347
305 | -1.962 | -0.63588 | -0.23721 | -0.34595 | -1.7787 | -1.0844 | 629 | 675 | 615 | 611 | 624 |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.061851 | 562 | 504 | 565
307 | -0.11298 | -0.41274 | -0.23721 | 2.4645 | -0.6763 | -0.81554 | 419 | 428 | 410 | 414 | 367 | 270 | 275 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.076057 | 504 | 562 | 76
308 | -0.42114 | -0.41323 | -2.6651 | -0.18982 | 0.77418 | -1.0844 |  | 71 | 67 | 65 | 66 | 14 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.12209 | 585 | 149 | 76
312 | -0.60604 | -0.52244 | 0.85532 | -0.81436 | 0.19399 | 1.3355 | 210 | 184 | 58 | 187 | 184 | 148 | 145 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.78911 | 45 | 617 | 689
317 | 0.071919 | -0.46243 | 0.28882 | -0.9705 | 0.77418 | 1.6044 | 278 | 277 | 251 | 188 | 165 | 130 | 161 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.75014 | 233 | 183 | 77
318 | 0.99641 | -0.48812 | -2.0986 | -0.81436 | -4.4476 | -1.0844 | 93 | 99 | 102 | 107 | 107 | 115 | 125 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.10531 | 76 | 149 | 585
320 | -0.42114 | -0.12493 | 1.0576 | 0.43473 | 0.77418 | -0.94998 |  | 152 | 175 | 161 | 158 | 144 | 148 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.53521 | 407 | 691 | 41
322 | 0.44171 | -0.30441 | -1.0465 | 0.747 | 0.77418 | -1.0844 |  | 208 | 201 | 181 | 184 | 184 | 192 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.18751 | 144 | 162 | 594
324 | -0.11298 | -0.45943 | 0.85532 | -0.50209 | 0.65815 | -0.54666 | 216 | 210 | 205 | 201 | 199 | 173 | 172 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.2689 | 293 | 303 | 185
326 | -1.1607 | 0.35628 | 1.0576 | -0.81436 | -0.6763 | -0.0089004 |  | 363 | 373 | 375 | 356 | 350 | 347 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0.76601 | 379 | 315 | 659
327 | -0.79094 | -0.41604 | 0.73393 | -0.81436 | 0.77418 | 0.93218 | 259 | 261 | 250 | 224 | 183 | 141 | 134 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.63551 | 669 | 203 | 43
330 | 0.19518 | -0.45723 | 0.45068 | -0.9705 | 0.77418 | -0.25089 | 166 | 153 | 142 | 140 | 142 | 125 | 113 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.37521 | 393 | 211 | 112
333 | 0.62661 | -0.56129 | 1.0576 | 0.747 | -0.3862 | -0.33156 |  |  | 321 | 342 | 352 | 334 | 374 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.1464 | 105 | 429 | 585
341 | 1.058 | -0.45534 | 0.36975 | -0.033681 | -2.9971 | 1.3355 | 349 | 274 | 290 | 383 | 401 | 324 | 313 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.43244 | 34 | 549 | 576
342 | 0.31845 | -0.03311 | 1.0576 | 1.0593 | 0.077951 | -1.0844 | 264 | 242 | 225 | 209 | 207 | 168 | 163 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.24927 | 134 | 114 | 251
345 | -0.29788 | -0.5435 | -0.60139 | 1.9961 | 0.42607 | -1.0844 | 403 | 385 | 402 | 379 | 376 | 294 | 306 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.03032 | 565 | 562 | 504
348 | 0.010286 | -0.19439 | 0.97672 | 0.27859 | -1.2565 | -0.81554 | 158 | 153 | 141 | 139 | 123 | 92 | 76 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.48873 | 654 | 476 | 168
349 | 0.38008 | -0.19157 | -0.11582 | 0.90313 | 0.19399 | -1.0844 |  | 78 | 78 | 80 | 119 | 96 | 68 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0.18571 | 594 | 144 | 162
350 | 1.1813 | -0.11177 | 0.653 | -0.65823 | -0.3862 | 0.52886 |  |  | 72 | 293 | 285 | 215 | 198 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.84232 | 22 | 710 | 665
354 | -0.60604 | -0.54053 | -0.15629 | 0.59086 | 0.077951 | -0.94998 | 331 | 340 | 327 | 321 | 339 | 304 | 316 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.069687 | 562 | 504 | 565
356 | 0.68824 | -0.28295 | -1.5725 | 0.12245 | 0.77418 | -1.0844 | 58 | 67 | 65 | 60 | 64 | 47 | 40 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.30695 | 394 | 37 | 115
357 | -0.48277 | -0.42701 | -0.43954 | 2.4645 | 0.19399 | -1.0844 | 278 | 253 | 225 | 234 | 222 | 188 | 202 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.022705 | 565 | 562 | 504
358 | 0.74988 | -0.23907 | 0.97672 | -1.1266 | 0.077951 | -0.27778 | 358 | 276 | 284 | 298 | 317 | 270 | 244 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.64828 | 235 | 608 | 418
359 | 0.74988 | -0.58302 | 0.85532 | 2.6206 | -0.9664 | -1.0844 | 214 | 208 | 211 | 62 | 276 |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.031824 | 565 | 562 | 504
360 | -1.4073 | -0.60105 | 1.0576 | -0.18982 | -2.707 | -1.0844 |  |  | 457 | 395 | 315 | 266 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.068467 | 562 | 504 | 565
361 | -0.051346 | -0.4943 | 0.49114 | -0.81436 | -3.2872 | -0.81554 | 179 | 136 | 117 | 106 | 97 |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.14615 | 105 | 429 | 585
363 | 0.99641 | -0.34232 | 0.85532 | -0.18982 | -3.2872 | -0.54666 | 93 | 127 | 117 | 109 | 109 | 112 | 143 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.53445 | 407 | 691 | 41
364 | -0.54441 | -0.57956 | 0.73393 | -0.34595 | -0.096107 | -0.41222 | 163 | 166 | 155 | 160 | 175 |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.18821 | 144 | 162 | 594
369 | 0.38008 | -0.63698 | 0.0865 | -1.1266 | -0.096107 | -1.0844 | 199 | 189 | 186 | 185 | 187 |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.25939 | 300 | 270 | 251
370 | -0.42114 | -0.47119 | -0.76325 | -0.033681 | 0.77418 | -1.0844 | 221 | 224 | 211 | 217 | 223 | 114 | 129 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.29158 | 258 | 539 | 115
372 | 0.68824 | -0.5338 | 0.61254 | 0.12245 | 0.77418 | 0.79774 | 228 | 250 | 272 | 259 | 256 | 199 | 141 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.33211 | 277 | 481 | 454
375 | 1.2429 | -0.51535 | -2.3818 | -0.9705 | 0.19399 | 1.6044 |  | 9 | 74 | 132 | 124 | 123 | 125 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.49315 | 168 | 476 | 654
376 | -1.284 | 0.029831 | 0.046036 | -1.1266 | 0.54211 | -1.0844 | 265 | 266 | 261 | 252 | 259 | 223 | 216 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.45248 | 261 | 48 | 718
377 | -1.7154 | -0.53072 | -0.43954 | 0.747 | 0.19399 | 0.93218 | 196 | 195 | 178 | 165 | 149 | 130 | 145 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.088301 | 504 | 76 | 149
378 | -0.29788 | -0.34414 | 1.0576 | 0.27859 | -0.096107 | 0.52886 | 288 | 284 | 270 | 254 | 275 | 224 | 240 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.62325 | 677 | 135 | 113
380 | -2.8864 | -0.48134 | 1.0576 | -0.81436 | 0.48409 | -0.54666 |  | 173 | 108 | 149 | 154 | 116 | 128 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0.15112 | 429 | 105 | 508
381 | 1.2429 | -0.55618 | 0.81486 | -0.81436 | 0.77418 | 1.6044 |  |  |  | 4 | 292 | 244 | 293 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0.85657 | 438 | 60 | 374
382 | 1.2429 | -0.61441 | 0.16743 | -0.81436 | -2.4169 | 1.6044 |  |  |  | 144 | 310 | 256 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.40904 | 406 | 316 | 343
383 | 0.74988 | -0.4278 | 0.24836 | -0.033681 | 0.019932 | 0.39442 | 427 | 406 | 387 | 128 | 356 | 242 | 223 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.47009 | 252 | 455 | 718
385 | 0.81151 | -0.46175 | -0.27768 | -0.033681 | -0.15413 | 0.79774 | 553 | 553 | 546 | 568 | 517 | 306 | 214 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.4792 | 455 | 252 | 654
386 | 0.68824 | -0.28836 | 0.53161 | 0.59086 | 0.19399 | -0.6811 |  | 139 | 125 | 115 | 122 | 99 | 102 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.31461 | 37 | 706 | 454
387 | 0.93477 | -0.55627 | 1.0576 | -0.50209 | -0.50224 | 0.52886 | 43 | 38 | 38 | 34 | 31 | 31 | 36 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.37182 | 393 | 112 | 211
388 | 0.93477 | -0.43826 | -0.034893 | -0.033681 | -0.56026 | 1.6044 |  | 85 | 90 | 95 | 99 | 67 | 59 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.37986 | 393 | 211 | 500
389 | -0.85257 | -0.55491 | 1.0172 | -0.50209 | 0.19399 | -1.0844 | 371 | 374 | 369 | 380 | 396 | 313 | 316 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.16792 | 508 | 570 | 594
391 | -1.4073 | -0.51017 | 0.28882 | 1.9961 | 0.48409 | -0.41222 | 227 | 231 | 225 | 227 | 221 | 183 | 183 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.032409 | 565 | 562 | 504
392 | 1.2429 | -0.39139 | -0.075357 | -0.9705 | -0.3862 | 1.2817 |  |  |  | 45 | 108 | 86 | 94 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.54232 | 41 | 396 | 691
395 | -1.5922 | -0.51764 | 0.93625 | -0.50209 | 0.19399 | 1.6044 | 441 | 419 | 426 | 430 | 399 | 380 | 350 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.26955 | 293 | 303 | 185
400 | 0.74988 | -0.13338 | -2.3818 | -0.033681 | -4.0414 | -0.6811 |  | 176 | 168 | 161 |  |  |  | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.18058 | 594 | 570 | 144
401 | -0.23624 | -0.56635 | -0.075357 | 0.27859 | 0.77418 | -0.81554 | 246 | 235 | 230 | 228 | 228 | 239 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.11107 | 149 | 76 | 585
402 | 0.13355 | 1.0154 | -2.9888 | 1.5277 | -2.1268 | -1.0844 | 46 | 47 | 45 | 42 | 41 | 33 | 27 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.15996 | 429 | 508 | 105
403 | -0.11298 | -0.47191 | -2.0176 | -1.1266 | 0.77418 | -1.0844 | 453 | 447 | 442 | 448 | 441 | 391 | 399 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.23008 | 666 | 117 | 612
404 | -0.60604 | -0.48039 | -1.7344 | 0.12245 | 0.77418 | -1.0844 | 37 | 39 | 40 | 36 | 36 | 2 | 24 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.10369 | 76 | 149 | 585
405 | -0.9142 | -0.55548 | 0.81486 | -0.033681 | -0.096107 | -1.0844 | 257 | 245 | 238 | 234 | 223 | 167 | 138 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.096367 | 76 | 504 | 149
409 | -0.17461 | -0.54201 | 0.0055716 | 0.43473 | 0.77418 | -0.27778 |  | 154 | 143 | 137 | 163 | 136 | 168 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0.15428 | 429 | 105 | 508
411 | 0.31845 | -0.31936 | -2.6651 | -0.81436 | 0.019932 | -1.0844 |  | 69 | 88 | 88 | 92 | 90 | 79 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.34008 | 323 | 662 | 555
412 | -0.85257 | -0.40468 | 1.0576 | 1.0593 | 0.77418 | 0.79774 | 602 | 584 | 573 | 569 | 570 | 512 | 555 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.33333 | 277 | 481 | 454
413 | -0.051346 | -0.46756 | 0.97672 | 1.6838 | 0.19399 | -0.54666 | 291 | 298 | 282 | 268 | 252 | 208 | 172 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.12038 | 585 | 149 | 76
414 | -0.23624 | 1.0053 | -0.64186 | -0.34595 | 0.19399 | -0.6811 | 211 | 210 | 200 | 170 | 156 | 133 | 159 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.60375 | 506 | 490 | 694
415 | 0.62661 | -0.5795 | 0.97672 | 0.12245 | 0.77418 | -1.0844 | 243 | 214 | 207 | 222 | 226 |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.19226 | 162 | 144 | 543
417 | -1.284 | 0.22166 | -1.613 | -0.34595 | 0.48409 | -0.54666 |  | 156 | 147 | 138 | 148 | 123 | 120 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.58928 | 486 | 220 | 93
421 | -0.54441 | -0.020027 | -0.88464 | -0.9705 | 0.19399 | 0.87841 |  | 359 | 351 | 333 | 259 | 222 | 216 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.80525 | 520 | 36 | 658
425 | 1.058 | -0.38536 | -2.8269 | -0.18982 | 0.77418 | 0.12554 |  | 153 | 145 | 162 | 178 | 173 | 176 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.26529 | 185 | 303 | 293
426 | -1.3456 | -0.55986 | -0.15629 | 4.9627 | 0.48409 | -1.0844 | 136 | 108 | 107 | 75 | 73 | 56 | 62 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.010751 | 565 | 562 | 504
427 | -0.7293 | -0.14371 | -0.19675 | 0.59086 | 0.48409 | -1.0844 | 366 | 367 | 363 | 344 | 338 | 330 | 252 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.40756 | 406 | 343 | 316
428 | 0.010286 | -0.34054 | -1.6939 | -1.1266 | -0.9664 | 1.6044 | 188 | 185 | 181 | 182 | 192 | 147 | 145 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.60189 | 506 | 694 | 451
430 | 1.1197 | -0.63497 | 0.653 | -0.65823 | 0.77418 | 1.6044 |  | 30 | 40 | 45 |  |  |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0.49348 | 168 | 476 | 654
431 | 0.93477 | 0.72668 | -0.19675 | -0.34595 | 0.19399 | -0.41222 |  | 513 | 497 | 460 | 464 | 476 | 481 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0.84579 | 710 | 665 | 256
433 | 1.2429 | -0.059918 | 0.653 | -0.81436 | -3.2872 | 1.3355 |  |  |  | 66 | 89 | 75 | 82 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.64763 | 235 | 608 | 418
435 | 0.071919 | 0.049401 | 0.24836 | 1.3715 | 0.019932 | 1.3355 |  | 3216 | 1899 | 1879 | 1903 | 2044 | 2214 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.60953 | 209 | 490 | 661
439 | -0.051346 | -0.53575 | -2.9888 | -0.65823 | 0.77418 | -1.0844 |  | 157 | 154 | 151 | 155 | 158 | 161 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.15561 | 429 | 105 | 508
440 | 0.071919 | -0.45265 | 0.24836 | 1.6838 | 0.77418 | -0.54666 | 249 | 303 | 238 | 248 | 245 | 170 | 172 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.08025 | 504 | 562 | 76
442 | 0.010286 | 1.4132 | -0.15629 | -0.34595 | 0.65815 | -0.86932 |  | 377 | 365 | 357 | 344 | 351 | 351 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0.86802 | 540 | 468 | 373
447 | 0.38008 | -0.55803 | 0.28882 | -0.18982 | 0.19399 | -0.54666 | 219 | 219 | 215 | 252 | 264 | 231 | 247 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.21365 | 139 | 263 | 612
450 | 1.1197 | -0.28737 | 0.36975 | -0.81436 | -1.5466 | 0.39442 | 27 | 49 | 189 | 239 | 218 | 187 | 196 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.58146 | 550 | 230 | 620
452 | 0.50335 | -0.20557 | 1.0576 | 0.43473 | -0.90838 | -0.94998 | 379 | 347 | 352 | 337 | 307 | 236 | 218 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.5087 | 63 | 593 | 253
458 | -0.60604 | -0.22675 | 0.85532 | 0.90313 | -0.21215 | -0.94998 | 258 | 270 | 264 | 245 | 251 | 211 | 209 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.36775 | 112 | 390 | 393
459 | -0.48277 | -0.40131 | 0.77439 | 0.27859 | -1.2565 | 0.79774 | 418 | 524 | 546 | 534 | 536 | 363 | 410 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.55543 | 610 | 205 | 436
460 | -0.11298 | -0.42375 | -1.7749 | -0.50209 | -0.3862 | -0.27778 |  | 156 | 151 | 156 | 166 | 144 | 142 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.18751 | 144 | 162 | 594
466 | -1.7154 | -0.20662 | 0.73393 | -0.81436 | -0.3862 | -0.81554 | 258 | 251 | 219 | 209 | 211 | 190 | 177 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.56003 | 436 | 56 | 205
467 | -1.4073 | -0.52136 | 1.0576 | 0.59086 | 0.19399 | 0.017988 | 197 | 141 | 133 | 153 | 150 | 137 | 138 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.25283 | 251 | 134 | 270
469 | 0.68824 | -0.111 | 0.24836 | -0.033681 | -0.3862 | 0.12554 |  | 645 | 651 | 770 | 736 | 604 | 613 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.70829 | 530 | 398 | 606
472 | 0.19518 | -0.3506 | 0.57207 | 1.2154 | -0.3862 | -0.70799 | 173 | 201 | 209 | 211 | 185 |  |  | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.14872 | 429 | 105 | 508
473 | -1.2224 | -0.36763 | 0.36975 | 3.7136 | -0.6763 | -1.0844 | 126 | 127 | 121 | 114 | 117 | 107 | 106 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.050811 | 562 | 565 | 504
474 | 0.071919 | -0.10732 | -1.9367 | -0.033681 | 0.19399 | -1.0844 | 139 | 136 | 139 | 128 | 134 | 115 | 118 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.28061 | 153 | 445 | 244
477 | -0.35951 | -0.35727 | 0.20789 | -0.34595 | -0.3862 | 1.0666 | 1098 | 1095 | 1078 | 1068 | 1062 | 599 | 177 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.71275 | 92 | 606 | 651
484 | 0.010286 | -0.45027 | 1.0576 | 1.5277 | 0.48409 | -1.0844 | 267 | 256 | 268 | 274 | 267 | 239 | 224 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.075597 | 504 | 562 | 76
487 | 1.1813 | -0.37803 | 0.41021 | 0.12245 | 0.19399 | 0.39442 | 342 | 336 | 318 | 320 | 332 | 324 | 316 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.44986 | 242 | 576 | 261
493 | 0.56498 | -0.62267 | -0.11582 | -0.9705 | 0.77418 | -1.0844 | 159 | 163 | 114 | 132 | 147 |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.28248 | 445 | 153 | 539
494 | 0.99641 | -0.52572 | 0.49114 | -0.18982 | 0.19399 | 1.6044 |  | 264 | 251 | 254 | 272 | 213 | 227 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.44828 | 242 | 576 | 261
496 | -0.23624 | -0.2636 | 0.81486 | -0.18982 | 0.60013 | -0.0089004 | 554 | 543 | 523 | 522 | 506 | 399 | 389 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.6888 | 28 | 151 | 647
499 | -0.48277 | -0.16458 | 0.653 | 1.0593 | 0.77418 | -0.0089004 | 216 | 213 | 179 | 161 | 153 | 111 | 116 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.49604 | 641 | 547 | 168
501 | -1.0991 | 0.22155 | 0.73393 | 0.27859 | 0.54211 | 0.52886 | 286 | 268 | 266 | 256 | 270 | 224 | 213 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.68704 | 151 | 28 | 647
502 | 0.25682 | -0.53677 | 0.53161 | -0.9705 | 0.77418 | -0.43911 | 174 | 152 | 151 | 149 | 131 | 119 | 143 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.30236 | 394 | 115 | 258
505 | 0.071919 | -0.44312 | -1.9367 | -0.9705 | 0.19399 | 0.79774 | 233 | 208 | 187 | 179 | 164 | 136 | 155 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.35432 | 148 | 57 | 304
507 | 0.56498 | -0.28909 | 0.046036 | 0.27859 | 0.77418 | -0.0089004 |  | 133 | 120 | 116 | 92 | 71 | 61 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.91127 | 338 | 492 | 688
509 | -0.42114 | -0.44596 | 0.16743 | -0.81436 | 0.60013 | -0.6811 | 194 | 202 | 178 | 158 | 163 | 134 | 130 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.47638 | 252 | 455 | 654
510 | 0.62661 | -0.27375 | 0.45068 | 0.27859 | -0.21215 | 0.25998 | 491 | 464 | 422 | 419 | 429 | 390 | 368 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.65606 | 365 | 52 | 337
511 | -0.48277 | 1.2763 | -0.27768 | -0.033681 | 0.19399 | -0.81554 | 209 | 212 | 201 | 190 | 196 | 272 | 174 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.78804 | 617 | 298 | 45
512 | -1.7771 | -0.35187 | 1.0172 | 5.1188 | 0.48409 | -1.0844 | 180 | 171 | 185 | 163 | 182 | 166 | 157 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.024375 | 565 | 562 | 504
515 | -1.3456 | -0.32559 | -0.52046 | -0.34595 | 0.54211 | -1.0844 |  | 250 | 177 | 187 | 186 | 152 | 153 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.46416 | 718 | 48 | 252
517 | -0.17461 | -0.45278 | -0.23721 | 3.089 | -0.3862 | -1.0844 |  |  | 135 | 136 | 137 | 130 | 120 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.047118 | 565 | 562 | 504
518 | 1.058 | -0.42203 | 0.93625 | -0.81436 | 0.77418 | 1.4699 | 260 | 474 | 398 | 425 | 566 | 510 | 528 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.89367 | 331 | 432 | 123
519 | -1.5305 | -0.44292 | 0.53161 | -0.9705 | 0.19399 | 1.6044 | 140 | 141 | 140 | 102 | 104 | 89 | 96 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.62443 | 677 | 463 | 135
521 | -1.0991 | -0.46142 | -0.19675 | -0.18982 | -0.096107 | 0.25998 | 231 | 226 | 250 | 235 | 250 | 228 | 243 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.17878 | 570 | 594 | 508
522 | 0.81151 | -0.22184 | 0.77439 | -0.50209 | -1.1405 | 0.52886 | 196 | 174 | 165 | 144 | 111 | 10 |  | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.77311 | 80 | 292 | 249
523 | -1.0991 | -0.55348 | -1.4916 | 1.0593 | 0.77418 | -1.0844 | 215 | 668 | 213 | 180 | 191 | 151 | 62 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.039968 | 565 | 562 | 504
524 | 1.058 | -0.34692 | -1.6939 | 0.747 | -1.8367 | -1.0844 |  |  | 70 | 70 | 74 | 67 | 71 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.71668 | 651 | 92 | 606
527 | 1.058 | -0.21065 | -1.2488 | -0.50209 | -0.9664 | -0.94998 |  | 62 | 62 | 67 | 75 | 53 | 54 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0.38279 | 211 | 393 | 500
528 | -0.97583 | -0.53849 | -2.4223 | -0.18982 | -2.823 | -1.0844 |  | 115 | 125 | 67 | 87 | 90 | 77 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.049547 | 562 | 565 | 504
529 | -0.17461 | -0.23185 | 1.0172 | -1.1266 | 0.77418 | 0.6633 | 873 | 850 | 785 | 732 | 689 | 730 |  | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.85624 | 438 | 60 | 374
531 | -0.54441 | -0.33618 | 0.53161 | 1.2154 | 0.48409 | -1.0844 | 189 | 187 | 174 | 177 | 179 | 151 | 165 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.31541 | 37 | 706 | 454
532 | -0.60604 | -0.54456 | -2.4628 | 0.43473 | 0.19399 | -0.54666 | 195 | 184 | 158 | 173 | 161 | 147 | 143 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.065937 | 562 | 504 | 565
533 | 1.1197 | -0.48008 | -2.7055 | -0.9705 | -0.9664 | 0.25998 |  | 7 | 86 | 111 | 151 | 105 | 116 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.30018 | 394 | 115 | 258
535 | -1.0375 | -0.42139 | 0.20789 | 0.43473 | 0.31003 | -1.0575 | 288 | 304 | 286 | 300 | 276 | 245 | 233 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.077743 | 504 | 562 | 76
537 | -0.79094 | -0.53844 | 0.0865 | 2.3084 | 0.77418 | 0.93218 | 147 | 135 | 127 | 122 | 122 | 103 | 104 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.053626 | 562 | 565 | 504
538 | 0.010286 | -0.49135 | 1.0576 | -0.34595 | 0.77418 | -1.0844 | 215 | 217 | 213 | 191 | 184 | 131 | 127 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.18777 | 144 | 162 | 594
541 | -0.7293 | -0.45325 | -0.034893 | 3.5574 | 0.077951 | -1.0844 | 169 | 171 | 197 | 183 | 176 | 139 | 129 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.033157 | 565 | 562 | 504
542 | 0.31845 | -0.48411 | 1.0576 | -1.1266 | 0.77418 | -1.0844 | 236 | 250 | 233 | 223 | 214 | 183 | 190 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.34888 | 109 | 304 | 555
544 | 0.56498 | -0.48153 | 0.28882 | 0.27859 | 0.31003 | -1.0844 | 172 | 184 | 168 | 192 | 191 | 167 | 131 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.15788 | 429 | 105 | 508
546 | -0.9142 | -0.56651 | 1.0576 | -0.34595 | 0.77418 | -0.6811 | 272 | 268 | 188 | 208 | 211 | 190 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.18974 | 162 | 144 | 594
548 | 0.25682 | -0.54723 | -2.3009 | -0.81436 | 0.77418 | 1.4699 |  | 62 | 73 | 86 | 98 | 91 | 85 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.40102 | 443 | 464 | 343
551 | 0.56498 | -0.51718 | 0.69346 | 0.43473 | 0.77418 | -1.0844 | 226 | 237 | 206 | 181 | 179 | 141 | 128 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.16085 | 429 | 508 | 570
552 | -1.5305 | -0.51718 | -1.006 | -0.50209 | 0.19399 | -0.81554 | 128 | 124 | 121 | 120 | 122 | 96 | 90 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0.34916 | 109 | 304 | 57
553 | -0.17461 | -0.63424 | 0.12696 | -0.9705 | -2.1268 | -0.54666 | 163 | 181 | 144 | 19 | 226 |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.17804 | 570 | 594 | 508
557 | -0.35951 | -0.45465 | 0.28882 | 1.2154 | 0.77418 | -0.0089004 | 195 | 190 | 138 | 85 | 89 | 62 | 65 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.092967 | 504 | 76 | 149
558 | 1.1197 | -0.53677 | -2.9483 | -0.81436 | -2.1268 | -1.0844 |  | 98 | 295 | 337 | 265 | 228 | 259 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.14292 | 105 | 429 | 585
560 | -1.1607 | -0.53564 | 0.69346 | 0.43473 | 0.19399 | -1.0844 |  | 72 | 71 | 70 | 72 | 53 | 55 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.071104 | 504 | 562 | 76
561 | -0.9142 | -0.54362 | 0.12696 | -0.18982 | 0.13597 | -1.0038 |  |  | 116 | 117 | 118 | 102 | 107 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.10449 | 76 | 149 | 585
566 | 0.010286 | -0.089217 | -0.075357 | 1.84 | -0.096107 | 1.6044 | 295 | 284 | 275 | 266 | 268 | 230 | 233 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.50919 | 63 | 593 | 253
567 | 0.13355 | -0.29699 | 0.41021 | 1.3715 | 0.54211 | -0.49289 |  | 27 | 273 | 287 | 37 | 343 | 361 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0.40143 | 443 | 464 | 343
569 | 0.010286 | -0.53501 | -1.1274 | -0.65823 | 0.77418 | -1.0844 |  | 121 | 123 | 131 | 129 | 116 | 116 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.19837 | 543 | 182 | 263
571 | -0.23624 | -0.44847 | 1.0576 | -0.81436 | 0.77418 | -1.0038 |  | 2677 | 2602 | 2516 | 2141 | 2255 | 2267 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0.5012 | 172 | 325 | 547
573 | -0.23624 | -0.42267 | -2.5437 | -0.9705 | -0.3862 | -0.54666 |  |  | 189 | 180 | 154 | 144 | 134 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.38701 | 500 | 211 | 353
574 | -0.79094 | -0.52543 | -2.5032 | -0.18982 | 0.77418 | -0.94998 |  | 107 | 117 | 133 | 133 | 133 | 141 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.10818 | 76 | 149 | 585
577 | -0.051346 | -0.50383 | -1.4107 | 0.90313 | 0.77418 | 1.6044 | 926 | 1021 | 1005 | 959 | 876 | 933 | 970 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.38733 | 500 | 211 | 353
579 | -0.9142 | -0.28814 | -0.034893 | -1.1266 | 0.65815 | -1.0844 | 263 | 272 | 253 | 227 | 242 | 210 | 198 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.36868 | 112 | 390 | 393
582 | 0.19518 | -0.37069 | -0.68232 | 1.0593 | 0.77418 | -0.81554 | 199 | 200 | 189 | 185 | 188 | 200 | 208 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.38385 | 211 | 393 | 500
584 | -1.0991 | -0.54379 | 0.0055716 | 0.43473 | 0.77418 | 0.25998 | 240 | 255 | 151 | 162 | 174 | 122 | 117 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.14233 | 105 | 429 | 585
586 | 0.62661 | -0.36292 | 0.61254 | 0.43473 | 0.19399 | 1.6044 | 194 | 180 | 166 | 169 | 188 | 133 | 131 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.53613 | 407 | 691 | 41
587 | 0.13355 | -0.54104 | -1.6535 | 1.6838 | -0.6763 | -1.0844 |  | 214 | 224 | 216 | 216 | 142 | 152 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0.12852 | 585 | 149 | 105
588 | -1.6538 | -0.37935 | 0.53161 | -0.34595 | -0.3862 | -0.14334 | 246 | 243 | 239 | 236 | 236 | 181 | 162 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.51092 | 63 | 253 | 593
590 | -0.29788 | 0.11647 | 0.49114 | 0.43473 | 0.19399 | -0.27778 | 265 | 267 | 268 | 274 | 267 | 200 | 221 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.60802 | 209 | 490 | 506
591 | -0.79094 | -0.34518 | -0.60139 | -0.81436 | 0.60013 | -1.0844 | 124 | 122 | 120 | 118 | 115 | 106 | 103 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.58181 | 230 | 550 | 620
592 | 0.071919 | 0.08537 | -1.613 | 1.84 | -0.50224 | -0.94998 | 126 | 128 | 122 | 121 | 128 | 101 | 92 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.24901 | 134 | 114 | 251
595 | 0.31845 | -0.42536 | 0.73393 | 0.27859 | 0.77418 | 1.6044 | 297 | 292 | 273 | 260 | 232 | 180 | 204 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.61148 | 661 | 328 | 209
596 | 0.99641 | -0.52906 | -2.5841 | -0.50209 | 0.77418 | -0.81554 |  | 84 | 84 | 85 | 92 | 85 | 80 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.2173 | 612 | 117 | 666
597 | 1.058 | -0.33816 | 0.653 | -0.65823 | 0.19399 | 0.52886 |  | 236 | 291 | 305 | 308 | 276 | 264 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.82754 | 140 | 280 | 480
598 | -0.85257 | 0.49272 | 0.89579 | -1.1266 | 0.19399 | -0.94998 | 185 | 179 | 172 | 165 | 167 | 133 | 124 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.80076 | 239 | 482 | 213
601 | -0.29788 | -0.54657 | -0.15629 | -0.18982 | -0.44422 | -0.27778 | 201 | 182 | 186 | 168 | 163 | 138 | 119 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.16709 | 508 | 570 | 429
602 | -0.051346 | 1.6288 | -0.39907 | 0.43473 | 0.19399 | -0.81554 |  | 344 | 344 | 336 | 341 | 331 | 354 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0.80478 | 520 | 36 | 658
603 | -1.4073 | 0.14135 | -0.15629 | 1.6838 | 0.42607 | -0.54666 | 230 | 234 | 249 | 232 | 331 |  |  | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.29344 | 258 | 539 | 115
604 | -0.29788 | -0.5378 | -2.9888 | -0.65823 | 0.77418 | -1.0844 |  | 145 | 144 | 145 | 152 | 161 | 174 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.14509 | 105 | 429 | 585
607 | 0.50335 | -0.073972 | 0.85532 | 0.747 | 0.19399 | -0.94998 |  | 538 | 531 | 543 | 541 | 522 | 527 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.53288 | 407 | 691 | 234
611 | -0.17461 | -0.13046 | 0.69346 | -0.9705 | -0.6763 | 1.0666 | 249 | 223 | 161 | 160 | 175 | 156 | 136 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.82898 | 140 | 280 | 480
613 | 0.19518 | -0.45989 | 1.0576 | 1.2154 | -0.3862 | -1.0844 | 812 | 783 | 790 | 797 |  |  | 397 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.081448 | 504 | 562 | 76
614 | 0.071919 | -0.52231 | -2.5032 | -0.9705 | 0.65815 | -0.0089004 |  | 93 | 91 | 78 | 75 | 76 | 79 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.27533 | 244 | 153 | 293
616 | -0.051346 | 0.039689 | 1.0576 | -0.50209 | 0.77418 | -0.62733 | 348 | 345 | 330 | 338 | 340 | 343 | 300 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.75752 | 580 | 682 | 344
618 | -0.051346 | -0.43678 | 0.28882 | 2.1522 | 0.77418 | 1.3355 |  | 1304 | 1195 | 1181 | 1186 | 1222 | 1312 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.2534 | 251 | 134 | 270
621 | 0.071919 | 2.3176 | 0.85532 | 0.43473 | 0.71617 | -1.0844 | 177 | 146 | 139 | 211 | 217 | 188 | 182 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.90084 | 695 | 491 | 667
622 | 0.99641 | -0.30194 | 0.53161 | 1.84 | -0.3862 | -0.94998 |  | 174 | 207 | 197 | 193 | 159 | 164 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0.31457 | 37 | 706 | 454
625 | 0.62661 | -0.30327 | 0.97672 | -0.033681 | 0.77418 | 0.25998 |  | 227 | 212 | 207 | 190 | 149 | 135 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.94187 | 154 | 478 | 12
626 | 0.68824 | -0.55964 | 0.16743 | -0.81436 | -4.4476 | -1.0844 | 54 | 11 | 93 | 113 | 116 | 110 | 102 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.12289 | 585 | 149 | 76
631 | 0.81151 | -0.45234 | -0.034893 | 0.27859 | 0.13597 | 0.12554 | 476 | 498 | 482 | 400 | 477 | 459 | 480 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.23478 | 483 | 420 | 666
633 | 0.74988 | -0.45082 | 1.0576 | -0.18982 | -2.4169 | 1.2011 |  | 306 | 310 | 314 | 316 | 243 | 260 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.70187 | 206 | 286 | 470
634 | 0.071919 | 3.2025 | -1.8963 | -0.81436 | -4.5056 | -0.73488 | 170 | 175 | 167 | 161 | 159 | 122 | 102 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.91834 | 335 | 554 | 90
635 | 0.87314 | -0.35964 | 0.0865 | -0.18982 | -0.096107 | 0.79774 |  | 336 | 344 | 323 | 331 | 306 | 201 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.54703 | 267 | 423 | 563
636 | 0.62661 | 0.12475 | 0.20789 | 0.27859 | -0.90838 | -0.81554 | 348 | 360 | 361 | 326 | 323 | 273 | 281 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.59277 | 660 | 93 | 486
637 | 0.31845 | -0.52732 | -0.96557 | -0.34595 | -2.1268 | -1.0844 |  | 36 | 31 | 40 | 49 | 39 | 37 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0.11282 | 149 | 76 | 585
642 | 0.50335 | -0.37217 | -0.11582 | 0.747 | 0.77418 | -1.0844 |  | 176 | 169 | 156 | 169 | 163 | 166 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.20351 | 182 | 263 | 139
643 | -0.051346 | -0.49012 | 1.0576 | 2.4645 | 0.77418 | -1.0844 | 1363 | 1412 | 1394 | 1400 | 1464 | 1509 | 1516 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.10351 | 76 | 149 | 585
644 | -1.1607 | 0.021018 | 0.73393 | 0.43473 | 0.19399 | -1.0844 | 275 | 288 | 255 | 257 | 256 | 196 | 190 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.45022 | 242 | 576 | 261
648 | 0.19518 | -0.1292 | 0.0865 | -0.18982 | -0.3862 | -1.0844 | 225 | 198 | 163 | 185 | 258 | 264 | 276 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.57901 | 416 | 599 | 550
649 | -0.54441 | -0.065488 | -0.43954 | 0.90313 | 0.77418 | -0.19712 | 323 | 340 | 320 | 328 | 345 | 287 | 33 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.47844 | 455 | 252 | 654
655 | -1.4689 | -0.41551 | -0.52046 | 2.1522 | 0.25201 | 1.4699 | 328 | 363 | 338 | 334 | 326 | 299 | 310 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.15443 | 429 | 105 | 508
657 | -0.35951 | -0.56167 | -0.15629 | -0.50209 | 0.65815 | -0.81554 | 144 | 136 | 118 | 130 | 147 | 151 | 151 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.38632 | 211 | 500 | 353
663 | 0.071919 | -0.30864 | 0.69346 | -1.1266 | -0.85036 | -1.0844 |  | 255 | 227 | 230 | 241 | 218 | 213 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.44714 | 576 | 242 | 261
664 | 0.071919 | -0.55493 | 1.0172 | 1.6838 | -0.3862 | -1.0844 |  |  | 200 | 209 | 229 | 219 | 224 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.05441 | 562 | 565 | 504
670 | 0.19518 | -0.53708 | -0.56093 | 0.27859 | 0.77418 | -1.0844 |  | 59 | 57 | 64 | 52 | 49 | 44 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.13342 | 105 | 585 | 149
672 | 0.010286 | -0.47662 | 0.85532 | -1.1266 | -0.3862 | 1.2011 |  | 205 | 197 | 198 | 213 | 178 | 197 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0.47626 | 252 | 455 | 654
673 | -0.60604 | -0.47258 | -0.27768 | 1.9961 | 0.77418 | -1.0844 |  | 321 | 313 | 301 | 310 | 216 | 224 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0.098483 | 76 | 149 | 504
674 | 0.99641 | -0.60244 | -2.5841 | -0.34595 | 0.019932 | -1.0844 |  | 847 | 773 | 762 | 724 |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.15412 | 429 | 105 | 508
675 | 0.74988 | -0.55596 | -1.1274 | 0.12245 | 0.19399 | -1.0844 | 750 | 717 | 707 | 756 | 765 | 735 | 742 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.14139 | 105 | 429 | 585
678 | -0.35951 | -0.595 | 0.12696 | -0.65823 | 0.77418 | -0.0089004 | 180 | 254 | 296 | 289 | 306 | 260 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.27624 | 244 | 153 | 445
679 | -2.3317 | -0.37677 | -0.43954 | 1.0593 | -0.44422 | -0.81554 | 153 | 151 | 124 | 98 | 98 | 83 | 78 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.07777 | 504 | 562 | 76
684 | 0.13355 | -0.49525 | -2.9483 | -1.1266 | 0.48409 | -0.0089004 | 321 | 325 | 322 | 317 | 325 | 287 | 281 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.28422 | 445 | 153 | 539
686 | 0.87314 | -0.47334 | 0.53161 | -0.34595 | 0.77418 | 0.25998 | 1047 | 986 | 929 | 915 | 928 | 890 | 796 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.32707 | 454 | 481 | 277
687 | -1.0375 | 2.8625 | -0.15629 | 2.1522 | 0.77418 | -0.54666 |  | 587 | 580 | 578 | 581 | 574 | 555 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0.77398 | 80 | 249 | 292
690 | -0.051346 | 0.041595 | 0.20789 | -0.50209 | 0.77418 | -1.0844 | 257 | 251 | 226 | 230 | 231 | 185 | 175 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.47061 | 252 | 455 | 718
693 | -1.7154 | -0.50854 | 0.49114 | -0.18982 | 0.65815 | -1.0844 | 502 | 504 | 434 | 401 | 399 | 337 | 353 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.11574 | 149 | 585 | 76
700 | 0.68824 | -0.53069 | -0.96557 | 0.90313 | -3.7513 | -1.0844 |  | 64 | 46 | 51 | 53 | 45 | 48 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.043218 | 565 | 562 | 504
701 | -0.17461 | -0.46267 | 0.24836 | -0.50209 | 0.48409 | -1.0844 | 213 | 214 | 191 | 188 | 186 | 161 | 142 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.17121 | 508 | 570 | 594
702 | 0.010286 | -0.49006 | 1.0576 | -0.81436 | 0.77418 | -1.0844 | 383 | 326 | 305 | 302 | 283 | 265 | 273 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.50501 | 309 | 593 | 172
705 | 0.38008 | -0.29569 | -2.5841 | 0.59086 | 0.77418 | 0.52886 |  | 91 | 87 | 84 | 82 | 83 | 80 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.31977 | 706 | 37 | 454
712 | -0.051346 | -0.50278 | -0.19675 | 1.84 | -0.9664 | -0.97687 | 370 | 386 | 363 | 185 | 415 | 441 | 423 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.094881 | 76 | 504 | 149
714 | -1.0991 | -0.55414 | -0.31814 | 4.0259 | 0.19399 | 1.6044 | 241 | 242 | 241 | 246 | 237 | 216 | 227 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.054378 | 562 | 565 | 504
715 | 1.3046 | 0.14122 | -1.3298 | 0.27859 | -0.73432 | -0.6811 | 314 | 317 |  |  | 215 | 230 | 251 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.61592 | 328 | 661 | 347