## Sheet1
TOP/CSC year | GFA (m²) | AC Area Percentage (%) | Age of Chiller (year) | Occupancy Rate (%) | LED Percentage Usage (%) | 2015 EUI (kWh/m².yr) | 2016 EUI (kWh/m².yr) | 2017 EUI (kWh/m².yr) | 2018 EUI (kWh/m².yr) | 2019 EUI (kWh/m².yr) | 2020 EUI (kWh/m².yr) | 2021 EUI (kWh/m².yr) | Green Labeling | Size Encoded | PV Encoded | Type_Commercial Building | Type_Educational Institution | Type_Healthcare Facility | Type of ACS_District Cooling Plant | Type of ACS_Others | Type of ACS_Water Cooled Chilled Water Plant | propensity_score | neighbor_indices_1 | neighbor_indices_2 | neighbor_indices_3 | 2015 EUI (kWh/m².yr)_ATET_diff | 2016 EUI (kWh/m².yr)_ATET_diff | 2017 EUI (kWh/m².yr)_ATET_diff | 2018 EUI (kWh/m².yr)_ATET_diff | 2019 EUI (kWh/m².yr)_ATET_diff | 2020 EUI (kWh/m².yr)_ATET_diff | 2021 EUI (kWh/m².yr)_ATET_diff
1999 | 38325 | 79 | 5 | 100 | 55 | 259 | 270 | 242 | 225 | 200 | 212 | 210 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0.93813 | 625 | 634 | 507 | 89 | 91.6667 | 75.6667 | 63.6667 | 53 | 98 | 110.6667
2013 | 100096 | 100 | 6 | 100 | 20 | 205 | 214 | 211 | 207 | 212 | 172 | 149 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0.97296 | 625 | 634 | 507 | 35 | 35.6667 | 44.6667 | 45.6667 | 65 | 58 | 49.6667
2009 | 14647 | 87 | 8 | 100 | 0 | 150 | 146 | 147 | 145 | 140 | 115 | 98 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0.7302 | 289 | 4 | 524 | -169.5 | -175 | -95 | -86.3333 | -92 | -93.6667 | -110
2017 | 26248 | 76 | 4 | 79 | 0 | 67 | 33 | 68 | 77 | 77 | 65 | 66 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.68996 | 296 | 496 | 501 | -367.3333 | -392 | -348.3333 | -338.6667 | -317.6667 | -290 | -303.3333
2014 | 12767 | 81 | 10 | 100 | 44 | 146 | 149 | 158 | 161 | 157 | 149 | 153 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.83274 | 255 | 611 | 597 | -103 | -80.5 | -68 | -18.6667 | -56.3333 | -42.3333 | -55
2003 | 16262 | 95 | 20 | 80 | 95 | 162 | 145 | 102 | 95 | 89 | 56 | 52 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.82086 | 67 | 597 | 79 | -261 | -201 | -261 | -262.6667 | -259.3333 | -226 | -234.3333
1998 | 19720 | 64 | 19 | 86 | 90 | 339 | 329 | 291 | 308 | 292 | 246 | 241 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.43301 | 341 | 212 | 10 | 80.5 | 54 | 8.3333 | 4 | -20.3333 | -33.6667 | 8.3333
2009 | 18565 | 80 | 10 | 100 | 0 | 216 | 218 | 201 | 194 | 171 | 116 | 154 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.31505 | 531 | 386 | 622 | 27 | 51.3333 | 32.3333 | 31 | 6.3333 | -20.3333 | 10.3333
1995 | 20143 | 80 | 4 | 80 | 100 | 290 | 277 | 243 | 212 | 185 | 163 | 155 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.54289 | 120 | 392 | 635 | 60 | 4.5 | -43.5 | 10.3333 | -39.6667 | -35.3333 | -10
1996 | 6100 | 100 | 4 | 80 | 100 | 45 | 66 | 62 | 55 | 61 | 51 | 49 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.63239 | 222 | 327 | 160 | -217.6667 | -201.6667 | -196 | -202.3333 | -217 | -170 | -174
2016 | 25200 | 94 | 2 | 100 | 0 | 11 | 162 | 258 | 261 | 240 | 187 | 190 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.79003 | 312 | 511 | 100 | -302 | -145 | 5 | -29.3333 | -53.6667 | -127 | -43
1985 | 31033 | 73 | 15 | 89 | 100 | 237 | 232 | 225 | 216 | 210 | 161 | 169 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.56038 | 466 | 121 | 459 | -101 | -155.5 | -79.3333 | -86.3333 | -92.6667 | -70.3333 | -72
1986 | 26881 | 37 | 2 | 60 | 40 | 103 | 115 | 129 | 121 | 127 | 104 | 88 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.35348 | 167 | 505 | 552 | -77.5 | -70.6667 | -46.3333 | -47.3333 | -35 | -18.6667 | -40.6667
1987 | 95625 | 97 | 14 | 95 | 57 | 158 | 164 | 156 | 151 | 158 | 124 | 114 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.75358 | 317 | 616 | 136 | -169.3333 | -161.3333 | -153 | -133.3333 | -118.6667 | -128 | -129.6667
2002 | 106584 | 99 | 3 | 70 | 80 | 322 | 312 | 309 | 264 | 242 | 229 | 197 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.93539 | 625 | 634 | 507 | 152 | 133.6667 | 142.6667 | 102.6667 | 95 | 115 | 97.6667
2011 | 145650 | 85 | 12 | 92 | 10 | 184 | 180 | 170 | 174 | 167 | 145 | 133 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0.99331 | 625 | 634 | 507 | 14 | 1.6667 | 3.6667 | 12.6667 | 20 | 31 | 33.6667
2009 | 383052 | 95 | 11 | 100 | 20 | 228 | 224 | 216 | 208 | 202 | 154 | 168 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.99946 | 625 | 634 | 507 | 58 | 45.6667 | 49.6667 | 46.6667 | 55 | 40 | 68.6667
2009 | 6898 | 18 | 9 | 85 | 0 | 102 | 96 | 112 | 118 | 116 | 110 | 109 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.10632 | 318 | 561 | 574 | 9 | -7 | 0.33333 | -1 | -3.3333 | -6.6667 | -15.3333
2000 | 56527 | 96 | 6 | 85 | 20 | 158 | 156 | 142 | 141 | 145 | 128 | 126 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.75115 | 317 | 616 | 136 | -169.3333 | -169.3333 | -167 | -143.3333 | -131.6667 | -124 | -117.6667
2011 | 13539 | 97 | 5 | 85 | 50 | 205 | 206 | 204 | 201 | 199 | 215 | 203 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.75121 | 317 | 616 | 136 | -122.3333 | -119.3333 | -105 | -83.3333 | -77.6667 | -37 | -40.6667
2006 | 48424 | 82 | 7 | 100 | 0 | 335 | 344 | 328 | 322 | 308 | 304 | 302 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.92861 | 634 | 625 | 507 | 165 | 165.6667 | 161.6667 | 160.6667 | 161 | 190 | 202.6667
1992 | 26866 | 82 | 1 | 85 | 70 | 204 | 180 | 180 | 135 | 155 | 128 | 122 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.81043 | 272 | 79 | 67 | -166 | -177.3333 | -175.3333 | -210.3333 | -180.3333 | -139 | -154.3333
1976 | 5656 | 100 | 4 | 100 | 100 | 210 | 213 | 258 | 240 | 234 | 182 | 176 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0.59119 | 636 | 417 | 591 | -26 | 0.33333 | 48.6667 | 46 | 38.6667 | 14.6667 | 8
2009 | 24089 | 98 | 7 | 100 | 15 | 239 | 249 | 229 | 221 | 227 | 177 | 166 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.69723 | 15 | 633 | 142 | -82 | -60 | -169.3333 | -173.3333 | -168.6667 | -167.6667 | -194
2013 | 33363 | 83 | 3 | 75 | 0 | 325 | 322 | 312 | 294 | 286 | 280 | 310 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0.98137 | 625 | 634 | 507 | 155 | 143.6667 | 145.6667 | 132.6667 | 139 | 166 | 210.6667
2016 | 129726 | 89 | 2 | 95 | 37 | 9 | 66 | 200 | 247 | 252 | 327 | 226 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0.98957 | 625 | 634 | 507 | -161 | -112.3333 | 33.6667 | 85.6667 | 105 | 213 | 126.6667
1998 | 70347 | 66 | 16 | 99 | 95 | 417 | 415 | 393 | 411 | 396 | 332 | 346 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.73412 | 289 | 4 | 317 | 111.3333 | 108.6667 | 90.6667 | 140.3333 | 133.6667 | 102.3333 | 108
1979 | 75079 | 67 | 9 | 90 | 40 | 203 | 205 | 200 | 199 | 200 | 173 | 166 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.67845 | 236 | 164 | 501 | -23.5 | -46.5 | 26.3333 | 29.6667 | 18.3333 | 12 | 18
1996 | 22518 | 80 | 9 | 100 | 40 | 195 | 200 | 196 | 201 | 186 | 147 | 145 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.62183 | 378 | 519 | 715 | -52.3333 | -47.3333 | -9 | 23 | -12 | -34 | -50.6667
1996 | 6832 | 93 | 1 | 90 | 40 | 250 | 286 | 270 | 282 | 250 | 147 | 148 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.2963 | 8 | 603 | 47 | 3.5 | -39.6667 | -41.3333 | -19 | -70 | -211 | -147
2014 | 62328 | 92 | 0 | 93 | 19 | 181 | 231 | 243 | 243 | 250 | 213 | 218 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.89578 | 518 | 98 | 53 | -42 | -13 | 39.6667 | 20.6667 | -24.6667 | -35 | -39.3333
1984 | 25857 | 100 | 10 | 90 | 94 | 244 | 249 | 235 | 232 | 234 | 195 | 179 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.68325 | 164 | 501 | 236 | 17.5 | -2.5 | 61.3333 | 62.6667 | 52.3333 | 34 | 31
2009 | 35657 | 92 | 10 | 99 | 30 | 207 | 223 | 215 | 210 | 196 | 175 | 162 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.69182 | 296 | 496 | 501 | -227.3333 | -202 | -201.3333 | -205.6667 | -198.6667 | -180 | -207.3333
2011 | 6407 | 89 | 5 | 90 | 10 | 416 | 349 | 335 | 276 | 277 | 264 | 276 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.25012 | 342 | 592 | 192 | 238.3333 | 177.6667 | 174 | 123 | 41 | 3.6667 | -30
1984 | 66408 | 83 | 6 | 98 | 5 | 192 | 191 | 194 | 182 | 169 | 127 | 128 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.70043 | 15 | 633 | 142 | -129 | -118 | -204.3333 | -212.3333 | -226.6667 | -217.6667 | -232
1974 | 17592 | 85 | 1 | 80 | 90 | 326 | 314 | 304 | 238 | 228 | 203 | 209 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.75378 | 317 | 616 | 136 | -1.3333 | -11.3333 | -5 | -46.3333 | -48.6667 | -49 | -34.6667
2002 | 47410 | 69 | 5.35 | 88 | 10 | 116 | 128 | 132 | 132 | 138 | 122 | 112 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.92585 | 634 | 507 | 625 | -54 | -50.3333 | -34.3333 | -29.3333 | -9 | 8 | 12.6667
1993 | 43280 | 92 | 4 | 96 | 70 | 284 | 284 | 269 | 264 | 260 | 233 | 242 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.83205 | 255 | 611 | 597 | 35 | 54.5 | 43 | 84.3333 | 46.6667 | 41.6667 | 34
2005 | 137488 | 45 | 2 | 100 | 10 | 137 | 136 | 133 | 120 | 90 | 84 | 78 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0.98131 | 625 | 634 | 507 | -33 | -42.3333 | -33.3333 | -41.3333 | -57 | -30 | -21.3333
1982 | 64277 | 96 | 4 | 95 | 12 | 321 | 279 | 269 | 264 | 259 | 211 | 167 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.74987 | 317 | 616 | 136 | -6.3333 | -46.3333 | -40 | -20.3333 | -17.6667 | -41 | -76.6667
2013 | 108169 | 96 | 0 | 80 | 0 | 350 | 347 | 341 | 336 | 329 | 312 | 321 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.92339 | 634 | 507 | 625 | 180 | 168.6667 | 174.6667 | 174.6667 | 182 | 198 | 221.6667
2011 | 40450 | 90 | 9 | 100 | 85 | 302 | 299 | 298 | 289 | 288 | 272 | 276 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.83193 | 255 | 611 | 597 | 53 | 69.5 | 72 | 109.3333 | 74.6667 | 80.6667 | 68
2000 | 187345 | 65 | 7 | 100 | 40 | 239 | 232 | 219 | 216 | 227 | 217 | 205 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0.9893 | 625 | 634 | 507 | 69 | 53.6667 | 52.6667 | 54.6667 | 80 | 103 | 105.6667
1999 | 17815 | 90 | 5 | 95 | 0 | 245 | 234 | 202 | 188 | 196 | 146 | 156 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.3834 | 582 | 527 | 287 | 15 | 87 | 70.6667 | 64.6667 | 71 | 28.3333 | 37
1986 | 79650 | 94 | 10 | 100 | 43 | 250 | 247 | 235 | 231 | 229 | 199 | 192 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.76206 | 136 | 326 | 616 | -102 | -107 | -114.6667 | -115.6667 | -111.3333 | -126.3333 | -113.6667
1998 | 53825 | 94 | 3 | 100 | 20 | 215 | 208 | 152 | 146 | 157 | 138 | 130 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0.94581 | 625 | 634 | 507 | 45 | 29.6667 | -14.3333 | -15.3333 | 10 | 24 | 30.6667
1980 | 44097 | 80 | 8 | 88 | 30 | 376 | 388 | 388 | 376 | 365 | 277 | 255 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.58766 | 417 | 636 | 591 | 140 | 175.3333 | 178.6667 | 182 | 169.6667 | 109.6667 | 87
1995 | 24895 | 80 | 6 | 100 | 100 | 130 | 129 | 124 | 124 | 129 | 106 | 104 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.80989 | 272 | 79 | 421 | -237.5 | -221.3333 | -223 | -213.3333 | -176.6667 | -130.6667 | -140
1998 | 32629 | 82 | 2 | 64 | 100 | 510 | 466 | 408 | 356 | 316 | 277 | 305 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.66103 | 510 | 86 | 358 | 123 | 115.3333 | 74.3333 | 24.6667 | -19.6667 | -14 | 31.3333
1973 | 37570 | 72 | 0 | 93 | 39 | 216 | 239 | 228 | 256 | 254 | 209 | 206 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.52198 | 194 | 51 | 181 | -122 | -118.3333 | -105.3333 | -41.6667 | -69.3333 | -76.6667 | -68
1970 | 17598 | 94 | 10 | 85 | 100 | 284 | 258 | 239 | 250 | 251 | 171 | 183 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.58189 | 591 | 450 | 648 | 158.6667 | 135 | 81.6667 | 69.3333 | 54 | -14.6667 | -8.6667
2016 | 13284 | 75 | 2 | 80 | 99 | 13 | 174 | 193 | 227 | 232 | 191 | 228 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.75022 | 317 | 616 | 136 | -314.3333 | -151.3333 | -116 | -57.3333 | -44.6667 | -61 | -15.6667
1971 | 23554 | 90 | 3 | 64 | 25 | 206 | 207 | 208 | 184 | 185 | 165 | 154 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.52555 | 51 | 607 | 363 | -94.5 | -188.6667 | -173 | -192.6667 | -203 | -197 | -210.3333
1975 | 42809 | 88 | 5 | 85 | 35 | 189 | 182 | 174 | 173 | 149 | 123 | 103 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.64727 | 44 | 433 | 358 | -167 | -134.5 | -86 | -31.6667 | -67.3333 | -53.3333 | -69.6667
2015 | 33123 | 79 | 0 | 100 | 0 | 84 | 290 | 287 | 298 | 305 | 291 | 299 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.64213 | 196 | 44 | 433 | -319 | -113 | -60.5 | 52 | 57 | 85 | 89.3333
2009 | 41135 | 85 | 7 | 70 | 10 | 129 | 120 | 107 | 102 | 96 | 85 | 82 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0.8773 | 442 | 98 | 518 | -131 | -191.3333 | -158.6667 | -182.6667 | -239 | -232.6667 | -241.3333
2001 | 106793 | 26 | 2 | 70 | 1 | 223 | 230 | 230 | 237 | 225 | 217 | 214 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.81704 | 67 | 79 | 272 | -147 | -127.3333 | -125.3333 | -108.3333 | -110.3333 | -50 | -62.3333
1991 | 16491 | 89 | 3 | 82 | 90 | 220 | 220 | 201 | 184 | 188 | 155 | 153 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.78366 | 511 | 312 | 687 | 10.5 | -107.6667 | -78.6667 | -134.3333 | -132.3333 | -176.3333 | -138.3333
1998 | 10852 | 77 | 4 | 90 | 28 | 232 | 230 | 219 | 205 | 188 | 167 | 162 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0.77616 | 687 | 522 | 326 | 36 | -144.6667 | -153.6667 | -160.6667 | -161.3333 | -144.3333 | -289
1985 | 31224 | 80 | 3 | 80 | 85 | 330 | 285 | 250 | 249 | 250 | 206 | 230 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.77857 | 687 | 522 | 511 | 127.5 | -39.3333 | -65.3333 | -55 | -46 | -79.3333 | -134.5
2014 | 5345 | 71 | 4 | 100 | 90 | 216 | 207 | 207 | 206 | 222 | 209 | 200 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.4745 | 672 | 509 | 690 | -9.5 | -12.3333 | 6.6667 | 10.6667 | 19.6667 | 43.3333 | 32.6667
1985 | 21089 | 84 | 15 | 89 | 90 | 246 | 256 | 294 | 295 | 290 | 219 | 219 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.51362 | 194 | 181 | 588 | -4.6667 | -8.3333 | 46 | 78 | 59.3333 | 23.6667 | 32
1994 | 17828 | 82 | 6 | 100 | 0 | 293 | 287 | 266 | 247 | 227 | 194 | 195 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.29173 | 370 | 47 | 603 | 55 | 51 | 34.6667 | 23.3333 | -29.6667 | 64.5 | 46.5
1984 | 20180 | 64 | 8 | 100 | 0 | 137 | 147 | 134 | 114 | 125 | 107 | 95 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.45238 | 376 | 200 | 0 | -46.6667 | -41.3333 | -48.6667 | -56 | -49.3333 | -50.6667 | -63.3333
2010 | 5901 | 5 | 4 | 75 | 44 | 96 | 101 | 103 | 111 | 97 | 82 | 83 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.20674 | 279 | 55 | 262 | -98 | -102.3333 | -104 | -105.6667 | -106.3333 | -91 | -90
1993 | 49048 | 53 | 0 | 90 | 8 | 292 | 280 | 268 | 260 | 258 | 226 | 237 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.54742 | 635 | 170 | 120 | 51 | 11.3333 | -10.3333 | -13.6667 | -17.3333 | -16 | 35.3333
2014 | 7450 | 66 | 3 | 85 | 80 | 340 | 325 | 335 | 328 | 329 | 282 | 286 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.80366 | 602 | 421 | 598 | 155 | 31 | 46 | 50 | 73.3333 | 53.3333 | 54.6667
1982 | 76504 | 92 | 8 | 85 | 80 | 248 | 261 | 252 | 258 | 254 | 201 | 206 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.80844 | 272 | 421 | 602 | -16 | -63.3333 | -69 | -54.3333 | -35.6667 | -60.3333 | -62
1986 | 54042 | 78 | 0 | 94 | 38 | 288 | 289 | 267 | 216 | 213 | 169 | 184 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.83055 | 611 | 597 | 255 | 39 | 59.5 | 41 | 36.3333 | -0.33333 | -22.3333 | -24
1991 | 16654 | 40 | 8 | 100 | 40 | 100 | 97 | 94 | 95 | 80 | 77 | 78 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0.64099 | 196 | 327 | 44 | -255 | -258.6667 | -221 | -203.6667 | -199.3333 | -151 | -149
1992 | 62392 | 93 | 6 | 90 | 42 | 125 | 126 | 134 | 132 | 134 | 111 | 122 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.78632 | 511 | 312 | 100 | -188 | -181 | -119 | -158.3333 | -159.6667 | -203 | -111
2009 | 13590 | 55 | 12 | 50 | 54 | 505 | 472 | 442 | 398 | 411 | 232 | 254 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.26705 | 178 | 425 | 265 | 345 | 315 | 287.3333 | 230.6667 | 242 | 75 | 96.3333
2013 | 6256 | 69 | 3 | 100 | 33 | 259 | 253 | 241 | 226 | 118 | 167 | 177 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.35104 | 552 | 542 | 167 | 77 | 53.3333 | 50.3333 | 43 | -60.6667 | 28.6667 | 36.6667
1998 | 9882 | 58 | 2 | 100 | 75 | 182 | 216 | 230 | 173 | 121 | 101 | 102 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.63868 | 327 | 196 | 222 | -168.6667 | -139 | -132.3333 | -176 | -201.6667 | -166 | -165
1998 | 27699 | 100 | 2 | 95 | 35 | 208 | 183 | 175 | 137 | 159 | 156 | 148 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.79291 | 100 | 312 | 511 | -105 | -124 | -78 | -153.3333 | -134.6667 | -158 | -85
2012 | 29227 | 77 | 7 | 86 | 60 | 293 | 308 | 302 | 309 | 321 | 270 | 286 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0.92512 | 634 | 507 | 625 | 123 | 129.6667 | 135.6667 | 147.6667 | 174 | 156 | 186.6667
1997 | 64846 | 80 | 4 | 95 | 0 | 219 | 200 | 193 | 193 | 190 | 168 | 164 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.7664 | 326 | 136 | 522 | -57 | -97 | -101.6667 | -89 | -74 | -46.3333 | -144.5
1991 | 21055 | 76 | 4 | 93 | 10 | 191 | 179 | 152 | 140 | 138 | 117 | 117 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.61487 | 301 | 116 | 715 | -165 | -198.6667 | -244 | -251.5 | -240 | -246 | -278.3333
1990 | 51487 | 99 | 1 | 94 | 100 | 397 | 231 | 267 | 243 | 230 | 170 | 159 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.90915 | 507 | 621 | 634 | 223.5 | 79.6667 | 125 | 80.3333 | 74 | 43 | 44
2014 | 22485 | 47 | 2 | 81 | 32 | 94 | 133 | 157 | 170 | 168 | 150 | 162 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0.91956 | 634 | 507 | 621 | -79.5 | -18.3333 | 15 | 7.3333 | 12 | 23 | 47
2002 | 19225 | 80 | 16 | 60 | 0 | 79 | 89 | 94 | 102 | 98 | 85 | 79 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.65413 | 510 | 358 | 433 | -345.5 | -281 | -259 | -159 | -180.3333 | -160 | -152.3333
2009 | 21167 | 85 | 9 | 100 | 30 | 359 | 363 | 382 | 359 | 347 | 291 | 243 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.91244 | 507 | 634 | 621 | 185.5 | 211.6667 | 240 | 196.3333 | 191 | 164 | 128
2012 | 18975 | 86 | 7 | 87 | 99 | 246 | 244 | 245 | 246 | 240 | 244 | 241 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.8134 | 79 | 67 | 272 | -124 | -113.3333 | -110.3333 | -99.3333 | -95.3333 | -23 | -35.3333
2005 | 94393 | 84 | 4 | 100 | 100 | 442 | 423 | 402 | 379 | 370 | 321 | 341 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.94893 | 625 | 634 | 507 | 272 | 244.6667 | 235.6667 | 217.6667 | 223 | 207 | 241.6667
2001 | 99091 | 78 | 16 | 100 | 0 | 374 | 378 | 349 | 345 | 332 | 319 | 305 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.64469 | 196 | 44 | 433 | -29 | -25 | 1.5 | 99 | 84 | 113 | 95.3333
2015 | 13742 | 92 | 5 | 75 | 0 | 186 | 321 | 279 | 275 | 304 | 228 | 265 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.39222 | 108 | 65 | 577 | -439 | -207 | -261 | -246 | -189 | -173.6667 | -272.5
2014 | 48324 | 100 | 7 | 99 | 80 | 397 | 400 | 371 | 370 | 370 | 303 | 309 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.87856 | 442 | 98 | 518 | 137 | 88.6667 | 105.3333 | 85.3333 | 35 | -14.6667 | -14.3333
1996 | 37285 | 90 | 12 | 93 | 65 | 333 | 318 | 306 | 280 | 246 | 199 | 115 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.65675 | 510 | 358 | 433 | -91.5 | -52 | -47 | 19 | -32.3333 | -46 | -116.3333
1972 | 47107 | 100 | 6 | 100 | 92 | 281 | 282 | 280 | 273 | 269 | 200 | 204 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.79474 | 100 | 312 | 598 | -24 | -14 | 36.6667 | -9 | -15 | -67.6667 | -12.3333
1998 | 55092 | 57 | 0 | 100 | 20 | 234 | 235 | 212 | 328 | 348 | 298 | 281 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.83267 | 255 | 611 | 597 | -15 | 5.5 | -14 | 148.3333 | 134.6667 | 106.6667 | 73
1972 | 79709 | 84 | 20 | 49 | 65 | 381 | 378 | 333 | 365 | 353 | 265 | 285 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.35949 | 94 | 155 | 210 | -127.3333 | -100 | -130 | -118 | -92 | -111 | 114.6667
2015 | 8140 | 96 | 5 | 75 | 0 | 65 | 356 | 308 | 283 | 285 | 267 | 260 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.37798 | 388 | 330 | 287 | -148.5 | 217 | 183 | 165.3333 | 167.3333 | 169.6667 | 171
2014 | 9333 | 90 | 7 | 91 | 63 | 299 | 278 | 303 | 322 | 306 | 275 | 301 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.30018 | 533 | 39 | 502 | 125 | 194.3333 | 198.3333 | 209 | 185.6667 | 183 | 198
2013 | 13121 | 96 | 4 | 100 | 2 | 256 | 276 | 264 | 264 | 272 | 227 | 224 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.5442 | 120 | 392 | 635 | 26 | 3.5 | -22.5 | 62.3333 | 47.3333 | 28.6667 | 59
2012 | 23800 | 56 | 8 | 80 | 70 | 407 | 400 | 402 | 405 | 403 | 335 | 348 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.70614 | 469 | 142 | 633 | 86 | -21 | -15.6667 | -51.6667 | -43 | -30.3333 | -27
1971 | 31184 | 87 | 5 | 43 | 55 | 162 | 142 | 140 | 137 | 144 | 118 | 113 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.51475 | 194 | 181 | 588 | -88.6667 | -122.3333 | -108 | -80 | -86.6667 | -77.3333 | -74
1982 | 25879 | 77 | 12 | 100 | 10 | 279 | 245 | 226 | 209 | 209 | 83 | 41 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.40733 | 427 | 382 | 169 | -87 | -37 | -107 | -54.3333 | -112.6667 | -210 | -211
2014 | 39649 | 91 | 5 | 92 | 20 | 87 | 103 | 128 | 156 | 178 | 153 | 158 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.95117 | 625 | 634 | 507 | -83 | -75.3333 | -38.3333 | -5.3333 | 31 | 39 | 58.6667
2013 | 8784 | 59 | 6 | 85 | 100 | 334 | 314 | 422 | 434 | 408 | 327 | 313 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.57764 | 193 | 648 | 450 | 208 | 36.6667 | 116.6667 | 101.6667 | 57.6667 | -30.6667 | -42
1986 | 33736 | 80 | 2 | 86 | 0 | 174 | 176 | 173 | 158 | 147 | 124 | 116 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.64544 | 44 | 433 | 196 | -229 | -227 | -174.5 | -88 | -101 | -82 | -93.6667
1994 | 46218 | 40 | 5 | 85 | 28 | 44 | 43 | 43 | 41 | 39 | 38 | 39 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0.88535 | 98 | 518 | 53 | -179 | -201 | -160.3333 | -181.3333 | -235.6667 | -210 | -218.3333
1997 | 38054 | 100 | 5 | 90 | 70 | 207 | 188 | 208 | 210 | 205 | 160 | 166 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.81405 | 79 | 67 | 272 | -163 | -169.3333 | -147.3333 | -135.3333 | -130.3333 | -107 | -110.3333
2010 | 14671 | 90 | 3 | 100 | 0 | 181 | 184 | 157 | 160 | 165 | 152 | 147 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.5464 | 635 | 120 | 170 | -60 | -84.6667 | -121.3333 | -113.6667 | -110.3333 | -90 | -54.6667
1975 | 16608 | 100 | 1 | 98 | 100 | 163 | 158 | 153 | 124 | 110 | 93 | 86 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.82217 | 597 | 67 | 611 | -149 | -121.6667 | -123 | -150 | -167 | -155.3333 | -151.6667
2013 | 7221 | 66 | 7 | 70 | 100 | 191 | 195 | 196 | 235 | 203 | 173 | 180 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.73235 | 289 | 4 | 524 | -128.5 | -126 | -46 | 3.6667 | -29 | -35.6667 | -28
2009 | 23418 | 92 | 10 | 93 | 0 | 232 | 235 | 205 | 201 | 209 | 190 | 168 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.55976 | 466 | 121 | 459 | -106 | -152.5 | -99.3333 | -101.3333 | -93.6667 | -41.3333 | -73
2014 | 11783 | 74 | 6 | 87 | 68 | 258 | 266 | 264 | 263 | 268 | 229 | 214 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.75242 | 317 | 616 | 136 | -69.3333 | -59.3333 | -45 | -21.3333 | -8.6667 | -23 | -29.6667
1990 | 132527 | 67 | 6 | 94 | 30 | 228 | 241 | 241 | 238 | 233 | 203 | 203 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.88901 | 98 | 518 | 53 | 5 | -3 | 37.6667 | 15.6667 | -41.6667 | -45 | -54.3333
2002 | 67370 | 77 | 2 | 72 | 9 | 256 | 240 | 184 | 135 | 136 | 131 | 139 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.79196 | 100 | 312 | 511 | -57 | -67 | -69 | -155.3333 | -157.6667 | -183 | -94
2008 | 16105 | 93 | 10 | 90 | 15 | 178 | 183 | 206 | 210 | 201 | 177 | 190 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.32796 | 686 | 372 | 130 | -336.6667 | -315.6667 | -283.6667 | -266.6667 | -276.6667 | -256 | -187.6667
2012 | 72782 | 83 | 10 | 90 | 0 | 190 | 200 | 194 | 204 | 159 | 196 | 132 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.93283 | 625 | 634 | 507 | 20 | 21.6667 | 27.6667 | 42.6667 | 12 | 82 | 32.6667
2009 | 19967 | 84 | 6 | 100 | 5 | 154 | 133 | 118 | 111 | 115 | 95 | 102 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.66532 | 86 | 510 | 236 | -247.5 | -255 | -137 | -141.3333 | -141 | -127.6667 | -113
1994 | 34630 | 98 | 7 | 32 | 75 | 331 | 329 | 313 | 301 | 303 | 226 | 247 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.62571 | 519 | 378 | 160 | 125.6667 | 125 | 127.6667 | 133.3333 | 113.5 | 69.5 | 79
1982 | 11256 | 98 | 1 | 98 | 100 | 207 | 160 | 171 | 184 | 179 | 146 | 157 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.69987 | 15 | 633 | 142 | -114 | -149 | -227.3333 | -210.3333 | -216.6667 | -198.6667 | -203
1981 | 37721 | 84 | 6 | 79 | 74 | 187 | 182 | 180 | 181 | 173 | 160 | 163 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.70319 | 142 | 633 | 15 | -134 | -127 | -218.3333 | -213.3333 | -222.6667 | -184.6667 | -197
2009 | 65640 | 62 | 8 | 97 | 75 | 393 | 385 | 382 | 365 | 398 | 342 | 352 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0.95666 | 625 | 634 | 507 | 223 | 206.6667 | 215.6667 | 203.6667 | 251 | 228 | 252.6667
1993 | 11426 | 77 | 6 | 85 | 0 | 237 | 217 | 217 | 212 | 219 | 180 | 189 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.49124 | 375 | 430 | 348 | 79 | 153 | 132 | 106.6667 | 95.5 | 72.5 | 88.5
2015 | 15211 | 80 | 5 | 90 | 75 | 35 | 108 | 114 | 99 | 93 | 82 | 80 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0.94226 | 625 | 634 | 507 | -135 | -70.3333 | -52.3333 | -62.3333 | -54 | -32 | -19.3333
1990 | 31298 | 84 | 10 | 80 | 90 | 140 | 133 | 134 | 138 | 137 | 135 | 129 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.67171 | 86 | 236 | 164 | -99.5 | -140.5 | -49.3333 | -38.3333 | -41.6667 | -22.3333 | -17.6667
2001 | 60922 | 78 | 1 | 82 | 23 | 214 | 188 | 175 | 148 | 187 | 203 | 201 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.83111 | 611 | 255 | 597 | -35 | -41.5 | -51 | -31.6667 | -26.3333 | 11.6667 | -7
1986 | 11047 | 80 | 9 | 100 | 30 | 362 | 376 | 384 | 397 | 400 | 362 | 345 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.3286 | 686 | 372 | 412 | -263.6667 | -230.6667 | -207.3333 | -184 | -184.6667 | -171.6667 | -152.3333
2008 | 6086 | 89 | 9 | 90 | 70 | 333 | 345 | 378 | 348 | 355 | 272 | 323 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.23754 | 631 | 403 | 58 | -52.3333 | -37 | 13.3333 | 14 | -12.6667 | -68.3333 | -30.3333
2015 | 12253 | 82 | 2 | 65 | 70 | 78 | 105 | 120 | 113 | 108 | 95 | 93 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.65134 | 358 | 433 | 44 | -278 | -211.5 | -140 | -91.6667 | -108.3333 | -81.3333 | -79.6667
1978 | 29985 | 87 | 3 | 90 | 0 | 135 | 138 | 148 | 156 | 150 | 122 | 117 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.59089 | 417 | 636 | 591 | -101 | -74.6667 | -61.3333 | -38 | -45.3333 | -45.3333 | -51
2000 | 18122 | 77 | 18 | 80 | 45 | 131 | 126 | 114 | 118 | 118 | 101 | 102 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.74354 | 317 | 4 | 289 | -174.6667 | -180.3333 | -188.3333 | -152.6667 | -144.3333 | -128.6667 | -136
2000 | 95555 | 89 | 3 | 99 | 25 | 281 | 273 | 268 | 258 | 246 | 210 | 185 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.89792 | 53 | 621 | 518 | 73.3333 | 8 | 29.6667 | -10.6667 | -69.3333 | -70 | -102.6667
1986 | 95696 | 84 | 6 | 100 | 100 | 146 | 147 | 141 | 142 | 133 | 168 | 65 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.91316 | 507 | 634 | 621 | -27.5 | -4.3333 | -1 | -20.6667 | -23 | 41 | -50
1998 | 52095 | 82 | 4 | 91 | 60 | 413 | 416 | 362 | 335 | 345 | 289 | 287 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.83339 | 255 | 611 | 597 | 164 | 186.5 | 136 | 155.3333 | 131.6667 | 97.6667 | 79
1997 | 18451 | 73 | 7 | 90 | 30 | 201 | 200 | 168 | 159 | 183 | 168 | 169 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.59809 | 428 | 636 | 414 | -48 | -51.6667 | -79.3333 | -67 | -40.6667 | -16.3333 | -26
1900 | 29616 | 90 | 3 | 76 | 87 | 327 | 306 | 279 | 247 | 247 | 203 | 218 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.38984 | 65 | 108 | 577 | -298 | -222 | -261 | -274 | -246 | -198.6667 | -319.5
1993 | 38596 | 78 | 7 | 90 | 0 | 252 | 253 | 250 | 243 | 226 | 174 | 171 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.58285 | 591 | 450 | 648 | 126.6667 | 130 | 92.6667 | 62.3333 | 29 | -11.6667 | -20.6667
1911 | 27838 | 76 | 8 | 100 | 0 | 118 | 119 | 121 | 119 | 123 | 89 | 109 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.080725 | 440 | 613 | 161 | -378.6667 | -382.3333 | -346.6667 | -338.3333 | -187.5 | -165 | -195.6667
2009 | 11977 | 83 | 10 | 93 | 10 | 226 | 253 | 225 | 218 | 203 | 138 | 133 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.17235 | 126 | 701 | 122 | -50.6667 | -24.6667 | -33 | -46 | -49.6667 | -81 | -63
2012 | 27069 | 61 | 6 | 100 | 95 | 137 | 135 | 133 | 132 | 136 | 146 | 137 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0.95352 | 625 | 634 | 507 | -33 | -43.3333 | -33.3333 | -29.3333 | -11 | 32 | 37.6667
1982 | 22331 | 87 | 5 | 97 | 95 | 230 | 245 | 213 | 218 | 212 | 153 | 150 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.76947 | 326 | 522 | 687 | 34 | -129.6667 | -159.6667 | -147.6667 | -137.3333 | -158.3333 | -301
2001 | 19040 | 74 | 20 | 80 | 95 | 116 | 124 | 102 | 54 | 50 | 34 | 43 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.80192 | 598 | 602 | 421 | -69 | -170 | -187 | -224 | -205.6667 | -194.6667 | -188.3333
2002 | 26137 | 93 | 2 | 80 | 26 | 230 | 235 | 209 | 134 | 144 | 130 | 131 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0.92045 | 634 | 507 | 621 | 56.5 | 83.6667 | 67 | -28.6667 | -12 | 3 | 16
2011 | 5030 | 80 | 9 | 97 | 20 | 165 | 169 | 171 | 165 | 166 | 115 | 111 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.19846 | 569 | 199 | 21 | -142 | -87.6667 | -115 | -118.3333 | -101.6667 | -104.3333 | -106.6667
2013 | 75269 | 69 | 7 | 100 | 100 | 92 | 156 | 246 | 256 | 265 | 249 | 268 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.91676 | 634 | 507 | 621 | -81.5 | 4.6667 | 104 | 93.3333 | 109 | 122 | 153
1986 | 12565 | 92 | 11 | 80 | 0 | 259 | 249 | 233 | 230 | 226 | 193 | 193 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.34459 | 542 | 411 | 552 | 77 | 101.3333 | 85.6667 | 86.3333 | 83.3333 | 70 | 73.3333
2013 | 99576 | 83 | 12 | 93 | 10 | 188 | 199 | 207 | 208 | 206 | 161 | 151 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0.98725 | 625 | 634 | 507 | 18 | 20.6667 | 40.6667 | 46.6667 | 59 | 47 | 51.6667
2004 | 10720 | 84 | 17 | 87 | 5 | 231 | 211 | 200 | 200 | 201 | 134 | 106 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.06034 | 191 | 305 | 7 | -398 | -130.6667 | -120.6667 | -116.3333 | -117.6667 | -14 | -41
1977 | 68836 | 87 | 11 | 80 | 20 | 212 | 147 | 104 | 109 | 163 | 157 | 160 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.54951 | 170 | 635 | 141 | -112 | -188.3333 | -229.3333 | -212.6667 | -161.6667 | -132.3333 | -92.3333
2009 | 11520 | 89 | 9 | 93 | 0 | 204 | 216 | 205 | 196 | 192 | 147 | 137 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.17623 | 122 | 245 | 553 | -38.5 | 26 | 36.6667 | 74 | 6.6667 | -4 | -113
2012 | 8922 | 100 | 4 | 65 | 70 | 332 | 350 | 341 | 326 | 334 | 247 | 259 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.75944 | 136 | 616 | 326 | -20 | -4 | -8.6667 | -20.6667 | -6.3333 | -78.3333 | -46.6667
2004 | 10700 | 37 | 10 | 100 | 0 | 167 | 164 | 155 | 168 | 165 | 133 | 129 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.12079 | 413 | 308 | 223 | -14 | 17 | 15.3333 | 36 | 38.3333 | 40 | 11
1985 | 17034 | 94 | 4 | 95 | 0 | 299 | 287 | 267 | 246 | 247 | 176 | 175 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.57755 | 193 | 648 | 450 | 173 | 9.6667 | -38.3333 | -86.3333 | -103.3333 | -181.6667 | -180
2000 | 41499 | 66 | 3 | 100 | 30 | 155 | 153 | 142 | 134 | 131 | 116 | 119 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.78435 | 511 | 312 | 100 | -158 | -154 | -111 | -156.3333 | -162.6667 | -198 | -114
2000 | 20613 | 14 | 7 | 80 | 70 | 41 | 42 | 39 | 38 | 40 | 54 | 35 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0.69975 | 15 | 633 | 142 | -280 | -267 | -359.3333 | -356.3333 | -355.6667 | -290.6667 | -325
1983 | 12893 | 93 | 7 | 100 | 2 | 280 | 299 | 297 | 295 | 309 | 283 | 270 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0.64666 | 44 | 433 | 358 | -76 | -17.5 | 37 | 90.3333 | 92.6667 | 106.6667 | 97.3333
1985 | 55206 | 74 | 2 | 100 | 48 | 162 | 163 | 139 | 130 | 130 | 117 | 108 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.82244 | 597 | 611 | 67 | -150 | -116.6667 | -137 | -144 | -147 | -131.3333 | -129.6667
1970 | 84230 | 74 | 14 | 85 | 45 | 250 | 246 | 226 | 216 | 215 | 160 | 164 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.55558 | 459 | 121 | 141 | -157 | -220.5 | -136.6667 | -143.6667 | -145 | -123 | -135.3333
2010 | 184167 | 93 | 8 | 98 | 20 | 179 | 210 | 232 | 249 | 165 | 142 | 137 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0.98914 | 625 | 634 | 507 | 9 | 31.6667 | 65.6667 | 87.6667 | 18 | 28 | 37.6667
1981 | 22772 | 85 | 4 | 95 | 100 | 144 | 141 | 135 | 128 | 129 | 105 | 115 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.78774 | 511 | 312 | 100 | -169 | -166 | -118 | -162.3333 | -164.6667 | -209 | -118
2011 | 95992 | 89 | 8.75 | 97 | 0 | 210 | 211 | 208 | 201 | 210 | 185 | 179 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0.98972 | 625 | 634 | 507 | 40 | 32.6667 | 41.6667 | 39.6667 | 63 | 71 | 79.6667
2012 | 62000 | 65 | 5 | 90 | 40 | 365 | 348 | 351 | 340 | 341 | 309 | 330 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.83417 | 255 | 611 | 597 | 116 | 118.5 | 125 | 160.3333 | 127.6667 | 117.6667 | 122
1977 | 26657 | 99 | 2 | 85 | 95 | 278 | 266 | 247 | 238 | 241 | 220 | 196 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.80334 | 602 | 421 | 598 | 93 | -28 | -42 | -40 | -14.6667 | -8.6667 | -35.3333
2003 | 35533 | 75 | 2 | 45 | 85 | 260 | 249 | 220 | 223 | 234 | 204 | 212 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.79319 | 100 | 312 | 511 | -53 | -58 | -33 | -67.3333 | -59.6667 | -110 | -21
1975 | 40939 | 88 | 2 | 85 | 27 | 365 | 380 | 367 | 362 | 360 | 318 | 328 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.69075 | 296 | 496 | 501 | -69.3333 | -45 | -49.3333 | -53.6667 | -34.6667 | -37 | -41.3333
2006 | 144109 | 97 | 11 | 100 | 26 | 276 | 282 | 274 | 250 | 290 | 193 | 143 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.98111 | 625 | 634 | 507 | 106 | 103.6667 | 107.6667 | 88.6667 | 143 | 79 | 43.6667
1988 | 117541 | 90 | 3 | 95 | 10 | 245 | 259 | 238 | 206 | 204 | 172 | 172 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0.96849 | 625 | 634 | 507 | 75 | 80.6667 | 71.6667 | 44.6667 | 57 | 58 | 72.6667
1999 | 36280 | 85 | 21 | 98 | 80 | 527 | 518 | 415 | 386 | 376 | 297 | 279 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.48887 | 348 | 259 | 375 | 122 | 249.6667 | 135.6667 | 90.3333 | 104.6667 | 62.3333 | 48
2000 | 43006 | 82 | 1 | 94 | 100 | 198 | 202 | 198 | 194 | 153 | 128 | 125 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.90692 | 507 | 621 | 53 | 16.5 | 50.6667 | 52.3333 | 28.3333 | -4.3333 | -5.6667 | -7
1999 | 19765 | 82 | 4 | 60 | 21 | 130 | 134 | 127 | 132 | 128 | 126 | 124 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.59162 | 636 | 417 | 591 | -106 | -78.6667 | -82.3333 | -62 | -67.3333 | -41.3333 | -44
1979 | 169727 | 75 | 11 | 95 | 100 | 247 | 245 | 236 | 231 | 226 | 184 | 212 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.93672 | 625 | 634 | 507 | 77 | 66.6667 | 69.6667 | 69.6667 | 79 | 70 | 112.6667
1999 | 15769 | 90 | 4 | 93 | 50 | 211 | 197 | 203 | 181 | 169 | 140 | 135 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.74118 | 4 | 289 | 317 | -94.6667 | -109.3333 | -99.3333 | -89.6667 | -93.3333 | -89.6667 | -103
2007 | 15020 | 74 | 1 | 80 | 90 | 400 | 417 | 419 | 401 | 316 | 209 | 215 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.62368 | 378 | 519 | 160 | 194.6667 | 213 | 233.6667 | 233.3333 | 126.5 | 52.5 | 47
1982 | 25347 | 91 | 5 | 100 | 80 | 287 | 268 | 214 | 198 | 211 | 190 | 192 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.76002 | 136 | 616 | 326 | -65 | -86 | -135.6667 | -148.6667 | -129.3333 | -135.3333 | -113.6667
1982 | 25772 | 93 | 4 | 100 | 80 | 401 | 407 | 380 | 366 | 365 | 339 | 341 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.7814 | 511 | 687 | 312 | 191.5 | 79.3333 | 100.3333 | 47.6667 | 44.6667 | 7.6667 | 49.6667
2002 | 41840 | 92 | 4 | 95 | 30 | 184 | 163 | 165 | 146 | 149 | 125 | 122 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.79078 | 312 | 511 | 100 | -129 | -144 | -88 | -144.3333 | -144.6667 | -189 | -111
1998 | 13627 | 94 | 1 | 100 | 0 | 417 | 433 | 343 | 263 | 259 | 190 | 192 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.53938 | 392 | 586 | 120 | 205 | 238.5 | 145.5 | 112.6667 | 82 | 49.3333 | 50.3333
2013 | 20331 | 90 | 6 | 90 | 59 | 268 | 265 | 276 | 272 | 270 | 222 | 235 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.77835 | 687 | 522 | 511 | 65.5 | -59.3333 | -39.3333 | -32 | -26 | -63.3333 | -129.5
2004 | 51661 | 81 | 15 | 98 | 35 | 237 | 215 | 210 | 214 | 215 | 189 | 181 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.60078 | 428 | 414 | 590 | 15.6667 | -5.6667 | -6.3333 | 5.3333 | 10 | 29 | 6
2008 | 120384 | 72 | 12.2 | 90 | 15 | 247 | 230 | 207 | 220 | 207 | 197 | 204 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.95808 | 625 | 634 | 507 | 77 | 51.6667 | 40.6667 | 58.6667 | 60 | 83 | 104.6667
2010 | 51282 | 80 | 0 | 93 | 0 | 136 | 127 | 127 | 132 | 129 | 108 | 107 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.9649 | 625 | 634 | 507 | -34 | -51.3333 | -39.3333 | -29.3333 | -18 | -6 | 7.6667
2013 | 22495 | 74 | 11.5 | 100 | 45 | 272 | 289 | 292 | 292 | 278 | 257 | 243 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0.97444 | 625 | 634 | 507 | 102 | 110.6667 | 125.6667 | 130.6667 | 131 | 143 | 143.6667
1999 | 170288 | 70 | 1 | 43 | 80 | 125 | 129 | 112 | 83 | 72 | 104 | 67 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.96376 | 625 | 634 | 507 | -45 | -49.3333 | -54.3333 | -78.3333 | -75 | -10 | -32.3333
1982 | 42483 | 65 | 16 | 47 | 55 | 298 | 301 | 295 | 279 | 272 | 229 | 221 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.31773 | 24 | 705 | 531 | 135 | 164 | 170 | 157 | 148 | 115.6667 | 101.6667
2009 | 32504 | 77 | 7 | 97 | 70 | 167 | 148 | 169 | 165 | 158 | 129 | 116 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.955 | 625 | 634 | 507 | -3 | -30.3333 | 2.6667 | 3.6667 | 11 | 15 | 16.6667
2010 | 581511 | 100 | 11 | 94 | 95 | 314 | 306 | 301 | 297 | 302 | 243 | 261 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 625 | 634 | 507 | 144 | 127.6667 | 134.6667 | 135.6667 | 155 | 129 | 161.6667
1992 | 22368 | 53 | 4 | 55 | 0 | 141 | 144 | 147 | 140 | 144 | 129 | 123 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.45432 | 0 | 200 | 376 | -42.6667 | -44.3333 | -35.6667 | -30 | -30.3333 | -28.6667 | -35.3333
[25 empty] | MEAN | -36.8646 | -36.1897 | -29.5856 | -27.6952 | -32.2505 | -33.1713 | -32.419
[25 empty] | SE | 10.6415 | 9.5838 | 9.2753 | 9.1211 | 8.7306 | 8.2586 | 8.6603
[26 empty] | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021