## Sheet1
| TOP/CSC year | GFA (m²) | AC Area Percentage (%) | Age of Chiller (year) | Occupancy Rate (%) | LED Percentage Usage (%) | 2015 EUI (kWh/m².yr) | 2016 EUI (kWh/m².yr) | 2017 EUI (kWh/m².yr) | 2018 EUI (kWh/m².yr) | 2019 EUI (kWh/m².yr) | 2020 EUI (kWh/m².yr) | 2021 EUI (kWh/m².yr) | Green Labeling | Size Encoded | PV Encoded | Type_Commercial Building | Type_Educational Institution | Type_Healthcare Facility | Type of ACS_District Cooling Plant | Type of ACS_Others | Type of ACS_Water Cooled Chilled Water Plant | propensity_score | neighbor_indices_1 | neighbor_indices_2 | neighbor_indices_3 | 2015 EUI (kWh/m².yr)_ATET_diff | 2016 EUI (kWh/m².yr)_ATET_diff | 2017 EUI (kWh/m².yr)_ATET_diff | 2018 EUI (kWh/m².yr)_ATET_diff | 2019 EUI (kWh/m².yr)_ATET_diff | 2020 EUI (kWh/m².yr)_ATET_diff | 2021 EUI (kWh/m².yr)_ATET_diff
count | 385 | 385 | 385 | 385 | 385 | 385 | 273 | 361 | 377 | 380 | 383 | 378 | 369 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 257 | 361 | 377 | 380 | 383 | 378 | 368
mean | 1999.9974 | 50481.0156 | 77.7688 | 5.9223 | 87.7506 | 48.0312 | 272.0183 | 263.3047 | 263.5491 | 264.1921 | 261.6188 | 231.2989 | 235.7696 | 1 | 0.8 | 0.13247 | 0.9013 | 0.054545 | 0.044156 | 0.093506 | 0.17403 | 0.6987 | 0.6973 | 396.9662 | 428.1169 | 390.9506 | -39.4721 | -43.7608 | -23.2184 | -4.0329 | -12.265 | -13.9101 | -3.4855
std | 16.5725 | 67835.4647 | 20.1217 | 4.6664 | 15.5249 | 36.7557 | 151.9622 | 161.3558 | 158.537 | 172.9501 | 203.2124 | 230.4103 | 265.4037 | 0 | 0.40052 | 0.33944 | 0.29865 | 0.22739 | 0.20571 | 0.29152 | 0.37963 | 0.45942 | 0.23293 | 202.379 | 198.1138 | 190.626 | 247.1078 | 239.8272 | 223.7124 | 230.0482 | 249.2401 | 275.5706 | 311.7818
min | 1900 | 757 | 5 | 0 | 5 | 0 | 7 | 0 | 22 | 2 | 23 | 20 | 20 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.034179 | 0 | 4 | 0 | -850 | -999 | -954 | -929 | -1006 | -1037 | -1049.5
25% | 1992 | 16262 | 71 | 2 | 82 | 13 | 176 | 156 | 157 | 151 | 149.5 | 128 | 128 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.56038 | 255 | 284 | 236 | -148.5 | -155.5 | -137 | -116.75 | -127 | -127.5 | -113.6667
50% | 2002 | 29002 | 82 | 5 | 93 | 40 | 239 | 231 | 225 | 220 | 215 | 182 | 183 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.7619 | 431 | 496 | 433 | -33 | -45 | -34.3333 | -15.8333 | -28 | -28.1667 | -20.8333
75% | 2013 | 53582 | 92 | 8 | 100 | 85 | 335 | 329 | 333 | 323 | 323.5 | 286 | 285 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.87395 | 598 | 616 | 524 | 102 | 79.6667 | 90.6667 | 90.3333 | 81.6667 | 74.5 | 86.25
max | 2020 | 581511 | 100 | 29 | 100 | 100 | 1005 | 946 | 1040 | 1745 | 2910 | 3748 | 4481 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 715 | 705 | 715 | 847 | 882 | 854.6667 | 1582.3333 | 2754 | 3621 | 4366