## Sheet1
TOP/CSC year | GFA (m²) | AC Area Percentage (%) | Age of Chiller (year) | Occupancy Rate (%) | LED Percentage Usage (%) | 2015 EUI (kWh/m².yr) | 2016 EUI (kWh/m².yr) | 2017 EUI (kWh/m².yr) | 2018 EUI (kWh/m².yr) | 2019 EUI (kWh/m².yr) | 2020 EUI (kWh/m².yr) | 2021 EUI (kWh/m².yr) | Green Labeling | Size Encoded | PV Encoded | Type_Commercial Building | Type_Educational Institution | Type_Healthcare Facility | Type of ACS_District Cooling Plant | Type of ACS_Others | Type of ACS_Water Cooled Chilled Water Plant | propensity_score | neighbor_indices_1 | neighbor_indices_2 | neighbor_indices_3 | 2015 EUI (kWh/m².yr)_ATENT_diff | 2016 EUI (kWh/m².yr)_ATENT_diff | 2017 EUI (kWh/m².yr)_ATENT_diff | 2018 EUI (kWh/m².yr)_ATENT_diff | 2019 EUI (kWh/m².yr)_ATENT_diff | 2020 EUI (kWh/m².yr)_ATENT_diff | 2021 EUI (kWh/m².yr)_ATENT_diff
1959 | 22975 | 44 | 3 | 100 | 7 | 148 | 160 | 156 | 148 | 150 | 138 | 142 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.45381 | 48 | 718 | 261 | -9 | -59 | -20.6667 | -21 | -19.6667 | -17.3333 | -28.3333
1994 | 7526 | 100 | 21 | 95 | 0 | 251 | 256 | 253 | 255 | 231 | 192 | 178 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.10973 | 76 | 149 | 585 | -4.3333 | -13.6667 | -7 | -5.6667 | 11.6667 | 42.3333 | 53.3333
2008 | 12401 | 84 | 9 | 90 | 90 | 265 | 266 | 261 | 259 | 263 | 230 | 237 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.73434 | 107 | 434 | 227 | 39 | 39 | -36 | 29 | 17.3333 | 10 | 12.3333
2007 | 7684 | 71 | 10 | 96 | 0 | 222 | 223 | 249 | 245 | 264 | 228 | 211 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.1401 | 105 | 429 | 585 | -56.5 | -80.6667 | -115 | -110.3333 | -128.6667 | -114.3333 | -98.6667
2002 | 49327 | 60 | 15 | 90 | 0 | 168 | 171 | 187 | 171 | 169 | 151 | 135 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.43717 | 34 | 576 | 242 | 255 | 114.3333 | 117.6667 | 151.3333 | 155.3333 | 138.3333 | 85
2010 | 16153 | 18 | 6 | 100 | 0 | 114 | 112 | 119 | 117 | 110 | 78 | 93 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.32066 | 706 | 37 | 454 | 116.6667 | 122 | 115 | 110.6667 | 104.6667 | 96 | 95.3333
2002 | 5834 | 12 | 1 | 70 | 0 | 0 | 39 | 57 | 51 | 53 | 42 | 68 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.15753 | 429 | 105 | 508 | 195 | 133 | 100.3333 | 100.3333 | 95 | 73.3333 | 45.6667
1997 | 10938 | 75 | 1 | 80 | 4 | 309 | 347 | 427 | 398 | 372 | 313 | 324 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.20011 | 543 | 182 | 263 | -178.5 | -171.6667 | -256.6667 | -222.6667 | -205.3333 | -179.6667 | -192.6667
1996 | 7387 | 50 | 4 | 100 | 70 | 137 | 133 | 114 | 105 | 111 | 106 | 113 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.31669 | 706 | 37 | 454 | 93.6667 | 101 | 120 | 122.6667 | 103.6667 | 68 | 75.3333
1988 | 23500 | 90 | 30 | 73 | 38 | 174 | 202 | 202 | 178 | 170 | 192 | 208 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.11021 | 76 | 149 | 585 | 72.6667 | 40.3333 | 44 | 71.3333 | 72.6667 | 42.3333 | 23.3333
1973 | 23076 | 92 | 0 | 99 | 0 | 354 | 357 | 236 | 250 | 243 | 184 | 192 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.64744 | 235 | 608 | 418 | -139.6667 | -138 | -21.3333 | -41.3333 | -41.3333 | -7.3333 | -29
1994 | 8760 | 54 | 0 | 86 | 0 | 880 | 926 | 885 | 870 | 562 | 430 | 278 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.22234 | 612 | 117 | 666 | -702 | -804 | -758 | -740.3333 | -443.3333 | -331.6667 | -190
1983 | 18841 | 42 | 15 | 95 | 25 | 263 | 250 | 234 | 222 | 216 | 145 | 168 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.29333 | 258 | 539 | 115 | 8.5 | -51.6667 | -26.6667 | 9.3333 | 6 | 26.6667 | 1.6667
1994 | 7816 | 61 | 0 | 68 | 0 | 257 | 195 | 168 | 195 | 198 | 165 | 163 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.19196 | 162 | 144 | 543 | 67 | 72.6667 | 89 | 51.6667 | 15.3333 | 22.3333 | 91
1995 | 30809 | 95 | 0 | 90 | 0 | 508 | 522 | 495 | 478 | 514 | 452 | 423 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.53086 | 234 | 629 | 407 | -94.5 | -247.3333 | -206 | -190.3333 | -213 | -173.6667 | -148.3333
1981 | 33782 | 71 | 9 | 93 | 97 | 186 | 175 | 178 | 170 | 163 | 142 | 153 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0.89897 | 695 | 491 | 667 | 95 | 60 | 55.3333 | 60 | 57.6667 | 47.6667 | 33.6667
1994 | 7816 | 61 | 0 | 87 | 95 | 313 | 317 | 304 | 204 | 125 | 92 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.44567 | 576 | 242 | 261 | 9 | -92.3333 | -51.6667 | 53.6667 | 143.6667 | 151 | 95.3333
1999 | 11060 | 86 | 3 | 76 | 0 | 149 | 155 | 152 | 150 | 149 | 117 | 119 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.20542 | 263 | 139 | 182 | -53 | -17.3333 | -20.3333 | -11 | -22.3333 | -13 | 22.5
1997 | 31031 | 83 | 20 | 80 | 0 | 227 | 201 | 170 | 154 | 185 | 171 | 181 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.24546 | 114 | 134 | 420 | 21.3333 | 148 | 260 | 234 | 182.3333 | 37.6667 | 217
2015 | 5874 | 34 | 4 | 20 | 0 | 56 | 127 | 146 | 142 | 155 | 133 | 154 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0.30567 | 394 | 115 | 37 | 199 | 133.6667 | 112 | 124 | 87.3333 | 46.3333 | 47
2011 | 22765 | 85 | 5 | 85 | 80 | 375 | 380 | 376 | 357 | 348 | 313 | 313 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.81547 | 422 | 247 | 339 | -149.6667 | -159.3333 | -148.3333 | -126 | -124.6667 | -106 | -106
1995 | 8288 | 72 | 4 | 100 | 50 | 903 | 1006 | 1008 | 1056 | 1069 | 1057 | 1052 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.25467 | 251 | 270 | 134 | -596 | -819 | -809 | -868 | -883.3333 | -887.6667 | -883.6667
1997 | 24646 | 77 | 2 | 88 | 75 | 471 | 422 | 422 | 411 | 389 | 257 | 282 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.81391 | 422 | 339 | 64 | -229.3333 | -188.6667 | -183.6667 | -169.3333 | -149 | -55 | -79.6667
1975 | 10418 | 100 | 38 | 90 | 90 | 153 | 148 | 158 | 141 | 149 | 130 | 135 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.035647 | 565 | 562 | 504 | 21.5 | 38 | 15 | 30.6667 | 31 | -4 | -10
1987 | 59329 | 97 | 15 | 90 | 85 | 312 | 312 | 295 | 277 | 261 | 213 | 209 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.66929 | 297 | 479 | 260 | -137.5 | -101.6667 | -72 | 12.3333 | 33.6667 | 45.6667 | -29.6667
1984 | 11950 | 75 | 36 | 90 | 0 | 137 | 144 | 131 | 130 | 134 | 117 | 105 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.018364 | 565 | 562 | 504 | 37.5 | 42 | 42 | 41.6667 | 46 | 9 | 20
1983 | 12135 | 72 | 17 | 100 | 0 | 1218 | 1084 | 1015 | 1027 | 942 | 800 | 186 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0.35872 | 390 | 112 | 148 | -837 | -890 | -828 | -822.3333 | -754.3333 | -640 | 99
2010 | 63748 | 95 | 0 | 100 | 30 | 520 | 525 | 500 | 494 | 501 | 522 | 380 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.79449 | 371 | 645 | 84 | -249.5 | -271.3333 | -273.6667 | -279.6667 | -282.3333 | -344.6667 | -200
1997 | 8500 | 82 | 2 | 54 | 20 | 167 | 163 | 137 | 127 | 129 | 99 | 30 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.16478 | 508 | 570 | 429 | 31 | 48 | 59 | 61.3333 | 53 | 37 | 100.3333
1991 | 11254 | 100 | 5 | 88 | 100 | 324 | 366 | 417 | 406 | 386 | 69 | 105 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.39063 | 500 | 353 | 211 | -71.3333 | -79 | -163.6667 | -169.3333 | -137 | 123.3333 | 108
1984 | 5111 | 41 | 30 | 100 | 0 | 256 | 259 | 256 | 248 | 245 | 242 | 238 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.027952 | 565 | 562 | 504 | -81.5 | -73 | -83 | -76.3333 | -65 | -116 | -113
2002 | 30545 | 75 | 5 | 80 | 0 | 307 | 243 | 209 | 188 | 199 | 216 | 284 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.61416 | 661 | 328 | 347 | -116 | 61 | 71 | 76 | 68 | -6 | -64.6667
2011 | 5096 | 98 | 6 | 100 | 100 | 406 | 413 | 436 | 433 | 413 | 366 | 363 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.41915 | 316 | 549 | 406 | -128 | -138.5 | -179 | -102.6667 | -91.6667 | -157.3333 | -174
2002 | 39149 | 90 | 16 | 90 | 48 | 230 | 209 | 229 | 237 | 235 | 203 | 200 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.54319 | 41 | 396 | 423 | 12.3333 | 36.6667 | -7.6667 | -25 | -27.6667 | -22.3333 | -24.6667
2009 | 7780 | 75 | 9 | 100 | 26 | 322 | 322 | 305 | 292 | 274 | 263 | 250 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.1756 | 570 | 508 | 594 | -107 | -87.5 | -90 | -85 | -114 | -147 | -126.6667
2011 | 12161 | 92 | 6 | 95 | 20 | 451 | 468 | 471 | 476 | 468 | 430 | 433 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.50562 | 593 | 309 | 63 | -110 | -270 | -279.3333 | -281 | -284.6667 | -303 | -300
1992 | 16105 | 100 | 9 | 90 | 30 | 269 | 260 | 268 | 256 | 249 | 210 | 196 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.32331 | 454 | 481 | 706 | 10.3333 | 26.6667 | 27 | 39.3333 | 42 | 46 | 56
2009 | 66474 | 92 | 7 | 90 | 0 | 356 | 354 | 346 | 327 | 325 | 283 | 270 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.76106 | 568 | 214 | 682 | -21.3333 | -28 | -52.6667 | -52 | -48.3333 | -33 | -20
1985 | 24639 | 94 | 10 | 85 | 50 | 396 | 409 | 394 | 381 | 383 | 345 | 352 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.55359 | 610 | 563 | 205 | -165 | -127 | -127.6667 | -106.6667 | -117.6667 | -125 | -113
1969 | 38986 | 78 | 5 | 91 | 75 | 321 | 312 | 292 | 286 | 286 | 249 | 252 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.70242 | 206 | 470 | 286 | 95 | 104.6667 | 118.3333 | 116.6667 | 72 | 77.3333 | 100.3333
1985 | 5555 | 58 | 1 | 100 | 100 | 82 | 82 | 82 | 86 | 83 | 79 | 78 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.36167 | 112 | 390 | 148 | 299 | 112 | 105 | 118.6667 | 104.6667 | 81 | 207
1968 | 6508 | 90 | 4 | 78 | 25 | 219 | 222 | 206 | 216 | 227 | 192 | 194 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.13707 | 105 | 429 | 585 | -53.5 | -79.6667 | -72 | -81.3333 | -91.6667 | -78.3333 | -81.6667
2000 | 10110 | 68 | 15 | 70 | 30 | 429 | 418 | 375 | 327 | 376 | 338 | 345 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.079846 | 504 | 562 | 76 | -278.6667 | -276 | -230.6667 | -181.3333 | -229.3333 | -227 | -237
1986 | 44615 | 71 | 10 | 90 | 80 | 167 | 235 | 207 | 191 | 197 | 194 | 163 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.68373 | 125 | 151 | 219 | 77 | 43.5 | 52.5 | 42.3333 | 80 | 35 | 30
1992 | 5574 | 90 | 20 | 100 | 100 | 580 | 567 | 538 | 404 | 513 | 434 | 533 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.12247 | 585 | 149 | 76 | -333.3333 | -324.6667 | -292 | -154.6667 | -270.3333 | -199.6667 | -301.6667
2006 | 8651 | 78 | 6 | 68 | 20 | 252 | 261 | 262 | 261 | 260 | 217 | 204 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.54982 | 563 | 267 | 423 | -23.6667 | -57.3333 | -85.6667 | -84.6667 | -64.6667 | -38.6667 | -22.6667
2004 | 9336 | 23 | 12 | 70 | 30 | 202 | 206 | 207 | 214 | 187 | 120 | 130 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.16777 | 508 | 570 | 429 | -4 | 5 | -11 | -25.6667 | -5 | 16 | 0.33333
1974 | 8675 | 80 | 20 | 65 | 0 | 181 | 170 | 161 | 153 | 147 | 120 | 119 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.054645 | 562 | 565 | 504 | -6.5 | 16 | 12 | 18.6667 | 33 | 6 | 6
1973 | 66479 | 45 | 16 | 70 | 0 | 160 | 166 | 163 | 166 | 165 | 146 | 146 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.26716 | 303 | 293 | 185 | 345 | 31.3333 | 42.3333 | 46 | 49.6667 | 9.6667 | 11.6667
2016 | 10194 | 100 | 10 | 70 | 100 | 219 | 266 | 246 | 222 | 248 | 215 | 203 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.51261 | 253 | 399 | 63 | -15 | -63 | -24 | 11 | -21 | -61 | -49.6667
1980 | 7372 | 97 | 4 | 90 | 3 | 330 | 312 | 278 | 269 | 265 | 216 | 212 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.16361 | 508 | 429 | 570 | -132 | -101 | -82 | -80.6667 | -83 | -80 | -81.6667
1996 | 9900 | 68 | 1 | 95 | 0 | 143 | 144 | 136 | 129 | 373 | 512 | 663 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.2483 | 114 | 134 | 251 | 117.6667 | 134 | 266.3333 | 239.6667 | -24.6667 | -328.3333 | -294.3333
1999 | 10417 | 81 | 1 | 100 | 0 | 287 | 284 | 259 | 193 | 208 | 190 | 196 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.51311 | 253 | 399 | 63 | -83 | -81 | -37 | 40 | 19 | -36 | -42.6667
2009 | 25642 | 71 | 8 | 95 | 20 | 452 | 449 | 459 | 422 | 412 | 359 | 355 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.64269 | 240 | 291 | 352 | -266 | -194 | -215.6667 | -176 | -173 | -130 | -127.6667
1983 | 14571 | 55 | 10 | 90 | 0 | 305 | 302 | 308 | 321 | 302 | 229 | 213 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.19683 | 543 | 182 | 162 | 19 | 4.3333 | -19 | -35.6667 | -28.3333 | 12.3333 | 23
1995 | 7433 | 64 | 1 | 100 | 90 | 138 | 139 | 131 | 110 | 114 | 112 | 117 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.4533 | 48 | 261 | 718 | 1 | -38 | 4.3333 | 17 | 16.3333 | 8.6667 | -3.3333
1998 | 2375 | 17 | 7 | 80 | 0 | 582 | 540 | 552 | 530 | 587 | 25 | 30 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.092961 | 504 | 76 | 149 | -351.6667 | -312.6667 | -317.3333 | -297 | -358.3333 | 194.6667 | 194.6667
1984 | 6188 | 78 | 3 | 90 | 100 | 225 | 268 | 292 | 336 | 310 | 249 | 247 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.36272 | 112 | 390 | 148 | 156 | -74 | -105 | -131.3333 | -122.3333 | -89 | 38
1999 | 7386 | 94 | 3 | 100 | 0 | 78 | 82 | 76 | 77 | 67 | 58 | 87 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.21478 | 139 | 263 | 612 | 18 | -16.6667 | -1.6667 | 5 | 10 | 6 | -4.5
1986 | 40064 | 95 | 15 | 99 | 90 | 341 | 355 | 378 | 401 | 373 | 301 | 312 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.63247 | 43 | 619 | 669 | -245 | -220.3333 | -246.3333 | -274.6667 | -255.6667 | -209.5 | -208.5
1974 | 11880 | 64 | 6 | 100 | 0 | 71 | 72 | 70 | 63 | 62 | 57 | 64 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.11916 | 585 | 149 | 76 | 175.6667 | 170.3333 | 176 | 186.3333 | 180.6667 | 177.3333 | 167.3333
1999 | 9000 | 91 | 10 | 100 | 50 | 290 | 296 | 208 | 188 | 196 | 133 | 96 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.2199 | 612 | 117 | 666 | -112 | -174 | -81 | -58.3333 | -77.3333 | -34.6667 | -8
1984 | 11608 | 100 | 14 | 85 | 90 | 177 | 175 | 167 | 161 | 161 | 152 | 152 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.33392 | 277 | 481 | 454 | 149 | 195 | 224.6667 | 235.3333 | 228.3333 | 199.6667 | 185.6667
1953 | 15480 | 100 | 17 | 95 | 10 | 383 | 373 | 367 | 373 | 354 | 302 | 296 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.075352 | 504 | 562 | 76 | -232.6667 | -231 | -222.6667 | -227.3333 | -207.3333 | -191 | -188
1997 | 9544 | 94 | 10 | 96 | 80 | 652 | 643 | 623 | 616 | 567 | 489 | 492 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.48539 | 654 | 455 | 476 | -270 | -275.5 | -307 | -403.6667 | -346.6667 | -309.3333 | -312.6667
1970 | 23500 | 31 | 21 | 87 | 72 | 230 | 219 | 221 | 226 | 231 | 221 | 210 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.20482 | 263 | 139 | 182 | -134 | -81.3333 | -89.3333 | -87 | -104.3333 | -117 | -68.5
2013 | 11584 | 88 | 5 | 80 | 92 | 264 | 270 | 268 | 268 | 269 | 231 | 234 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.80893 | 278 | 221 | 83 | -70 | -80 | -82.6667 | -95.6667 | -89.6667 | -86 | -90
1992 | 23236 | 79 | 11 | 100 | 0 | 284 | 271 | 251 | 256 | 227 | 200 | 199 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.44945 | 242 | 576 | 261 | 38 | -46.3333 | 1.3333 | 1.6667 | 41.6667 | 43 | -27.6667
1976 | 5943 | 89 | 15 | 80 | 0 | 361 | 360 | 344 | 288 | 308 | 224 | 269 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.10847 | 76 | 149 | 585 | -114.3333 | -117.6667 | -98 | -38.6667 | -65.3333 | 10.3333 | -37.6667
2009 | 6981 | 96 | 10 | 75 | 52 | 203 | 236 | 248 | 274 | 230 | 181 | 190 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.20757 | 139 | 263 | 182 | -107 | -98.3333 | -116.3333 | -135 | -103.3333 | -77 | -48.5
1997 | 11291 | 94 | 1 | 7 | 30 | 451 | 388 | 316 | 285 | 281 | 257 | 257 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.33566 | 323 | 277 | 662 | 76.5 | 50.3333 | 98 | 120 | 132 | 72.5 | 50
1997 | 61720 | 96 | 19 | 80 | 0 | 261 | 179 | 143 | 118 | 112 | 100 | 95 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.38161 | 211 | 393 | 500 | -48.6667 | 119.6667 | 120 | 121.3333 | 130.6667 | 105.3333 | 116.3333
1981 | 104962 | 79 | 14 | 100 | 50 | 374 | 376 | 395 | 365 | 359 | 329 | 316 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.73407 | 107 | 434 | 26 | -121.3333 | -124 | -149.6667 | -101.3333 | -112.6667 | -122.3333 | -108
2001 | 11015 | 71 | 16 | 100 | 50 | 220 | 209 | 182 | 176 | 174 | 197 | 199 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.12658 | 585 | 149 | 105 | 99 | 34.3333 | 56.3333 | 62.3333 | 60 | 29 | 25
1982 | 15153 | 82 | 15 | 70 | 0 | 185 | 187 | 174 | 151 | 156 | 142 | 150 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.21862 | 612 | 117 | 666 | -7 | -65 | -47 | -21.3333 | -37.3333 | -43.6667 | -62
1981 | 29413 | 100 | 4 | 98 | 30 | 463 | 464 | 460 | 469 | 408 | 442 | 506 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.69059 | 647 | 28 | 127 | -250 | -252 | -243.3333 | -252.6667 | -197 | -256 | -320.6667
2000 | 10000 | 60 | 6 | 90 | 0 | 306 | 300 | 270 | 233 | 353 | 347 | 350 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.16162 | 429 | 508 | 570 | -108 | -89 | -74 | -44.6667 | -171 | -211 | -219.6667
1998 | 21654 | 83 | 3 | 68 | 10 | 447 | 573 | 583 | 595 | 720 | 643 | 651 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.61466 | 328 | 661 | 347 | -256 | -269 | -303 | -331 | -453 | -433 | -431.6667
1996 | 13128 | 68 | 23 | 75 | 10 | 419 | 428 | 410 | 414 | 367 | 270 | 275 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.076057 | 504 | 562 | 76 | -268.6667 | -286 | -265.6667 | -268.3333 | -220.3333 | -159 | -167
1988 | 7141 | 95 | 2 | 90 | 90 | 210 | 184 | 58 | 187 | 184 | 148 | 145 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.78911 | 45 | 617 | 689 | -97 | -28.6667 | 128 | -8.6667 | -11.3333 | -9 | -2.6667
1999 | 10416 | 81 | 1 | 100 | 100 | 278 | 277 | 251 | 188 | 165 | 130 | 161 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.75014 | 233 | 183 | 77 | -114 | -74 | -49.6667 | 22.6667 | 47 | 46.6667 | 12.6667
2014 | 9014 | 22 | 2 | 10 | 0 | 93 | 99 | 102 | 107 | 107 | 115 | 125 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.10531 | 76 | 149 | 585 | 153.6667 | 143.3333 | 144 | 142.3333 | 135.6667 | 119.3333 | 106.3333
1996 | 10580 | 95 | 4 | 98 | 20 | 216 | 210 | 205 | 201 | 199 | 173 | 172 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.2689 | 293 | 303 | 185 | 289 | -12.6667 | 0.33333 | 11 | 15.6667 | -17.3333 | -14.3333
1985 | 12948 | 92 | 2 | 100 | 75 | 259 | 261 | 250 | 224 | 183 | 141 | 134 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.63551 | 669 | 203 | 43 | 24.5 | -16 | -20.6667 | 12.6667 | 65.6667 | 56.3333 | 72.3333
2001 | 10700 | 85 | 1 | 100 | 31 | 166 | 153 | 142 | 140 | 142 | 125 | 113 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.37521 | 393 | 211 | 112 | -11 | 78.3333 | 65.3333 | 64 | 49.6667 | 52.6667 | 95
2015 | 10803 | 83 | 7 | 35 | 90 | 349 | 274 | 290 | 383 | 401 | 324 | 313 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.43244 | 34 | 549 | 576 | -10 | -107.5 | -122 | -81 | -109 | -99.3333 | -98.6667
2003 | 33846 | 100 | 14 | 88 | 0 | 264 | 242 | 225 | 209 | 207 | 168 | 163 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.24927 | 134 | 114 | 251 | -3.3333 | 36 | 177.3333 | 159.6667 | 141.3333 | 15.6667 | 205.6667
1993 | 5992 | 59 | 20 | 94 | 0 | 403 | 385 | 402 | 379 | 376 | 294 | 306 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.03032 | 565 | 562 | 504 | -228.5 | -199 | -229 | -207.3333 | -196 | -168 | -181
1998 | 25044 | 98 | 9 | 65 | 10 | 158 | 153 | 141 | 139 | 123 | 92 | 76 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.48873 | 654 | 476 | 168 | 431.6667 | 407.3333 | 343.3333 | 301.6667 | 325.6667 | 318 | 334
1988 | 6154 | 70 | 11 | 88 | 5 | 331 | 340 | 327 | 321 | 339 | 304 | 316 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.069687 | 562 | 504 | 565 | -156.5 | -154 | -154 | -149.3333 | -159 | -178 | -191
2009 | 20211 | 35 | 8 | 100 | 0 | 58 | 67 | 65 | 60 | 64 | 47 | 40 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.30695 | 394 | 37 | 115 | 197 | 193.6667 | 193 | 206 | 178.3333 | 132.3333 | 161
1990 | 12349 | 63 | 23 | 90 | 0 | 278 | 253 | 225 | 234 | 222 | 188 | 202 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.022705 | 565 | 562 | 504 | -103.5 | -67 | -52 | -62.3333 | -42 | -62 | -77
2010 | 22606 | 98 | 0 | 88 | 30 | 358 | 276 | 284 | 298 | 317 | 270 | 244 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.64828 | 235 | 608 | 418 | -143.6667 | -57 | -69.3333 | -89.3333 | -115.3333 | -93.3333 | -81
2014 | 16971 | 95 | 6 | 30 | 20 | 93 | 127 | 117 | 109 | 109 | 112 | 143 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.53445 | 407 | 691 | 41 | 349.6667 | 315.3333 | 290.6667 | 254.6667 | 253.6667 | 205.3333 | 171
1991 | 9938 | 55 | 7 | 100 | 0 | 221 | 224 | 211 | 217 | 223 | 114 | 129 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.29158 | 258 | 539 | 115 | 50.5 | -25.6667 | -3.6667 | 14.3333 | -1 | 57.6667 | 40.6667
2009 | 6521 | 89 | 8 | 100 | 70 | 228 | 250 | 272 | 259 | 256 | 199 | 141 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.33211 | 277 | 481 | 454 | 98 | 120 | 119.6667 | 137.3333 | 133.3333 | 152.6667 | 196.6667
1977 | 37281 | 75 | 0 | 96 | 0 | 265 | 266 | 261 | 252 | 259 | 223 | 216 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.45248 | 261 | 48 | 718 | -126 | -165 | -125.6667 | -125 | -128.6667 | -102.3333 | -102.3333
1970 | 6689 | 63 | 12 | 90 | 75 | 196 | 195 | 178 | 165 | 149 | 130 | 145 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.088301 | 504 | 76 | 149 | 34.3333 | 32.3333 | 56.6667 | 68 | 79.6667 | 89.6667 | 79.6667
1993 | 16872 | 100 | 9 | 85 | 60 | 288 | 284 | 270 | 254 | 275 | 224 | 240 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.62325 | 677 | 135 | 113 | -21 | 226.3333 | 281.6667 | 311 | 267.6667 | 280.3333 | 274
2010 | 12306 | 80 | 7 | 87 | 55 | 427 | 406 | 387 | 128 | 356 | 242 | 223 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.47009 | 252 | 455 | 718 | -248.5 | -230.5 | -210 | 0.33333 | -212 | -108.6667 | -92
2011 | 10453 | 67 | 7 | 84 | 70 | 553 | 553 | 546 | 568 | 517 | 306 | 214 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.4792 | 455 | 252 | 654 | -181.5 | -190.5 | -235 | -357.6667 | -295.6667 | -116.6667 | -31
2013 | 5295 | 100 | 4 | 78 | 60 | 43 | 38 | 38 | 34 | 31 | 31 | 36 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.37182 | 393 | 112 | 211 | 112 | 193.3333 | 169.3333 | 170 | 160.6667 | 146.6667 | 172
1984 | 5369 | 99 | 4 | 90 | 0 | 371 | 374 | 369 | 380 | 396 | 313 | 316 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.16792 | 508 | 570 | 594 | -156 | -139.5 | -154 | -173 | -236 | -197 | -192.6667
1975 | 7811 | 81 | 20 | 95 | 25 | 227 | 231 | 225 | 227 | 221 | 183 | 183 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.032409 | 565 | 562 | 504 | -52.5 | -45 | -52 | -55.3333 | -41 | -57 | -58
1972 | 7403 | 97 | 4 | 90 | 100 | 441 | 419 | 426 | 430 | 399 | 380 | 350 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.26955 | 293 | 303 | 185 | 64 | -221.6667 | -220.6667 | -218 | -184.3333 | -224.3333 | -192.3333
2000 | 91069 | 0 | 17 | 50 | 0 | 46 | 47 | 45 | 42 | 41 | 33 | 27 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.15996 | 429 | 508 | 105 | 149 | 125 | 112.3333 | 109.3333 | 107 | 82.3333 | 86.6667
1996 | 9899 | 24 | 0 | 100 | 0 | 453 | 447 | 442 | 448 | 441 | 391 | 399 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.23008 | 666 | 117 | 612 | -275 | -325 | -315 | -318.3333 | -322.3333 | -292.6667 | -311
1988 | 9436 | 31 | 8 | 100 | 0 | 37 | 39 | 40 | 36 | 36 | 2 | 24 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.10369 | 76 | 149 | 585 | 209.6667 | 203.3333 | 206 | 213.3333 | 206.6667 | 232.3333 | 207.3333
1983 | 5338 | 94 | 7 | 85 | 0 | 257 | 245 | 238 | 234 | 223 | 167 | 138 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.096367 | 76 | 504 | 149 | -26.6667 | -17.6667 | -3.3333 | -1 | 5.6667 | 52.6667 | 86.6667
1984 | 13568 | 100 | 14 | 100 | 70 | 602 | 584 | 573 | 569 | 570 | 512 | 555 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.33333 | 277 | 481 | 454 | -276 | -214 | -181.3333 | -172.6667 | -180.6667 | -160.3333 | -217.3333
1997 | 10136 | 98 | 18 | 90 | 20 | 291 | 298 | 282 | 268 | 252 | 208 | 172 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.12038 | 585 | 149 | 76 | -44.3333 | -55.6667 | -36 | -18.6667 | -9.3333 | 26.3333 | 59.3333
1994 | 90517 | 58 | 5 | 90 | 15 | 211 | 210 | 200 | 170 | 156 | 133 | 159 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.60375 | 506 | 490 | 694 | 26 | 134.6667 | 125.6667 | 159.6667 | 175.6667 | 160 | 66
1976 | 5099 | 70 | 39 | 95 | 0 | 136 | 108 | 107 | 75 | 73 | 56 | 62 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.010751 | 565 | 562 | 504 | 38.5 | 78 | 66 | 96.6667 | 107 | 70 | 63
1986 | 27810 | 69 | 11 | 95 | 0 | 366 | 367 | 363 | 344 | 338 | 330 | 252 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.40756 | 406 | 343 | 316 | -88 | -154.3333 | -166.6667 | -152.3333 | -149.6667 | -207.3333 | -142
1998 | 17068 | 32 | 0 | 70 | 100 | 188 | 185 | 181 | 182 | 192 | 147 | 145 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.60189 | 506 | 694 | 451 | 132 | 216.3333 | 208 | 216.3333 | 211.6667 | 202.6667 | 156
1999 | 10950 | 80 | 18 | 100 | 20 | 249 | 303 | 238 | 248 | 245 | 170 | 172 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.08025 | 504 | 562 | 76 | -98.6667 | -161 | -93.6667 | -102.3333 | -98.3333 | -59 | -64
2004 | 5199 | 81 | 6 | 90 | 20 | 219 | 219 | 215 | 252 | 264 | 231 | 247 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.21365 | 139 | 263 | 612 | -123 | -153.6667 | -140.6667 | -170 | -187 | -167 | -164.5
2016 | 19970 | 83 | 2 | 60 | 55 | 27 | 49 | 189 | 239 | 218 | 187 | 196 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.58146 | 550 | 230 | 620 | 257 | 118.5 | 14 | 35 | 60.3333 | 38.3333 | 44.6667
2006 | 24434 | 100 | 10 | 71 | 5 | 379 | 347 | 352 | 337 | 307 | 236 | 218 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.5087 | 63 | 593 | 253 | -133 | -152.3333 | -135.3333 | -112 | -90 | -90 | -71.6667
1988 | 23278 | 95 | 13 | 83 | 5 | 258 | 270 | 264 | 245 | 251 | 211 | 209 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.36775 | 112 | 390 | 393 | -35 | 9.3333 | -13 | 18 | -7 | 6.3333 | 63.5
1990 | 13752 | 93 | 9 | 65 | 70 | 418 | 524 | 546 | 534 | 536 | 363 | 410 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.55543 | 610 | 205 | 436 | -177 | -212.6667 | -246 | -229 | -255.3333 | -132 | -168.3333
1970 | 24377 | 92 | 2 | 80 | 10 | 258 | 251 | 219 | 209 | 211 | 190 | 177 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.56003 | 436 | 56 | 205 | -23.5 | 55.6667 | 80.6667 | 96 | 68 | 41.3333 | 66.3333
1975 | 7200 | 100 | 11 | 90 | 41 | 197 | 141 | 133 | 153 | 150 | 137 | 138 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.25283 | 251 | 134 | 270 | 110 | 46 | 66 | 35 | 35.6667 | 32.3333 | 30.3333
1978 | 15590 | 83 | 31 | 75 | 0 | 126 | 127 | 121 | 114 | 117 | 107 | 106 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.050811 | 562 | 565 | 504 | 48.5 | 59 | 52 | 57.6667 | 63 | 19 | 19
1999 | 29796 | 26 | 7 | 90 | 0 | 139 | 136 | 139 | 128 | 134 | 115 | 118 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.28061 | 153 | 445 | 244 | 262 | 153.3333 | 141.3333 | 157 | 154.3333 | 174.3333 | 147.5
1992 | 16155 | 79 | 5 | 80 | 80 | 1098 | 1095 | 1078 | 1068 | 1062 | 599 | 177 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.71275 | 92 | 606 | 651 | -718 | -771 | -778 | -764.3333 | -760.3333 | -330.6667 | 97
1998 | 11080 | 100 | 17 | 95 | 0 | 267 | 256 | 268 | 274 | 267 | 239 | 224 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.075597 | 504 | 562 | 76 | -116.6667 | -114 | -123.6667 | -128.3333 | -120.3333 | -128 | -116
2017 | 15022 | 84 | 8 | 90 | 55 | 342 | 336 | 318 | 320 | 332 | 324 | 316 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.44986 | 242 | 576 | 261 | -20 | -111.3333 | -65.6667 | -62.3333 | -63.3333 | -81 | -144.6667
1994 | 21267 | 94 | 6 | 97 | 40 | 554 | 543 | 523 | 522 | 506 | 399 | 389 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.6888 | 28 | 151 | 647 | -338 | -302.6667 | -283.3333 | -296 | -288.6667 | -208.6667 | -188.6667
1990 | 26671 | 90 | 14 | 100 | 40 | 216 | 213 | 179 | 161 | 153 | 111 | 116 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.49604 | 641 | 547 | 168 | 367.5 | 200 | 187.3333 | 170.6667 | 192.3333 | 228.6667 | 224
1980 | 47744 | 92 | 9 | 96 | 60 | 286 | 268 | 266 | 256 | 270 | 224 | 213 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.68704 | 151 | 28 | 647 | -70 | -27.6667 | -26.3333 | -30 | -52.6667 | -33.6667 | -12.6667
2002 | 6359 | 87 | 1 | 100 | 24 | 174 | 152 | 151 | 149 | 131 | 119 | 143 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.30236 | 394 | 115 | 258 | 106.6667 | 131.6667 | 128.6667 | 134.6667 | 130 | 86.3333 | 71.6667
1999 | 11470 | 26 | 1 | 90 | 70 | 233 | 208 | 187 | 179 | 164 | 136 | 155 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.35432 | 148 | 57 | 304 | -52 | -52 | -25 | -27.3333 | -43.6667 | -14 | -22.5
1991 | 11315 | 78 | 2 | 97 | 15 | 194 | 202 | 178 | 158 | 163 | 134 | 130 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.47638 | 252 | 455 | 654 | 177.5 | 160.5 | 133 | 52.3333 | 58.3333 | 55.3333 | 53
2008 | 20713 | 85 | 9 | 83 | 50 | 491 | 464 | 422 | 419 | 429 | 390 | 368 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.65606 | 365 | 52 | 337 | -285 | -230 | -192.3333 | -191.6667 | -205 | -190 | -196.6667
1990 | 105307 | 67 | 7 | 90 | 10 | 209 | 212 | 201 | 190 | 196 | 272 | 174 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.78804 | 617 | 298 | 45 | -115.6667 | -69 | -25.3333 | -16.3333 | -28.3333 | -137.6667 | -31.6667
1969 | 16450 | 99 | 40 | 95 | 0 | 180 | 171 | 185 | 163 | 182 | 166 | 157 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.024375 | 565 | 562 | 504 | -5.5 | 15 | -12 | 8.6667 | -2 | -40 | -32
2015 | 12621 | 97 | 2 | 100 | 95 | 260 | 474 | 398 | 425 | 566 | 510 | 528 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.89367 | 331 | 432 | 123 | -79 | -345.5 | -299 | -325.6667 | -462.3333 | -420 | -433.3333
1973 | 11481 | 87 | 1 | 90 | 100 | 140 | 141 | 140 | 102 | 104 | 89 | 96 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.62443 | 677 | 463 | 135 | 172.3333 | 412.3333 | 450.6667 | 496.3333 | 477.6667 | 441.6667 | 452
1980 | 10471 | 69 | 6 | 85 | 50 | 231 | 226 | 250 | 235 | 250 | 228 | 243 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.17878 | 570 | 594 | 508 | -16 | 8.5 | -35 | -28 | -90 | -112 | -119.6667
1980 | 5447 | 37 | 14 | 100 | 0 | 215 | 668 | 213 | 180 | 191 | 151 | 62 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.039968 | 565 | 562 | 504 | -40.5 | -482 | -40 | -8.3333 | -11 | -25 | 63
1989 | 17306 | 87 | 15 | 95 | 0 | 189 | 187 | 174 | 177 | 179 | 151 | 165 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.31541 | 37 | 706 | 454 | 41.6667 | 47 | 60 | 50.6667 | 35.6667 | 23 | 23.3333
1988 | 5934 | 13 | 10 | 90 | 20 | 195 | 184 | 158 | 173 | 161 | 147 | 143 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.065937 | 562 | 504 | 565 | -20.5 | 2 | 15 | -1.3333 | 19 | -21 | -18
1981 | 12656 | 79 | 10 | 92 | 1 | 288 | 304 | 286 | 300 | 276 | 245 | 233 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.077743 | 504 | 562 | 76 | -137.6667 | -162 | -141.6667 | -154.3333 | -129.3333 | -134 | -125
1985 | 6268 | 76 | 22 | 100 | 75 | 147 | 135 | 127 | 122 | 122 | 103 | 104 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.053626 | 562 | 565 | 504 | 27.5 | 51 | 46 | 49.6667 | 58 | 23 | 21
1998 | 8838 | 100 | 5 | 100 | 0 | 215 | 217 | 213 | 191 | 184 | 131 | 127 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.18777 | 144 | 162 | 594 | 268 | 100 | 87 | 96.5 | 2.3333 | 39 | 121.5
1986 | 10917 | 73 | 30 | 88 | 0 | 169 | 171 | 197 | 183 | 176 | 139 | 129 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.033157 | 565 | 562 | 504 | 5.5 | 15 | -24 | -11.3333 | 4 | -13 | -4
2003 | 9233 | 100 | 0 | 100 | 0 | 236 | 250 | 233 | 223 | 214 | 183 | 190 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.34888 | 109 | 304 | 555 | 23 | -82.6667 | -60.6667 | -42 | -63.3333 | -22.3333 | -13
2007 | 9374 | 81 | 9 | 92 | 0 | 172 | 184 | 168 | 192 | 191 | 167 | 131 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.15788 | 429 | 105 | 508 | 23 | -12 | -10.6667 | -40.6667 | -43 | -51.6667 | -17.3333
2007 | 7428 | 91 | 10 | 100 | 0 | 226 | 237 | 206 | 181 | 179 | 141 | 128 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.16085 | 429 | 508 | 570 | -28 | -26 | -10 | 7.3333 | 3 | -5 | 2.3333
1973 | 7428 | 49 | 4 | 90 | 10 | 128 | 124 | 121 | 120 | 122 | 96 | 90 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0.34916 | 109 | 304 | 57 | 53 | -1.3333 | 16.6667 | 24.6667 | -4.3333 | 35 | 52
1992 | 10841 | 81 | 15 | 100 | 40 | 195 | 190 | 138 | 85 | 89 | 62 | 65 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.092967 | 504 | 76 | 149 | 35.3333 | 37.3333 | 96.6667 | 148 | 139.6667 | 157.6667 | 159.6667
1998 | 30784 | 72 | 19 | 85 | 100 | 295 | 284 | 275 | 266 | 268 | 230 | 233 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.50919 | 63 | 593 | 253 | -49 | -89.3333 | -58.3333 | -41 | -51 | -84 | -86.6667
1997 | 8157 | 39 | 13 | 100 | 100 | 926 | 1021 | 1005 | 959 | 876 | 933 | 970 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.38733 | 500 | 211 | 353 | -673.3333 | -734 | -751.6667 | -722.3333 | -627 | -740.6667 | -757
1983 | 19928 | 73 | 0 | 98 | 0 | 263 | 272 | 253 | 227 | 242 | 210 | 198 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.36868 | 112 | 390 | 393 | -40 | 7.3333 | -2 | 36 | 2 | 7.3333 | 74.5
2001 | 15423 | 57 | 14 | 100 | 10 | 199 | 200 | 189 | 185 | 188 | 200 | 208 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.38385 | 211 | 393 | 500 | 13.3333 | 98.6667 | 74 | 54.3333 | 54.6667 | 5.3333 | 3.3333
1980 | 5976 | 74 | 10 | 100 | 50 | 240 | 255 | 151 | 162 | 174 | 122 | 117 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.14233 | 105 | 429 | 585 | -74.5 | -112.6667 | -17 | -27.3333 | -38.6667 | -8.3333 | -4.6667
2008 | 15847 | 89 | 10 | 90 | 100 | 194 | 180 | 166 | 169 | 188 | 133 | 131 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.53613 | 407 | 691 | 41 | 248.6667 | 262.3333 | 241.6667 | 194.6667 | 174.6667 | 184.3333 | 183
1971 | 14950 | 87 | 5 | 80 | 35 | 246 | 243 | 239 | 236 | 236 | 181 | 162 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.51092 | 63 | 253 | 593 | 0 | -48.3333 | -22.3333 | -11 | -19 | -35 | -15.6667
1985 | 16815 | 59 | 2 | 97 | 0 | 124 | 122 | 120 | 118 | 115 | 106 | 103 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.58181 | 230 | 550 | 620 | 160 | 45.5 | 83 | 156 | 163.3333 | 119.3333 | 137.6667
1999 | 40312 | 34 | 19 | 78 | 5 | 126 | 128 | 122 | 121 | 128 | 101 | 92 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.24901 | 134 | 114 | 251 | 134.6667 | 150 | 280.3333 | 247.6667 | 220.3333 | 82.6667 | 276.6667
2003 | 12439 | 92 | 9 | 100 | 100 | 297 | 292 | 273 | 260 | 232 | 180 | 204 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.61148 | 661 | 328 | 209 | -106 | -69 | -21.3333 | -9.3333 | 18.6667 | 26.6667 | 18
1984 | 62543 | 96 | 0 | 90 | 5 | 185 | 179 | 172 | 165 | 167 | 133 | 124 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.80076 | 239 | 482 | 213 | 231.5 | 145 | 136.6667 | 137.6667 | 139.3333 | 149.5 | 173.5
1993 | 5824 | 70 | 6 | 79 | 30 | 201 | 182 | 186 | 168 | 163 | 138 | 119 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.16709 | 508 | 570 | 429 | -3 | 29 | 10 | 20.3333 | 19 | -2 | 11.3333
1995 | 28533 | 91 | 1 | 75 | 80 | 249 | 223 | 161 | 160 | 175 | 156 | 136 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.82898 | 140 | 280 | 480 | 2 | 119.6667 | 150 | 117 | 53 | 58 | 84
1997 | 37819 | 100 | 4 | 100 | 17 | 348 | 345 | 330 | 338 | 340 | 343 | 300 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.75752 | 580 | 682 | 344 | -117 | -113 | -124 | -162.6667 | -67.5 | -178.3333 | -126.6667
1999 | 162134 | 95 | 10 | 99 | 0 | 177 | 146 | 139 | 211 | 217 | 188 | 182 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.90084 | 695 | 491 | 667 | 104 | 89 | 94.3333 | 19 | 3.6667 | 1.6667 | 4.6667
2009 | 5111 | 78 | 2 | 10 | 0 | 54 | 11 | 93 | 113 | 116 | 110 | 102 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.12289 | 585 | 149 | 76 | 192.6667 | 231.3333 | 153 | 136.3333 | 126.6667 | 124.3333 | 129.3333
2011 | 10967 | 73 | 9 | 89 | 45 | 476 | 498 | 482 | 400 | 477 | 459 | 480 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.23478 | 483 | 420 | 666 | -252 | -237.5 | -200.3333 | -142.6667 | -239.6667 | -262.3333 | -266.3333
1999 | 210427 | 27 | 2 | 9 | 13 | 170 | 175 | 167 | 161 | 159 | 122 | 102 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.91834 | 335 | 554 | 90 | 176.6667 | 205.3333 | 243.6667 | 232.6667 | 168.6667 | 48 | 77
2008 | 42461 | 79 | 9 | 71 | 10 | 348 | 360 | 361 | 326 | 323 | 273 | 281 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.59277 | 660 | 93 | 486 | -189.6667 | -198.3333 | -183.3333 | -150 | -152.3333 | -129.6667 | -142
1997 | 8905 | 100 | 23 | 100 | 0 | 1363 | 1412 | 1394 | 1400 | 1464 | 1509 | 1516 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.10351 | 76 | 149 | 585 | -1116.3333 | -1169.6667 | -1148 | -1150.6667 | -1221.3333 | -1274.6667 | -1284.6667
1979 | 36800 | 92 | 10 | 90 | 0 | 275 | 288 | 255 | 257 | 256 | 196 | 190 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.45022 | 242 | 576 | 261 | 47 | -63.3333 | -2.6667 | 0.66667 | 12.6667 | 47 | -18.6667
2001 | 28602 | 76 | 6 | 80 | 0 | 225 | 198 | 163 | 185 | 258 | 264 | 276 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.57901 | 416 | 599 | 550 | 91.5 | 28 | 91 | 64.6667 | -17 | -75.3333 | -93.3333
1989 | 32079 | 63 | 13 | 100 | 33 | 323 | 340 | 320 | 328 | 345 | 287 | 33 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.47844 | 455 | 252 | 654 | 48.5 | 22.5 | -9 | -117.6667 | -123.6667 | -97.6667 | 150
1974 | 12977 | 61 | 21 | 91 | 95 | 328 | 363 | 338 | 334 | 326 | 299 | 310 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.15443 | 429 | 105 | 508 | -133 | -191 | -180.6667 | -182.6667 | -178 | -183.6667 | -196.3333
1992 | 5000 | 70 | 4 | 98 | 10 | 144 | 136 | 118 | 130 | 147 | 151 | 151 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.38632 | 211 | 500 | 353 | 108.6667 | 151 | 135.3333 | 106.6667 | 102 | 41.3333 | 62
2010 | 5312 | 46 | 8 | 90 | 0 | 750 | 717 | 707 | 756 | 765 | 735 | 742 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.14139 | 105 | 429 | 585 | -584.5 | -574.6667 | -573 | -621.3333 | -629.6667 | -621.3333 | -629.6667
1960 | 15091 | 63 | 14 | 79 | 10 | 153 | 151 | 124 | 98 | 98 | 83 | 78 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.07777 | 504 | 562 | 76 | -2.6667 | -9 | 20.3333 | 47.6667 | 48.6667 | 28 | 30
2012 | 9821 | 87 | 5 | 100 | 50 | 1047 | 986 | 929 | 915 | 928 | 890 | 796 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.32707 | 454 | 481 | 277 | -721 | -616 | -537.3333 | -518.6667 | -538.6667 | -538.3333 | -458.3333
1997 | 37923 | 79 | 4 | 100 | 0 | 257 | 251 | 226 | 230 | 231 | 185 | 175 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.47061 | 252 | 455 | 718 | -78.5 | -75.5 | -49 | -101.6667 | -87 | -51.6667 | -44
1970 | 7900 | 86 | 6 | 98 | 0 | 502 | 504 | 434 | 401 | 399 | 337 | 353 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.11574 | 149 | 585 | 76 | -255.3333 | -261.6667 | -188 | -151.6667 | -156.3333 | -102.6667 | -121.6667
1995 | 10403 | 80 | 4 | 95 | 0 | 213 | 214 | 191 | 188 | 186 | 161 | 142 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.17121 | 508 | 570 | 594 | 2 | 20.5 | 24 | 19 | -26 | -45 | -18.6667
1998 | 8908 | 100 | 2 | 100 | 0 | 383 | 326 | 305 | 302 | 283 | 265 | 273 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.50501 | 309 | 593 | 172 | -130 | -142 | -133.3333 | -139.6667 | -129 | -136.6667 | -138.6667
1997 | 8214 | 69 | 19 | 70 | 4 | 370 | 386 | 363 | 185 | 415 | 441 | 423 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.094881 | 76 | 504 | 149 | -139.6667 | -158.6667 | -128.3333 | 48 | -186.3333 | -221.3333 | -198.3333
1980 | 5411 | 66 | 33 | 90 | 100 | 241 | 242 | 241 | 246 | 237 | 216 | 227 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.054378 | 562 | 565 | 504 | -66.5 | -56 | -68 | -74.3333 | -57 | -90 | -102
[25 empty] | MEAN | -48.4238 | -63.75 | -52.2088 | -46.4579 | -54.0278 | -52.2464 | -37.0896
[25 empty] | SE | 15.449 | 15.8528 | 15.5743 | 15.6226 | 15.2566 | 14.3262 | 14.1463