## Sheet1
TOP/CSC year | GFA (m²) | AC Area Percentage (%) | Age of Chiller (year) | Occupancy Rate (%) | LED Percentage Usage (%) | 2015 EUI (kWh/m².yr) | 2016 EUI (kWh/m².yr) | 2017 EUI (kWh/m².yr) | 2018 EUI (kWh/m².yr) | 2019 EUI (kWh/m².yr) | 2020 EUI (kWh/m².yr) | 2021 EUI (kWh/m².yr) | Green Labeling | Size Encoded | PV Encoded | Type_Commercial Building | Type_Educational Institution | Type_Healthcare Facility | Type of ACS_District Cooling Plant | Type of ACS_Others | Type of ACS_Water Cooled Chilled Water Plant | propensity_score | neighbor_indices_1 | neighbor_indices_2 | neighbor_indices_3
1959 | 22975 | 44 | 3 | 100 | 7 | 148 | 160 | 156 | 148 | 150 | 138 | 142 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.45381 | 48 | 718 | 261
1994 | 7526 | 100 | 21 | 95 | 0 | 251 | 256 | 253 | 255 | 231 | 192 | 178 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.10973 | 76 | 149 | 585
2008 | 12401 | 84 | 9 | 90 | 90 | 265 | 266 | 261 | 259 | 263 | 230 | 237 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.73434 | 107 | 434 | 227
2007 | 7684 | 71 | 10 | 96 | 0 | 222 | 223 | 249 | 245 | 264 | 228 | 211 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.1401 | 105 | 429 | 585
1910 | 5276 | 38 | 0 | 20 | 100 |  | 295 | 293 | 284 | 279 | 243 | 247 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.055868 | 562 | 565 | 504
1998 | 18396 | 93 | 17 | 85 | 0 |  | 493 | 451 | 449 | 413 | 571 | 422 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.29627 | 115 | 394 | 258
2013 | 6190 | 13 | 4 | 100 | 100 |  | 99 | 96 | 97 | 100 | 94 | 81 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.41329 | 316 | 406 | 343
2002 | 49327 | 60 | 15 | 90 | 0 | 168 | 171 | 187 | 171 | 169 | 151 | 135 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.43717 | 34 | 576 | 242
2005 | 34622 | 36 | 12 | 100 | 0 |  | 91 | 87 | 88 | 91 | 87 | 83 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.2527 | 251 | 134 | 270
1996 | 21615 | 100 | 5 | 100 | 24 |  |  | 593 | 583 | 585 | 542 | 568 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.69985 | 465 | 605 | 137
2010 | 16153 | 18 | 6 | 100 | 0 | 114 | 112 | 119 | 117 | 110 | 78 | 93 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.32066 | 706 | 37 | 454
1930 | 8906 | 45 | 2 | 50 | 10 |  | 13 | 30 | 76 | 103 | 75 | 86 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.042253 | 565 | 562 | 504
2002 | 5834 | 12 | 1 | 70 | 0 | 0 | 39 | 57 | 51 | 53 | 42 | 68 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.15753 | 429 | 105 | 508
1997 | 10938 | 75 | 1 | 80 | 4 | 309 | 347 | 427 | 398 | 372 | 313 | 324 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.20011 | 543 | 182 | 263
1996 | 7387 | 50 | 4 | 100 | 70 | 137 | 133 | 114 | 105 | 111 | 106 | 113 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.31669 | 706 | 37 | 454
2016 | 5535 | 54 | 2 | 70 | 0 |  | 14 | 87 | 179 | 418 | 420 | 476 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.22245 | 612 | 117 | 666
2001 | 8832 | 15 | 2 | 90 | 92 |  | 82 | 75 | 89 | 84 | 80 | 83 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.36882 | 112 | 393 | 390
2015 | 7307 | 9 | 2 | 100 | 7 |  | 104 | 97 | 106 | 104 | 105 | 107 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.25253 | 251 | 134 | 270
2007 | 51909 | 100 | 9 | 50 | 0 |  | 35 | 35 | 40 | 20 | 31 | 7 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0.612 | 661 | 328 | 209
2012 | 9275 | 50 | 1 | 100 | 0 |  | 92 | 77 | 79 | 79 | 52 | 50 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0.30102 | 394 | 115 | 258
1988 | 23500 | 90 | 30 | 73 | 38 | 174 | 202 | 202 | 178 | 170 | 192 | 208 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.11021 | 76 | 149 | 585
1991 | 5561 | 0 | 8 | 100 | 0 |  | 174 | 170 | 176 | 179 | 177 | 181 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.087939 | 504 | 76 | 149
1973 | 23076 | 92 | 0 | 99 | 0 | 354 | 357 | 236 | 250 | 243 | 184 | 192 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.64744 | 235 | 608 | 418
1994 | 8760 | 54 | 0 | 86 | 0 | 880 | 926 | 885 | 870 | 562 | 430 | 278 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.22234 | 612 | 117 | 666
1983 | 18841 | 42 | 15 | 95 | 25 | 263 | 250 | 234 | 222 | 216 | 145 | 168 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.29333 | 258 | 539 | 115
1994 | 7816 | 61 | 0 | 68 | 0 | 257 | 195 | 168 | 195 | 198 | 165 | 163 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.19196 | 162 | 144 | 543
1995 | 30809 | 95 | 0 | 90 | 0 | 508 | 522 | 495 | 478 | 514 | 452 | 423 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.53086 | 234 | 629 | 407
1981 | 33782 | 71 | 9 | 93 | 97 | 186 | 175 | 178 | 170 | 163 | 142 | 153 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0.89897 | 695 | 491 | 667
1994 | 7816 | 61 | 0 | 87 | 95 | 313 | 317 | 304 | 204 | 125 | 92 | 76 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.44567 | 576 | 242 | 261
1999 | 11060 | 86 | 3 | 76 | 0 | 149 | 155 | 152 | 150 | 149 | 117 | 119 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.20542 | 263 | 139 | 182
1997 | 31031 | 83 | 20 | 80 | 0 | 227 | 201 | 170 | 154 | 185 | 171 | 181 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.24546 | 114 | 134 | 420
2015 | 5874 | 34 | 4 | 20 | 0 | 56 | 127 | 146 | 142 | 155 | 133 | 154 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0.30567 | 394 | 115 | 37
2005 | 14060 | 55 | 12 | 100 | 0 |  | 170 | 170 | 173 | 179 | 161 | 155 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.09685 | 76 | 504 | 149
2013 | 2321 | 100 | 6 | 70 | 100 |  | 197 | 198 | 198 | 217 | 203 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.38927 | 500 | 353 | 211
2011 | 22765 | 85 | 5 | 85 | 80 | 375 | 380 | 376 | 357 | 348 | 313 | 313 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.81547 | 422 | 247 | 339
2006 | 14122 | 59 | 4 | 90 | 50 |  | 189 | 181 | 180 | 191 | 193 | 190 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0.27684 | 153 | 244 | 445
1950 | 254 | 80 | 15 | 20 | 0 |  | 97 | 11 | 7 |  |  |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0.011723 | 565 | 562 | 504
2003 | 9507 | 84 | 10 | 55 | 0 | 328 | 441 | 597 | 862 | 871 |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.093207 | 504 | 76 | 149
1995 | 8288 | 72 | 4 | 100 | 50 | 903 | 1006 | 1008 | 1056 | 1069 | 1057 | 1052 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.25467 | 251 | 270 | 134
1997 | 24646 | 77 | 2 | 88 | 75 | 471 | 422 | 422 | 411 | 389 | 257 | 282 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.81391 | 422 | 339 | 64
1975 | 10418 | 100 | 38 | 90 | 90 | 153 | 148 | 158 | 141 | 149 | 130 | 135 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.035647 | 565 | 562 | 504
1987 | 59329 | 97 | 15 | 90 | 85 | 312 | 312 | 295 | 277 | 261 | 213 | 209 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.66929 | 297 | 479 | 260
1984 | 11950 | 75 | 36 | 90 | 0 | 137 | 144 | 131 | 130 | 134 | 117 | 105 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.018364 | 565 | 562 | 504
1983 | 12135 | 72 | 17 | 100 | 0 | 1218 | 1084 | 1015 | 1027 | 942 | 800 | 186 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0.35872 | 390 | 112 | 148
2008 | 20498 | 40 | 11 | 98 | 50 |  | 177 | 171 | 171 | 191 | 176 | 178 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0.30387 | 394 | 115 | 37
2017 | 28842 | 9 | 1 | 90 | 80 |  | 83 | 34 | 72 | 95 | 92 | 91 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 0.89304 | 331 | 432 | 123
2010 | 63748 | 95 | 0 | 100 | 30 | 520 | 525 | 500 | 494 | 501 | 522 | 380 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.79449 | 371 | 645 | 84
1997 | 8500 | 82 | 2 | 54 | 20 | 167 | 163 | 137 | 127 | 129 | 99 | 30 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.16478 | 508 | 570 | 429
1996 | 2300 | 77 | 3 | 48 | 0 | 202 | 199 | 161 | 166 | 162 | 103 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.12684 | 585 | 149 | 105
1991 | 11254 | 100 | 5 | 88 | 100 | 324 | 366 | 417 | 406 | 386 | 69 | 105 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.39063 | 500 | 353 | 211
1984 | 5111 | 41 | 30 | 100 | 0 | 256 | 259 | 256 | 248 | 245 | 242 | 238 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.027952 | 565 | 562 | 504
2002 | 30545 | 75 | 5 | 80 | 0 | 307 | 243 | 209 | 188 | 199 | 216 | 284 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.61416 | 661 | 328 | 347
2011 | 5096 | 98 | 6 | 100 | 100 | 406 | 413 | 436 | 433 | 413 | 366 | 363 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.41915 | 316 | 549 | 406
2002 | 39149 | 90 | 16 | 90 | 48 | 230 | 209 | 229 | 237 | 235 | 203 | 200 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.54319 | 41 | 396 | 423
1980 | 8211 | 95 | 4 | 86 | 94 |  |  | 148 | 164 | 161 | 141 | 136 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.55719 | 610 | 205 | 436
2009 | 7780 | 75 | 9 | 100 | 26 | 322 | 322 | 305 | 292 | 274 | 263 | 250 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.1756 | 570 | 508 | 594
1979 | 2644 | 100 | 4 | 100 | 5 | 295 | 297 | 278 | 312 | 298 | 233 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.17284 | 508 | 570 | 594
2011 | 12161 | 92 | 6 | 95 | 20 | 451 | 468 | 471 | 476 | 468 | 430 | 433 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.50562 | 593 | 309 | 63
1992 | 16105 | 100 | 9 | 90 | 30 | 269 | 260 | 268 | 256 | 249 | 210 | 196 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.32331 | 454 | 481 | 706
1994 | 15732 | 98 | 1 | 99 | 19 |  | 232 | 225 | 220 | 214 | 211 | 202 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0.46952 | 252 | 455 | 718
2009 | 66474 | 92 | 7 | 90 | 0 | 356 | 354 | 346 | 327 | 325 | 283 | 270 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.76106 | 568 | 214 | 682
2009 | 6400 | 99 | 11 | 80 | 26 |  |  | 467 | 435 | 527 | 523 | 576 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.1616 | 429 | 508 | 570
1985 | 24639 | 94 | 10 | 85 | 50 | 396 | 409 | 394 | 381 | 383 | 345 | 352 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.55359 | 610 | 563 | 205
1969 | 38986 | 78 | 5 | 91 | 75 | 321 | 312 | 292 | 286 | 286 | 249 | 252 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.70242 | 206 | 470 | 286
2006 | 7778 | 100 | 10 | 100 | 0 |  | 83 | 75 | 80 | 83 | 66 | 60 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0.16614 | 508 | 570 | 429
2020 | 317 | 78 | 5 | 100 | 0 | [5 empty] | 125 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.25736 | 270 | 300 | 251
2014 | 6757 | 6 | 2 | 100 | 100 |  | 62 | 67 | 77 | 77 | 75 | 70 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.46063 | 718 | 48 | 261
2006 | 14337 | 64 | 12 | 100 | 0 |  | 190 | 193 | 198 | 188 | 196 | 186 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.10388 | 76 | 149 | 585
1985 | 5555 | 58 | 1 | 100 | 100 | 82 | 82 | 82 | 86 | 83 | 79 | 78 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.36167 | 112 | 390 | 148
1968 | 6508 | 90 | 4 | 78 | 25 | 219 | 222 | 206 | 216 | 227 | 192 | 194 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.13707 | 105 | 429 | 585
1990 | 5091 | 6 | 5 | 85 | 75 | 137 | 127 | 129 | 58 | 76 | 73 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0.19556 | 543 | 162 | 144
1986 | 1882 | 100 | 10 | 100 | 90 | 1867 | 1786 | 1668 |  |  |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.44832 | 242 | 576 | 261
1986 | 1882 | 100 | 10 | 100 | 0 | 58 | 40 | 35 |  |  |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.10861 | 76 | 149 | 585
1986 | 19761 | 55 | 10 | 100 | 90 | 188 | 187 | 146 | 147 |  |  |  | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.62856 | 463 | 619 | 43
2000 | 10110 | 68 | 15 | 70 | 30 | 429 | 418 | 375 | 327 | 376 | 338 | 345 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.079846 | 504 | 562 | 76
1996 | 10502 | 100 | 21 | 100 | 50 |  | 342 | 339 | 325 | 325 | 162 | 219 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.069059 | 562 | 504 | 565
1986 | 44615 | 71 | 10 | 90 | 80 | 167 | 235 | 207 | 191 | 197 | 194 | 163 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.68373 | 125 | 151 | 219
1992 | 5574 | 90 | 20 | 100 | 100 | 580 | 567 | 538 | 404 | 513 | 434 | 533 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.12247 | 585 | 149 | 76
2008 | 15645 | 89 | 10 | 89 | 30 |  | 225 | 218 | 206 | 200 | 136 | 141 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.35368 | 148 | 57 | 304
2016 | 2049 | 95 | 3 | 73 | 70 |  | 197 | 303 | 302 | 317 |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.40276 | 343 | 443 | 464
2006 | 8651 | 78 | 6 | 68 | 20 | 252 | 261 | 262 | 261 | 260 | 217 | 204 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.54982 | 563 | 267 | 423
2004 | 9336 | 23 | 12 | 70 | 30 | 202 | 206 | 207 | 214 | 187 | 120 | 130 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.16777 | 508 | 570 | 429
1974 | 8675 | 80 | 20 | 65 | 0 | 181 | 170 | 161 | 153 | 147 | 120 | 119 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.054645 | 562 | 565 | 504
1973 | 66479 | 45 | 16 | 70 | 0 | 160 | 166 | 163 | 166 | 165 | 146 | 146 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.26716 | 303 | 293 | 185
2016 | 10194 | 100 | 10 | 70 | 100 | 219 | 266 | 246 | 222 | 248 | 215 | 203 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.51261 | 253 | 399 | 63
1980 | 7372 | 97 | 4 | 90 | 3 | 330 | 312 | 278 | 269 | 265 | 216 | 212 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.16361 | 508 | 429 | 570
2012 | 5232 | 2 | 10 | 80 | 100 |  | 197 | 190 | 193 | 207 | 192 | 170 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0.4138 | 316 | 406 | 549
1991 | 6371 | 9 | 8 | 100 | 0 |  | 134 | 128 | 123 | 118 | 130 | 142 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.093358 | 504 | 76 | 149
2001 | 7574 | 35 | 16 | 100 | 0 |  | 55 | 54 | 54 | 53 | 53 | 47 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.061742 | 562 | 504 | 565
1996 | 9900 | 68 | 1 | 95 | 0 | 143 | 144 | 136 | 129 | 373 | 512 | 663 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.2483 | 114 | 134 | 251
1996 | 42420 | 52 | 4 | 50 | 17 |  | 585 | 564 | 573 | 575 | 622 | 593 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.57712 | 599 | 416 | 550
1999 | 10417 | 81 | 1 | 100 | 0 | 287 | 284 | 259 | 193 | 208 | 190 | 196 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.51311 | 253 | 399 | 63
2009 | 25642 | 71 | 8 | 95 | 20 | 452 | 449 | 459 | 422 | 412 | 359 | 355 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.64269 | 240 | 291 | 352
1986 | 6056 | 26 | 13 | 90 | 0 |  | 123 | 114 | 111 | 113 | 106 | 100 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.051671 | 562 | 565 | 504
2001 | 10847 | 30 | 5 | 84 | 6 |  | 302 | 293 | 295 | 304 | 226 | 159 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0.12817 | 585 | 149 | 105
1983 | 14571 | 55 | 10 | 90 | 0 | 305 | 302 | 308 | 321 | 302 | 229 | 213 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.19683 | 543 | 182 | 162
1995 | 7433 | 64 | 1 | 100 | 90 | 138 | 139 | 131 | 110 | 114 | 112 | 117 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.4533 | 48 | 261 | 718
1998 | 2375 | 17 | 7 | 80 | 0 | 582 | 540 | 552 | 530 | 587 | 25 | 30 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.092961 | 504 | 76 | 149
1999 | 2295 | 81 | 7 | 100 | 0 | 323 | 318 | 314 | 310 | 279 | 220 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.16228 | 429 | 508 | 570
1984 | 6188 | 78 | 3 | 90 | 100 | 225 | 268 | 292 | 336 | 310 | 249 | 247 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.36272 | 112 | 390 | 148
1976 | 34579 | 70 | 0 | 98 | 0 |  | 380 | 371 | 358 | 367 | 364 | 250 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0.43599 | 34 | 549 | 576
1999 | 7386 | 94 | 3 | 100 | 0 | 78 | 82 | 76 | 77 | 67 | 58 | 87 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.21478 | 139 | 263 | 612
1983 | 28100 | 69 | 29 | 53 | 20 |  | 75 | 104 | 126 | 145 | 134 | 143 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.071251 | 504 | 562 | 76
1976 | 14486 | 75 | 18 | 70 | 0 | 1689 |  | 157 | 4 | 3 | 10 | 9 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.076679 | 504 | 562 | 76
1986 | 40064 | 95 | 15 | 99 | 90 | 341 | 355 | 378 | 401 | 373 | 301 | 312 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.63247 | 43 | 619 | 669
1974 | 11880 | 64 | 6 | 100 | 0 | 71 | 72 | 70 | 63 | 62 | 57 | 64 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.11916 | 585 | 149 | 76
1920 | 357 | 53 | 1 | 70 | 95 |  | 193 | 192 | 212 | 190 | 160 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.10211 | 76 | 149 | 585
1988 | 10063 | 15 | 30 | 100 | 23 |  | 118 | 122 | 141 | 132 | 107 | 125 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.01117 | 565 | 562 | 504
1999 | 9000 | 91 | 10 | 100 | 50 | 290 | 296 | 208 | 188 | 196 | 133 | 96 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.2199 | 612 | 117 | 666
1984 | 11608 | 100 | 14 | 85 | 90 | 177 | 175 | 167 | 161 | 161 | 152 | 152 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.33392 | 277 | 481 | 454
1960 | 6120 | 25 | 2 | 100 | 0 | 41 | 47 | 46 | 44 | 46 | 17 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.10063 | 76 | 149 | 504
2017 | 5594 | 100 | 1 | 80 | 50 |  |  | 48 | 61 | 78 | 65 | 68 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.67774 | 110 | 219 | 125
1984 | 8199 | 40 | 1 | 100 | 0 |  | 271 | 247 | 218 | 238 | 220 | 215 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.1541 | 429 | 105 | 508
1953 | 15480 | 100 | 17 | 95 | 10 | 383 | 373 | 367 | 373 | 354 | 302 | 296 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.075352 | 504 | 562 | 76
1997 | 4179 | 20 | 6 | 70 | 70 |  | 67 | 56 | 55 | 56 | 39 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.17714 | 570 | 508 | 594
1999 | 1965 | 100 | 3 | 100 | 7 | 194 | 210 | 192 | 185 | 159 |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.25948 | 300 | 270 | 251
2018 | 11658 | 100 | 1 | 100 | 100 |  |  |  | 74 | 157 | 142 | 224 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.83402 | 632 | 495 | 31
2004 | 4931 | 54 | 15 | 100 | 59 |  | 129 | 120 | 142 | 116 |  |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0.13394 | 105 | 585 | 429
1997 | 9544 | 94 | 10 | 96 | 80 | 652 | 643 | 623 | 616 | 567 | 489 | 492 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.48539 | 654 | 455 | 476
1970 | 23500 | 31 | 21 | 87 | 72 | 230 | 219 | 221 | 226 | 231 | 221 | 210 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.20482 | 263 | 139 | 182
2012 | 45000 | 7 | 9 | 35 | 70 |  | 56 | 53 | 44 | 42 | 36 | 35 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.33459 | 323 | 277 | 481
1997 | 5434 | 40 | 1 | 100 | 25 |  | 152 | 156 | 174 | 164 | 152 | 151 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.26886 | 293 | 303 | 185
2015 | 5003 | 96 | 40 | 80 | 10 | 188 | 216 | 202 |  | 210 | 165 | 178 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.0071566 | 565 | 562 | 504
1981 | 37440 | 40 | 10 | 100 | 0 |  | 161 | 164 | 167 | 159 | 116 | 98 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.41548 | 316 | 406 | 549
2013 | 11584 | 88 | 5 | 80 | 92 | 264 | 270 | 268 | 268 | 269 | 231 | 234 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.80893 | 278 | 221 | 83
1992 | 23236 | 79 | 11 | 100 | 0 | 284 | 271 | 251 | 256 | 227 | 200 | 199 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.44945 | 242 | 576 | 261
2014 | 13572 | 88 | 4 | 98 | 90 |  | 106 | 110 | 109 | 111 | 100 | 87 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.85665 | 438 | 60 | 374
1976 | 5943 | 89 | 15 | 80 | 0 | 361 | 360 | 344 | 288 | 308 | 224 | 269 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.10847 | 76 | 149 | 585
2009 | 6981 | 96 | 10 | 75 | 52 | 203 | 236 | 248 | 274 | 230 | 181 | 190 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.20757 | 139 | 263 | 182
1997 | 11291 | 94 | 1 | 7 | 30 | 451 | 388 | 316 | 285 | 281 | 257 | 257 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.33566 | 323 | 277 | 662
1997 | 61720 | 96 | 19 | 80 | 0 | 261 | 179 | 143 | 118 | 112 | 100 | 95 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.38161 | 211 | 393 | 500
2002 | 1791 | 60 | 15 | 100 | 5 |  | 112 | 108 | 112 | 109 | 74 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.077022 | 504 | 562 | 76
1981 | 104962 | 79 | 14 | 100 | 50 | 374 | 376 | 395 | 365 | 359 | 329 | 316 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.73407 | 107 | 434 | 26
2001 | 11015 | 71 | 16 | 100 | 50 | 220 | 209 | 182 | 176 | 174 | 197 | 199 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.12658 | 585 | 149 | 105
1982 | 15153 | 82 | 15 | 70 | 0 | 185 | 187 | 174 | 151 | 156 | 142 | 150 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.21862 | 612 | 117 | 666
1981 | 29413 | 100 | 4 | 98 | 30 | 463 | 464 | 460 | 469 | 408 | 442 | 506 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.69059 | 647 | 28 | 127
2000 | 10000 | 60 | 6 | 90 | 0 | 306 | 300 | 270 | 233 | 353 | 347 | 350 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.16162 | 429 | 508 | 570
1998 | 21654 | 83 | 3 | 68 | 10 | 447 | 573 | 583 | 595 | 720 | 643 | 651 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.61466 | 328 | 661 | 347
1966 | 950 | 68 | 5 | 56 | 0 | 629 | 675 | 615 | 611 | 624 |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.061851 | 562 | 504 | 565
1996 | 13128 | 68 | 23 | 75 | 10 | 419 | 428 | 410 | 414 | 367 | 270 | 275 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.076057 | 504 | 562 | 76
1991 | 13101 | 8 | 6 | 100 | 0 |  | 71 | 67 | 65 | 66 | 14 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.12209 | 585 | 149 | 76
1988 | 7141 | 95 | 2 | 90 | 90 | 210 | 184 | 58 | 187 | 184 | 148 | 145 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.78911 | 45 | 617 | 689
1999 | 10416 | 81 | 1 | 100 | 100 | 278 | 277 | 251 | 188 | 165 | 130 | 161 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.75014 | 233 | 183 | 77
2014 | 9014 | 22 | 2 | 10 | 0 | 93 | 99 | 102 | 107 | 107 | 115 | 125 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.10531 | 76 | 149 | 585
1991 | 28835 | 100 | 10 | 100 | 5 |  | 152 | 175 | 161 | 158 | 144 | 148 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.53521 | 407 | 691 | 41
2005 | 19040 | 48 | 12 | 100 | 0 |  | 208 | 201 | 181 | 184 | 184 | 192 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.18751 | 144 | 162 | 594
1996 | 10580 | 95 | 4 | 98 | 20 | 216 | 210 | 205 | 201 | 199 | 173 | 172 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.2689 | 293 | 303 | 185
1979 | 55097 | 100 | 2 | 75 | 40 |  | 363 | 373 | 375 | 356 | 350 | 347 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0.76601 | 379 | 315 | 659
1985 | 12948 | 92 | 2 | 100 | 75 | 259 | 261 | 250 | 224 | 183 | 141 | 134 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.63551 | 669 | 203 | 43
2001 | 10700 | 85 | 1 | 100 | 31 | 166 | 153 | 142 | 140 | 142 | 125 | 113 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.37521 | 393 | 211 | 112
2008 | 5021 | 100 | 12 | 80 | 28 |  |  | 321 | 342 | 352 | 334 | 374 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.1464 | 105 | 429 | 585
2015 | 10803 | 83 | 7 | 35 | 90 | 349 | 274 | 290 | 383 | 401 | 324 | 313 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.43244 | 34 | 549 | 576
2003 | 33846 | 100 | 14 | 88 | 0 | 264 | 242 | 225 | 209 | 207 | 168 | 163 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.24927 | 134 | 114 | 251
1993 | 5992 | 59 | 20 | 94 | 0 | 403 | 385 | 402 | 379 | 376 | 294 | 306 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.03032 | 565 | 562 | 504
1998 | 25044 | 98 | 9 | 65 | 10 | 158 | 153 | 141 | 139 | 123 | 92 | 76 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.48873 | 654 | 476 | 168
2004 | 25198 | 71 | 13 | 90 | 0 |  | 78 | 78 | 80 | 119 | 96 | 68 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0.18571 | 594 | 144 | 162
2017 | 29553 | 90 | 3 | 80 | 60 |  |  | 72 | 293 | 285 | 215 | 198 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.84232 | 22 | 710 | 665
1988 | 6154 | 70 | 11 | 88 | 5 | 331 | 340 | 327 | 321 | 339 | 304 | 316 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.069687 | 562 | 504 | 565
2009 | 20211 | 35 | 8 | 100 | 0 | 58 | 67 | 65 | 60 | 64 | 47 | 40 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.30695 | 394 | 37 | 115
1990 | 12349 | 63 | 23 | 90 | 0 | 278 | 253 | 225 | 234 | 222 | 188 | 202 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.022705 | 565 | 562 | 504
2010 | 22606 | 98 | 0 | 88 | 30 | 358 | 276 | 284 | 298 | 317 | 270 | 244 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.64828 | 235 | 608 | 418
2010 | 3835 | 95 | 24 | 70 | 0 | 214 | 208 | 211 | 62 | 276 |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.031824 | 565 | 562 | 504
1975 | 2851 | 100 | 6 | 40 | 0 |  |  | 457 | 395 | 315 | 266 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.068467 | 562 | 504 | 565
1997 | 8677 | 86 | 2 | 30 | 10 | 179 | 136 | 117 | 106 | 97 |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.14615 | 105 | 429 | 585
2014 | 16971 | 95 | 6 | 30 | 20 | 93 | 127 | 117 | 109 | 109 | 112 | 143 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.53445 | 407 | 691 | 41
1989 | 4024 | 92 | 5 | 85 | 25 | 163 | 166 | 155 | 160 | 175 |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.18821 | 144 | 162 | 594
2004 | 890 | 76 | 0 | 85 | 0 | 199 | 189 | 186 | 185 | 187 |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.25939 | 300 | 270 | 251
1991 | 9938 | 55 | 7 | 100 | 0 | 221 | 224 | 211 | 217 | 223 | 114 | 129 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.29158 | 258 | 539 | 115
2009 | 6521 | 89 | 8 | 100 | 70 | 228 | 250 | 272 | 259 | 256 | 199 | 141 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.33211 | 277 | 481 | 454
2018 | 7528 | 15 | 1 | 90 | 100 |  | 9 | 74 | 132 | 124 | 123 | 125 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.49315 | 168 | 476 | 654
1977 | 37281 | 75 | 0 | 96 | 0 | 265 | 266 | 261 | 252 | 259 | 223 | 216 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.45248 | 261 | 48 | 718
1970 | 6689 | 63 | 12 | 90 | 75 | 196 | 195 | 178 | 165 | 149 | 130 | 145 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.088301 | 504 | 76 | 149
1993 | 16872 | 100 | 9 | 85 | 60 | 288 | 284 | 270 | 254 | 275 | 224 | 240 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.62325 | 677 | 135 | 113
1951 | 9384 | 100 | 2 | 95 | 20 |  | 173 | 108 | 149 | 154 | 116 | 128 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0.15112 | 429 | 105 | 508
2018 | 5300 | 94 | 2 | 100 | 100 |  |  |  | 4 | 292 | 244 | 293 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0.85657 | 438 | 60 | 374
2018 | 2122 | 78 | 2 | 45 | 100 |  |  |  | 144 | 310 | 256 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.40904 | 406 | 316 | 343
2010 | 12306 | 80 | 7 | 87 | 55 | 427 | 406 | 387 | 128 | 356 | 242 | 223 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.47009 | 252 | 455 | 718
2011 | 10453 | 67 | 7 | 84 | 70 | 553 | 553 | 546 | 568 | 517 | 306 | 214 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.4792 | 455 | 252 | 654
2009 | 19916 | 87 | 11 | 90 | 15 |  | 139 | 125 | 115 | 122 | 99 | 102 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.31461 | 37 | 706 | 454
2013 | 5295 | 100 | 4 | 78 | 60 | 43 | 38 | 38 | 34 | 31 | 31 | 36 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.37182 | 393 | 112 | 211
2013 | 11735 | 73 | 7 | 77 | 100 |  | 85 | 90 | 95 | 99 | 67 | 59 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.37986 | 393 | 211 | 500
1984 | 5369 | 99 | 4 | 90 | 0 | 371 | 374 | 369 | 380 | 396 | 313 | 316 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.16792 | 508 | 570 | 594
1975 | 7811 | 81 | 20 | 95 | 25 | 227 | 231 | 225 | 227 | 221 | 183 | 183 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.032409 | 565 | 562 | 504
2018 | 14293 | 72 | 1 | 80 | 88 |  |  |  | 45 | 108 | 86 | 94 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.54232 | 41 | 396 | 691
1972 | 7403 | 97 | 4 | 90 | 100 | 441 | 419 | 426 | 430 | 399 | 380 | 350 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.26955 | 293 | 303 | 185
2010 | 28374 | 15 | 7 | 17 | 15 |  | 176 | 168 | 161 |  |  |  | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.18058 | 594 | 570 | 144
1994 | 4745 | 72 | 9 | 100 | 10 | 246 | 235 | 230 | 228 | 228 | 239 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.11107 | 149 | 76 | 585
2000 | 91069 | 0 | 17 | 50 | 0 | 46 | 47 | 45 | 42 | 41 | 33 | 27 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.15996 | 429 | 508 | 105
1996 | 9899 | 24 | 0 | 100 | 0 | 453 | 447 | 442 | 448 | 441 | 391 | 399 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.23008 | 666 | 117 | 612
1988 | 9436 | 31 | 8 | 100 | 0 | 37 | 39 | 40 | 36 | 36 | 2 | 24 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.10369 | 76 | 149 | 585
1983 | 5338 | 94 | 7 | 85 | 0 | 257 | 245 | 238 | 234 | 223 | 167 | 138 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.096367 | 76 | 504 | 149
1995 | 6073 | 74 | 10 | 100 | 30 |  | 154 | 143 | 137 | 163 | 136 | 168 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0.15428 | 429 | 105 | 508
2003 | 18224 | 8 | 2 | 87 | 0 |  | 69 | 88 | 88 | 92 | 90 | 79 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.34008 | 323 | 662 | 555
1984 | 13568 | 100 | 14 | 100 | 70 | 602 | 584 | 573 | 569 | 570 | 512 | 555 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.33333 | 277 | 481 | 454
1997 | 10136 | 98 | 18 | 90 | 20 | 291 | 298 | 282 | 268 | 252 | 208 | 172 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.12038 | 585 | 149 | 76
1994 | 90517 | 58 | 5 | 90 | 15 | 211 | 210 | 200 | 170 | 156 | 133 | 159 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.60375 | 506 | 490 | 694
2008 | 4027 | 98 | 8 | 100 | 0 | 243 | 214 | 207 | 222 | 226 |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.19226 | 162 | 144 | 543
1977 | 47750 | 34 | 5 | 95 | 20 |  | 156 | 147 | 138 | 148 | 123 | 120 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.58928 | 486 | 220 | 93
1989 | 34560 | 52 | 1 | 90 | 73 |  | 359 | 351 | 333 | 259 | 222 | 216 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.80525 | 520 | 36 | 658
2015 | 14622 | 4 | 6 | 100 | 45 |  | 153 | 145 | 162 | 178 | 173 | 176 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.26529 | 185 | 303 | 293
1976 | 5099 | 70 | 39 | 95 | 0 | 136 | 108 | 107 | 75 | 73 | 56 | 62 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.010751 | 565 | 562 | 504
1986 | 27810 | 69 | 11 | 95 | 0 | 366 | 367 | 363 | 344 | 338 | 330 | 252 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.40756 | 406 | 343 | 316
1998 | 17068 | 32 | 0 | 70 | 100 | 188 | 185 | 181 | 182 | 192 | 147 | 145 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.60189 | 506 | 694 | 451
2016 | 1000 | 90 | 3 | 100 | 100 |  | 30 | 40 | 45 |  |  |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0.49348 | 168 | 476 | 654
2013 | 75311 | 69 | 5 | 90 | 25 |  | 513 | 497 | 460 | 464 | 476 | 481 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0.84579 | 710 | 665 | 256
2018 | 32383 | 90 | 2 | 30 | 90 |  |  |  | 66 | 89 | 75 | 82 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.64763 | 235 | 608 | 418
1999 | 38349 | 80 | 16 | 87 | 90 |  | 3216 | 1899 | 1879 | 1903 | 2044 | 2214 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.60953 | 209 | 490 | 661
1997 | 6415 | 0 | 3 | 100 | 0 |  | 157 | 154 | 151 | 155 | 158 | 161 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.15561 | 429 | 105 | 508
1999 | 10950 | 80 | 18 | 100 | 20 | 249 | 303 | 238 | 248 | 245 | 170 | 172 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.08025 | 504 | 562 | 76
1998 | 112778 | 70 | 5 | 98 | 8 |  | 377 | 365 | 357 | 344 | 351 | 351 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0.86802 | 540 | 468 | 373
2004 | 5199 | 81 | 6 | 90 | 20 | 219 | 219 | 215 | 252 | 264 | 231 | 247 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.21365 | 139 | 263 | 612
2016 | 19970 | 83 | 2 | 60 | 55 | 27 | 49 | 189 | 239 | 218 | 187 | 196 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.58146 | 550 | 230 | 620
2006 | 24434 | 100 | 10 | 71 | 5 | 379 | 347 | 352 | 337 | 307 | 236 | 218 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.5087 | 63 | 593 | 253
1988 | 23278 | 95 | 13 | 83 | 5 | 258 | 270 | 264 | 245 | 251 | 211 | 209 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.36775 | 112 | 390 | 393
1990 | 13752 | 93 | 9 | 65 | 70 | 418 | 524 | 546 | 534 | 536 | 363 | 410 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.55543 | 610 | 205 | 436
1996 | 12527 | 30 | 4 | 80 | 30 |  | 156 | 151 | 156 | 166 | 144 | 142 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.18751 | 144 | 162 | 594
1970 | 24377 | 92 | 2 | 80 | 10 | 258 | 251 | 219 | 209 | 211 | 190 | 177 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.56003 | 436 | 56 | 205
1975 | 7200 | 100 | 11 | 90 | 41 | 197 | 141 | 133 | 153 | 150 | 137 | 138 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.25283 | 251 | 134 | 270
2009 | 29595 | 80 | 7 | 80 | 45 |  | 645 | 651 | 770 | 736 | 604 | 613 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.70829 | 530 | 398 | 606
2001 | 16519 | 88 | 15 | 80 | 14 | 173 | 201 | 209 | 211 | 185 |  |  | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.14872 | 429 | 105 | 508
1978 | 15590 | 83 | 31 | 75 | 0 | 126 | 127 | 121 | 114 | 117 | 107 | 106 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.050811 | 562 | 565 | 504
1999 | 29796 | 26 | 7 | 90 | 0 | 139 | 136 | 139 | 128 | 134 | 115 | 118 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.28061 | 153 | 445 | 244
1992 | 16155 | 79 | 5 | 80 | 80 | 1098 | 1095 | 1078 | 1068 | 1062 | 599 | 177 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.71275 | 92 | 606 | 651
1998 | 11080 | 100 | 17 | 95 | 0 | 267 | 256 | 268 | 274 | 267 | 239 | 224 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.075597 | 504 | 562 | 76
2017 | 15022 | 84 | 8 | 90 | 55 | 342 | 336 | 318 | 320 | 332 | 324 | 316 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.44986 | 242 | 576 | 261
2007 | 1671 | 71 | 1 | 100 | 0 | 159 | 163 | 114 | 132 | 147 |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.28248 | 445 | 153 | 539
2014 | 6962 | 86 | 6 | 90 | 100 |  | 264 | 251 | 254 | 272 | 213 | 227 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.44828 | 242 | 576 | 261
1994 | 21267 | 94 | 6 | 97 | 40 | 554 | 543 | 523 | 522 | 506 | 399 | 389 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.6888 | 28 | 151 | 647
1990 | 26671 | 90 | 14 | 100 | 40 | 216 | 213 | 179 | 161 | 153 | 111 | 116 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.49604 | 641 | 547 | 168
1980 | 47744 | 92 | 9 | 96 | 60 | 286 | 268 | 266 | 256 | 270 | 224 | 213 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.68704 | 151 | 28 | 647
2002 | 6359 | 87 | 1 | 100 | 24 | 174 | 152 | 151 | 149 | 131 | 119 | 143 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.30236 | 394 | 115 | 258
1999 | 11470 | 26 | 1 | 90 | 70 | 233 | 208 | 187 | 179 | 164 | 136 | 155 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.35432 | 148 | 57 | 304
2007 | 19876 | 75 | 9 | 100 | 40 |  | 133 | 120 | 116 | 92 | 71 | 61 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.91127 | 338 | 492 | 688
1991 | 11315 | 78 | 2 | 97 | 15 | 194 | 202 | 178 | 158 | 163 | 134 | 130 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.47638 | 252 | 455 | 654
2008 | 20713 | 85 | 9 | 83 | 50 | 491 | 464 | 422 | 419 | 429 | 390 | 368 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.65606 | 365 | 52 | 337
1990 | 105307 | 67 | 7 | 90 | 10 | 209 | 212 | 201 | 190 | 196 | 272 | 174 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.78804 | 617 | 298 | 45
1969 | 16450 | 99 | 40 | 95 | 0 | 180 | 171 | 185 | 163 | 182 | 166 | 157 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.024375 | 565 | 562 | 504
1976 | 17884 | 61 | 5 | 96 | 0 |  | 250 | 177 | 187 | 186 | 152 | 153 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.46416 | 718 | 48 | 252
1995 | 10943 | 68 | 27 | 80 | 0 |  |  | 135 | 136 | 137 | 130 | 120 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.047118 | 565 | 562 | 504
2015 | 12621 | 97 | 2 | 100 | 95 | 260 | 474 | 398 | 425 | 566 | 510 | 528 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.89367 | 331 | 432 | 123
1973 | 11481 | 87 | 1 | 90 | 100 | 140 | 141 | 140 | 102 | 104 | 89 | 96 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.62443 | 677 | 463 | 135
1980 | 10471 | 69 | 6 | 85 | 50 | 231 | 226 | 250 | 235 | 250 | 228 | 243 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.17878 | 570 | 594 | 508
2011 | 23546 | 93 | 4 | 67 | 60 | 196 | 174 | 165 | 144 | 111 | 10 |  | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.77311 | 80 | 292 | 249
1980 | 5447 | 37 | 14 | 100 | 0 | 215 | 668 | 213 | 180 | 191 | 151 | 62 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.039968 | 565 | 562 | 504
2015 | 16720 | 32 | 12 | 55 | 0 |  |  | 70 | 70 | 74 | 67 | 71 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.71668 | 651 | 92 | 606
2015 | 24157 | 43 | 4 | 70 | 5 |  | 62 | 62 | 67 | 75 | 53 | 54 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0.38279 | 211 | 393 | 500
1982 | 6265 | 14 | 6 | 38 | 0 |  | 115 | 125 | 67 | 87 | 90 | 77 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.049547 | 562 | 565 | 504
1995 | 23000 | 99 | 0 | 100 | 65 | 873 | 850 | 785 | 732 | 689 | 730 |  | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.85624 | 438 | 60 | 374
1989 | 17306 | 87 | 15 | 95 | 0 | 189 | 187 | 174 | 177 | 179 | 151 | 165 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.31541 | 37 | 706 | 454
1988 | 5934 | 13 | 10 | 90 | 20 | 195 | 184 | 158 | 173 | 161 | 147 | 143 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.065937 | 562 | 504 | 565
2016 | 9453 | 7 | 1 | 70 | 50 |  | 7 | 86 | 111 | 151 | 105 | 116 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.30018 | 394 | 115 | 258
1981 | 12656 | 79 | 10 | 92 | 1 | 288 | 304 | 286 | 300 | 276 | 245 | 233 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.077743 | 504 | 562 | 76
1985 | 6268 | 76 | 22 | 100 | 75 | 147 | 135 | 127 | 122 | 122 | 103 | 104 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.053626 | 562 | 565 | 504
1998 | 8838 | 100 | 5 | 100 | 0 | 215 | 217 | 213 | 191 | 184 | 131 | 127 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.18777 | 144 | 162 | 594
1986 | 10917 | 73 | 30 | 88 | 0 | 169 | 171 | 197 | 183 | 176 | 139 | 129 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.033157 | 565 | 562 | 504
2003 | 9233 | 100 | 0 | 100 | 0 | 236 | 250 | 233 | 223 | 214 | 183 | 190 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.34888 | 109 | 304 | 555
2007 | 9374 | 81 | 9 | 92 | 0 | 172 | 184 | 168 | 192 | 191 | 167 | 131 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.15788 | 429 | 105 | 508
1983 | 4736 | 100 | 5 | 100 | 15 | 272 | 268 | 188 | 208 | 211 | 190 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.18974 | 162 | 144 | 594
2002 | 5788 | 17 | 2 | 100 | 95 |  | 62 | 73 | 86 | 98 | 91 | 85 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.40102 | 443 | 464 | 343
2007 | 7428 | 91 | 10 | 100 | 0 | 226 | 237 | 206 | 181 | 179 | 141 | 128 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.16085 | 429 | 508 | 570
1973 | 7428 | 49 | 4 | 90 | 10 | 128 | 124 | 121 | 120 | 122 | 96 | 90 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0.34916 | 109 | 304 | 57
1995 | 1040 | 77 | 1 | 50 | 20 | 163 | 181 | 144 | 19 | 226 |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.17804 | 570 | 594 | 508
1992 | 10841 | 81 | 15 | 100 | 40 | 195 | 190 | 138 | 85 | 89 | 62 | 65 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.092967 | 504 | 76 | 149
2016 | 6359 | 1 | 2 | 50 | 0 |  | 98 | 295 | 337 | 265 | 228 | 259 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.14292 | 105 | 429 | 585
1979 | 6421 | 91 | 10 | 90 | 0 |  | 72 | 71 | 70 | 72 | 53 | 55 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.071104 | 504 | 562 | 76
1983 | 5985 | 77 | 6 | 89 | 3 |  |  | 116 | 117 | 118 | 102 | 107 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.10449 | 76 | 149 | 585
1998 | 30784 | 72 | 19 | 85 | 100 | 295 | 284 | 275 | 266 | 268 | 230 | 233 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.50919 | 63 | 593 | 253
2000 | 19445 | 84 | 16 | 96 | 22 |  | 27 | 273 | 287 | 37 | 343 | 361 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0.40143 | 443 | 464 | 343
1998 | 6455 | 46 | 3 | 100 | 0 |  | 121 | 123 | 131 | 129 | 116 | 116 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.19837 | 543 | 182 | 263
1994 | 11178 | 100 | 2 | 100 | 3 |  | 2677 | 2602 | 2516 | 2141 | 2255 | 2267 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0.5012 | 172 | 325 | 547
1994 | 12586 | 11 | 1 | 80 | 20 |  |  | 189 | 180 | 154 | 144 | 134 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.38701 | 500 | 211 | 353
1985 | 6978 | 12 | 6 | 100 | 5 |  | 107 | 117 | 133 | 133 | 133 | 141 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.10818 | 76 | 149 | 585
1997 | 8157 | 39 | 13 | 100 | 100 | 926 | 1021 | 1005 | 959 | 876 | 933 | 970 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.38733 | 500 | 211 | 353
1983 | 19928 | 73 | 0 | 98 | 0 | 263 | 272 | 253 | 227 | 242 | 210 | 198 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.36868 | 112 | 390 | 393
2001 | 15423 | 57 | 14 | 100 | 10 | 199 | 200 | 189 | 185 | 188 | 200 | 208 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.38385 | 211 | 393 | 500
1980 | 5976 | 74 | 10 | 100 | 50 | 240 | 255 | 151 | 162 | 174 | 122 | 117 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.14233 | 105 | 429 | 585
2008 | 15847 | 89 | 10 | 90 | 100 | 194 | 180 | 166 | 169 | 188 | 133 | 131 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.53613 | 407 | 691 | 41
2000 | 6126 | 33 | 18 | 75 | 0 |  | 214 | 224 | 216 | 216 | 142 | 152 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0.12852 | 585 | 149 | 105
1971 | 14950 | 87 | 5 | 80 | 35 | 246 | 243 | 239 | 236 | 236 | 181 | 162 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.51092 | 63 | 253 | 593
1993 | 42009 | 86 | 10 | 90 | 30 | 265 | 267 | 268 | 274 | 267 | 200 | 221 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.60802 | 209 | 490 | 506
1985 | 16815 | 59 | 2 | 97 | 0 | 124 | 122 | 120 | 118 | 115 | 106 | 103 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.58181 | 230 | 550 | 620
1999 | 40312 | 34 | 19 | 78 | 5 | 126 | 128 | 122 | 121 | 128 | 101 | 92 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.24901 | 134 | 114 | 251
2003 | 12439 | 92 | 9 | 100 | 100 | 297 | 292 | 273 | 260 | 232 | 180 | 204 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.61148 | 661 | 328 | 209
2014 | 6780 | 10 | 4 | 100 | 10 |  | 84 | 84 | 85 | 92 | 85 | 80 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.2173 | 612 | 117 | 666
2015 | 17198 | 90 | 3 | 90 | 60 |  | 236 | 291 | 305 | 308 | 276 | 264 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.82754 | 140 | 280 | 480
1984 | 62543 | 96 | 0 | 90 | 5 | 185 | 179 | 172 | 165 | 167 | 133 | 124 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.80076 | 239 | 482 | 213
1993 | 5824 | 70 | 6 | 79 | 30 | 201 | 182 | 186 | 168 | 163 | 138 | 119 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.16709 | 508 | 570 | 429
1997 | 124541 | 64 | 10 | 90 | 10 |  | 344 | 344 | 336 | 341 | 331 | 354 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0.80478 | 520 | 36 | 658
1975 | 43367 | 70 | 18 | 94 | 20 | 230 | 234 | 249 | 232 | 331 |  |  | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.29344 | 258 | 539 | 115
1993 | 6303 | 0 | 3 | 100 | 0 |  | 145 | 144 | 145 | 152 | 161 | 174 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.14509 | 105 | 429 | 585
2006 | 31616 | 95 | 12 | 90 | 5 |  | 538 | 531 | 543 | 541 | 522 | 527 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.53288 | 407 | 691 | 234
1995 | 28533 | 91 | 1 | 75 | 80 | 249 | 223 | 161 | 160 | 175 | 156 | 136 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.82898 | 140 | 280 | 480
2001 | 10555 | 100 | 15 | 80 | 0 | 812 | 783 | 790 | 797 |  |  | 397 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.081448 | 504 | 562 | 76
1999 | 7148 | 12 | 1 | 98 | 40 |  | 93 | 91 | 78 | 75 | 76 | 79 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.27533 | 244 | 153 | 293
1997 | 37819 | 100 | 4 | 100 | 17 | 348 | 345 | 330 | 338 | 340 | 343 | 300 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.75752 | 580 | 682 | 344
1997 | 11816 | 81 | 21 | 100 | 90 |  | 1304 | 1195 | 1181 | 1186 | 1222 | 1312 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.2534 | 251 | 134 | 270
1999 | 162134 | 95 | 10 | 99 | 0 | 177 | 146 | 139 | 211 | 217 | 188 | 182 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.90084 | 695 | 491 | 667
2014 | 19175 | 87 | 19 | 80 | 5 |  | 174 | 207 | 197 | 193 | 159 | 164 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0.31457 | 37 | 706 | 454
2008 | 19102 | 98 | 7 | 100 | 50 |  | 227 | 212 | 207 | 190 | 149 | 135 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.94187 | 154 | 478 | 12
2009 | 5111 | 78 | 2 | 10 | 0 | 54 | 11 | 93 | 113 | 116 | 110 | 102 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.12289 | 585 | 149 | 76
2011 | 10967 | 73 | 9 | 89 | 45 | 476 | 498 | 482 | 400 | 477 | 459 | 480 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.23478 | 483 | 420 | 666
2010 | 11050 | 100 | 6 | 45 | 85 |  | 306 | 310 | 314 | 316 | 243 | 260 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.70187 | 206 | 286 | 470
1999 | 210427 | 27 | 2 | 9 | 13 | 170 | 175 | 167 | 161 | 159 | 122 | 102 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.91834 | 335 | 554 | 90
2012 | 16026 | 76 | 6 | 85 | 70 |  | 336 | 344 | 323 | 331 | 306 | 201 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.54703 | 267 | 423 | 563
2008 | 42461 | 79 | 9 | 71 | 10 | 348 | 360 | 361 | 326 | 323 | 273 | 281 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.59277 | 660 | 93 | 486
2003 | 6875 | 50 | 5 | 50 | 0 |  | 36 | 31 | 40 | 49 | 39 | 37 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0.11282 | 149 | 76 | 585
2006 | 15342 | 71 | 12 | 100 | 0 |  | 176 | 169 | 156 | 169 | 163 | 166 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.20351 | 182 | 263 | 139
1997 | 8905 | 100 | 23 | 100 | 0 | 1363 | 1412 | 1394 | 1400 | 1464 | 1509 | 1516 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.10351 | 76 | 149 | 585
1979 | 36800 | 92 | 10 | 90 | 0 | 275 | 288 | 255 | 257 | 256 | 196 | 190 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.45022 | 242 | 576 | 261
2001 | 28602 | 76 | 6 | 80 | 0 | 225 | 198 | 163 | 185 | 258 | 264 | 276 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.57901 | 416 | 599 | 550
1989 | 32079 | 63 | 13 | 100 | 33 | 323 | 340 | 320 | 328 | 345 | 287 | 33 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.47844 | 455 | 252 | 654
1974 | 12977 | 61 | 21 | 91 | 95 | 328 | 363 | 338 | 334 | 326 | 299 | 310 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.15443 | 429 | 105 | 508
1992 | 5000 | 70 | 4 | 98 | 10 | 144 | 136 | 118 | 130 | 147 | 151 | 151 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.38632 | 211 | 500 | 353
1999 | 18809 | 91 | 0 | 72 | 0 |  | 255 | 227 | 230 | 241 | 218 | 213 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0.44714 | 576 | 242 | 261
1999 | 5368 | 99 | 18 | 80 | 0 |  |  | 200 | 209 | 229 | 219 | 224 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.05441 | 562 | 565 | 504
2001 | 6342 | 60 | 9 | 100 | 0 |  | 59 | 57 | 64 | 52 | 49 | 44 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.13342 | 105 | 585 | 149
1998 | 9642 | 95 | 0 | 80 | 85 |  | 205 | 197 | 198 | 213 | 178 | 197 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0.47626 | 252 | 455 | 654
1988 | 9862 | 67 | 20 | 100 | 0 |  | 321 | 313 | 301 | 310 | 216 | 224 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0.098483 | 76 | 149 | 504
2014 | 2775 | 10 | 5 | 87 | 0 |  | 847 | 773 | 762 | 724 |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.15412 | 429 | 105 | 508
2010 | 5312 | 46 | 8 | 90 | 0 | 750 | 717 | 707 | 756 | 765 | 735 | 742 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.14139 | 105 | 429 | 585
1992 | 3181 | 77 | 3 | 100 | 40 | 180 | 254 | 296 | 289 | 306 | 260 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.27624 | 244 | 153 | 445
1960 | 15091 | 63 | 14 | 79 | 10 | 153 | 151 | 124 | 98 | 98 | 83 | 78 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.07777 | 504 | 562 | 76
2000 | 8625 | 1 | 0 | 95 | 40 | 321 | 325 | 322 | 317 | 325 | 287 | 281 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.28422 | 445 | 153 | 539
2012 | 9821 | 87 | 5 | 100 | 50 | 1047 | 986 | 929 | 915 | 928 | 890 | 796 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.32707 | 454 | 481 | 277
1981 | 191873 | 70 | 21 | 100 | 20 |  | 587 | 580 | 578 | 581 | 574 | 555 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0.77398 | 80 | 249 | 292
1997 | 37923 | 79 | 4 | 100 | 0 | 257 | 251 | 226 | 230 | 231 | 185 | 175 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.47061 | 252 | 455 | 718
1970 | 7900 | 86 | 6 | 98 | 0 | 502 | 504 | 434 | 401 | 399 | 337 | 353 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.11574 | 149 | 585 | 76
2009 | 6691 | 50 | 13 | 22 | 0 |  | 64 | 46 | 51 | 53 | 45 | 48 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.043218 | 565 | 562 | 504
1995 | 10403 | 80 | 4 | 95 | 0 | 213 | 214 | 191 | 188 | 186 | 161 | 142 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.17121 | 508 | 570 | 594
1998 | 8908 | 100 | 2 | 100 | 0 | 383 | 326 | 305 | 302 | 283 | 265 | 273 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.50501 | 309 | 593 | 172
2004 | 19516 | 10 | 11 | 100 | 60 |  | 91 | 87 | 84 | 82 | 83 | 80 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.31977 | 706 | 37 | 454
1997 | 8214 | 69 | 19 | 70 | 4 | 370 | 386 | 363 | 185 | 415 | 441 | 423 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.094881 | 76 | 504 | 149
1980 | 5411 | 66 | 33 | 90 | 100 | 241 | 242 | 241 | 246 | 237 | 216 | 227 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.054378 | 562 | 565 | 504
2019 | 43360 | 41 | 9 | 74 | 15 | 314 | 317 |  |  | 215 | 230 | 251 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0.61592 | 328 | 661 | 347